## KEY
Average Emissions Rate Calculation
Background:
The CAISO is publishing this metric of an average emissions rate (AER) based on the discussion in the GHG working groups. CAISO discussed the metric at the November 27, 2023 GHG Coordination Working Group. A brief explanation of the methodology is included below:
Methodology:
1) Which resources are reflected in this example AER metric (all schedules are from the 5-minute market)
- All supply resources are included
- All demand response resources are excluded
- All energy storage resources are included (emissions rate used is 0 MTCO2e/MWh)
- Resources that were attributed to serve California are included
2) The AER measures all schedules ie. The total dispatach of the resources and not relative to WEIM base schedule
3) Bilateral transactions are included (emissions rate used is 0.428 MTCO2e/MWh) unless they are resource specific.
4) CAISO filled in missing heat rate and emissions rate data by using wtd averages from existing data
Key
TRADE_DT | Trade date of the reported data in MM/DD/YYYY format
TRADE_HR | Trade hour of the reported data. Data is reported as the "hour-ending", e.g. TRADE_HR = 2 is for the hour-ending 1:59:59AM Pacific time
GEN_MWH | MWh of electricity generation in the WEIM area* (including CAISO)
IMP_MWH | MWh of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_MWH | MWh of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
GEN_GHG | Greenhouse gas emissions in MTCO2e of electricity generation in the WEIM area
IMP_GHG | Greenhouse gas emissions in MTCO2e of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_GHG | Greenhouse gas emissions in MTCO2e of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
AVG_EM_RATE | Average emissions rate calculated as columns G through I divided by columns C through E
ATTR_MWH | MWh of WEIM transfers into California which, by definition, is equal to the sum of the GHG attributions
ATTR_GHG | Greenhouse gas emissions in MTCO2e of WEIM transfers into California (resource-specific)
ATTR_AVG_EM_RATE | Average emissions rate of WEIM transfers into California
CAISO PUBLIC

## AER_SUMMARY
TRADE_DT | TRADE_HR | GEN_MWH | IMP_MWH | EXP_MWH | GEN_GHG | IMP_GHG | EXP_GHG | AVG_EM_RATE | ATTR_MWH | ATTR_GHG | ATTR_AVG_EM_RATE
12/1/2024 | 1 | 69524 | 13005 | -10818 | 21408 | 5566 | -4630 | 0.312 | 901 | 219 | 0.243
12/1/2024 | 2 | 67533 | 13177 | -10678 | 20948 | 5640 | -4570 | 0.314 | 703 | 160 | 0.228
12/1/2024 | 3 | 66741 | 12653 | -10282 | 20785 | 5415 | -4401 | 0.315 | 781 | 213 | 0.273
12/1/2024 | 4 | 66386 | 12553 | -10059 | 20783 | 5373 | -4305 | 0.317 | 669 | 147 | 0.22
12/1/2024 | 5 | 67677 | 12718 | -10297 | 21035 | 5443 | -4407 | 0.315 | 654 | 120 | 0.183
12/1/2024 | 6 | 69975 | 12965 | -10699 | 21568 | 5549 | -4579 | 0.312 | 513 | 82 | 0.16
12/1/2024 | 7 | 72736 | 11856 | -9797 | 22218 | 5074 | -4193 | 0.309 | 558 | 109 | 0.195
12/1/2024 | 8 | 74815 | 10685 | -9135 | 20757 | 4573 | -3910 | 0.28 | 876 | 217 | 0.248
12/1/2024 | 9 | 75648 | 10226 | -9018 | 18652 | 4377 | -3860 | 0.249 | 726 | 191 | 0.263
12/1/2024 | 10 | 74618 | 10179 | -8948 | 17870 | 4356 | -3830 | 0.243 | 79 | 11 | 0.139
12/1/2024 | 11 | 72260 | 10217 | -8881 | 17542 | 4372 | -3801 | 0.246 | 0 | 0 | 0
12/1/2024 | 12 | 70602 | 10384 | -9063 | 17124 | 4444 | -3879 | 0.246 | 0 | 0 | 0
12/1/2024 | 13 | 69833 | 10460 | -9059 | 16963 | 4477 | -3878 | 0.247 | 0 | 0 | 0
12/1/2024 | 14 | 70654 | 10542 | -9341 | 17073 | 4512 | -3998 | 0.245 | 0 | 0 | 0
12/1/2024 | 15 | 72579 | 10681 | -9247 | 17933 | 4572 | -3958 | 0.251 | 0 | 0 | 0
12/1/2024 | 16 | 76580 | 10654 | -8830 | 21086 | 4560 | -3779 | 0.279 | 0 | 0 | 0
12/1/2024 | 17 | 82296 | 11622 | -9620 | 24645 | 4974 | -4117 | 0.303 | 311 | 12 | 0.039
12/1/2024 | 18 | 85681 | 12147 | -10433 | 25300 | 5199 | -4465 | 0.298 | 332 | 32 | 0.096
12/1/2024 | 19 | 85277 | 12279 | -10480 | 25476 | 5255 | -4486 | 0.301 | 367 | 12 | 0.033
12/1/2024 | 20 | 84323 | 12589 | -10602 | 25574 | 5388 | -4537 | 0.306 | 442 | 42 | 0.095
12/1/2024 | 21 | 81846 | 13098 | -10818 | 25681 | 5606 | -4630 | 0.317 | 495 | 76 | 0.154
12/1/2024 | 22 | 77977 | 13098 | -10481 | 25234 | 5606 | -4486 | 0.327 | 772 | 179 | 0.232
12/1/2024 | 23 | 73565 | 13044 | -10280 | 24880 | 5583 | -4400 | 0.341 | 280 | 15 | 0.054
12/1/2024 | 24 | 70239 | 12515 | -9657 | 24495 | 5356 | -4133 | 0.352 | 546 | 103 | 0.189
12/2/2024 | 1 | 68363 | 11781 | -8911 | 24645 | 5042 | -3814 | 0.363 | 329 | 34 | 0.103
12/2/2024 | 2 | 67013 | 11422 | -8489 | 24459 | 4889 | -3633 | 0.368 | 270 | 14 | 0.052
12/2/2024 | 3 | 66625 | 11335 | -8361 | 24219 | 4852 | -3579 | 0.366 | 219 | 7 | 0.032
12/2/2024 | 4 | 67511 | 11283 | -8345 | 24378 | 4829 | -3572 | 0.364 | 258 | 11 | 0.043
12/2/2024 | 5 | 70857 | 11368 | -8629 | 24840 | 4866 | -3694 | 0.353 | 407 | 19 | 0.047
12/2/2024 | 6 | 76810 | 11730 | -9279 | 25620 | 5020 | -3972 | 0.336 | 552 | 27 | 0.049
12/2/2024 | 7 | 83518 | 12230 | -9937 | 25989 | 5235 | -4253 | 0.314 | 539 | 38 | 0.071
12/2/2024 | 8 | 86127 | 11604 | -9480 | 24660 | 4967 | -4057 | 0.29 | 862 | 189 | 0.219
12/2/2024 | 9 | 85082 | 10534 | -9111 | 21566 | 4509 | -3899 | 0.256 | 427 | 78 | 0.183
12/2/2024 | 10 | 82176 | 10807 | -9046 | 20253 | 4626 | -3872 | 0.25 | 0 | 0 | 0
12/2/2024 | 11 | 78951 | 10978 | -9012 | 19524 | 4699 | -3857 | 0.252 | 0 | 0 | 0
12/2/2024 | 12 | 76442 | 11021 | -8836 | 18994 | 4717 | -3782 | 0.253 | 0 | 0 | 0
12/2/2024 | 13 | 75487 | 10900 | -8619 | 18550 | 4665 | -3689 | 0.251 | 2 | 0 | 0
12/2/2024 | 14 | 76034 | 11079 | -8907 | 18355 | 4742 | -3812 | 0.247 | 0 | 0 | 0
12/2/2024 | 15 | 78002 | 11648 | -9443 | 19600 | 4985 | -4041 | 0.256 | 0 | 0 | 0
12/2/2024 | 16 | 81618 | 12681 | -10009 | 22719 | 5427 | -4284 | 0.283 | 0 | 0 | 0
12/2/2024 | 17 | 86744 | 13544 | -10690 | 25426 | 5797 | -4575 | 0.297 | 555 | 36 | 0.065
12/2/2024 | 18 | 89825 | 13932 | -10821 | 25959 | 5963 | -4631 | 0.294 | 679 | 48 | 0.071
12/2/2024 | 19 | 89050 | 13906 | -10743 | 25906 | 5952 | -4598 | 0.296 | 561 | 45 | 0.08
12/2/2024 | 20 | 87375 | 14097 | -10541 | 26149 | 6034 | -4512 | 0.304 | 541 | 39 | 0.072
12/2/2024 | 21 | 84897 | 13986 | -10294 | 25620 | 5986 | -4406 | 0.307 | 568 | 53 | 0.093
12/2/2024 | 22 | 81423 | 13679 | -9975 | 25633 | 5855 | -4269 | 0.32 | 718 | 99 | 0.138
12/2/2024 | 23 | 76731 | 12907 | -9357 | 25328 | 5525 | -4005 | 0.334 | 477 | 51 | 0.107
12/2/2024 | 24 | 72495 | 12604 | -9021 | 24500 | 5395 | -3861 | 0.342 | 415 | 68 | 0.164
12/3/2024 | 1 | 69974 | 13504 | -9997 | 23280 | 5780 | -4279 | 0.337 | 301 | 0 | 0
12/3/2024 | 2 | 68139 | 13670 | -10038 | 22498 | 5850 | -4297 | 0.335 | 412 | 162 | 0.393
12/3/2024 | 3 | 67092 | 13804 | -9967 | 22430 | 5908 | -4265 | 0.339 | 469 | 99 | 0.211
12/3/2024 | 4 | 67533 | 13760 | -9939 | 22396 | 5890 | -4254 | 0.337 | 435 | 86 | 0.198
12/3/2024 | 5 | 70369 | 13720 | -10003 | 23198 | 5872 | -4281 | 0.335 | 141 | 0 | 0
12/3/2024 | 6 | 76117 | 13746 | -10020 | 24482 | 5883 | -4289 | 0.327 | 232 | 8 | 0.034
12/3/2024 | 7 | 82674 | 14029 | -10242 | 25000 | 6005 | -4384 | 0.308 | 400 | 7 | 0.018
12/3/2024 | 8 | 85367 | 13900 | -10267 | 24315 | 5949 | -4395 | 0.291 | 490 | 82 | 0.167
12/3/2024 | 9 | 84075 | 13210 | -9887 | 21643 | 5654 | -4232 | 0.264 | 577 | 132 | 0.229
12/3/2024 | 10 | 81387 | 13243 | -10008 | 20276 | 5668 | -4283 | 0.256 | 12 | 1 | 0.083
12/3/2024 | 11 | 78429 | 13688 | -10598 | 19584 | 5858 | -4536 | 0.256 | 0 | 0 | 0
12/3/2024 | 12 | 76047 | 13652 | -10776 | 19446 | 5843 | -4612 | 0.262 | 0 | 0 | 0
12/3/2024 | 13 | 75428 | 13311 | -10541 | 19426 | 5697 | -4511 | 0.264 | 0 | 0 | 0
12/3/2024 | 14 | 75835 | 13047 | -10312 | 19290 | 5584 | -4414 | 0.26 | 0 | 0 | 0
12/3/2024 | 15 | 77806 | 12436 | -9963 | 19797 | 5323 | -4264 | 0.26 | 0 | 0 | 0
12/3/2024 | 16 | 81664 | 12230 | -9697 | 22664 | 5234 | -4150 | 0.282 | 403 | 35 | 0.087
12/3/2024 | 17 | 86366 | 13676 | -11020 | 25033 | 5854 | -4716 | 0.294 | 453 | 31 | 0.068
12/3/2024 | 18 | 89780 | 13773 | -11143 | 25782 | 5895 | -4769 | 0.291 | 460 | 25 | 0.054
12/3/2024 | 19 | 89173 | 13713 | -11068 | 25748 | 5869 | -4737 | 0.293 | 469 | 24 | 0.051
12/3/2024 | 20 | 87587 | 13827 | -11038 | 25903 | 5918 | -4724 | 0.3 | 444 | 1 | 0.002
12/3/2024 | 21 | 85245 | 14029 | -11155 | 25748 | 6004 | -4774 | 0.306 | 453 | 6 | 0.013
12/3/2024 | 22 | 82584 | 13327 | -10627 | 25456 | 5704 | -4549 | 0.312 | 469 | 46 | 0.098
12/3/2024 | 23 | 77899 | 13369 | -10631 | 25184 | 5722 | -4550 | 0.327 | 295 | 16 | 0.054
12/3/2024 | 24 | 73392 | 13544 | -10574 | 24761 | 5797 | -4526 | 0.341 | 183 | 8 | 0.044
12/4/2024 | 1 | 71122 | 12853 | -9834 | 24041 | 5501 | -4209 | 0.342 | 205 | 11 | 0.054
12/4/2024 | 2 | 69838 | 12866 | -9826 | 23912 | 5506 | -4205 | 0.346 | 416 | 158 | 0.38
12/4/2024 | 3 | 69136 | 12659 | -9821 | 24148 | 5418 | -4203 | 0.352 | 47 | 19 | 0.404
12/4/2024 | 4 | 69657 | 12580 | -9769 | 24028 | 5384 | -4181 | 0.348 | 43 | 13 | 0.302
12/4/2024 | 5 | 72806 | 12265 | -10034 | 24565 | 5249 | -4295 | 0.34 | 53 | 0 | 0
12/4/2024 | 6 | 78632 | 12288 | -10251 | 25428 | 5259 | -4388 | 0.326 | 140 | 1 | 0.007
12/4/2024 | 7 | 85223 | 12677 | -10866 | 25830 | 5426 | -4650 | 0.306 | 426 | 3 | 0.007
12/4/2024 | 8 | 88272 | 12903 | -11271 | 25116 | 5523 | -4824 | 0.287 | 637 | 136 | 0.214
12/4/2024 | 9 | 86948 | 11544 | -10445 | 21864 | 4941 | -4470 | 0.254 | 562 | 133 | 0.237
12/4/2024 | 10 | 83355 | 11857 | -11033 | 19842 | 5075 | -4722 | 0.24 | 0 | 0 | 0
12/4/2024 | 11 | 79946 | 12319 | -11374 | 19140 | 5272 | -4868 | 0.242 | 0 | 0 | 0
12/4/2024 | 12 | 77157 | 12364 | -11430 | 18772 | 5292 | -4892 | 0.246 | 0 | 0 | 0
12/4/2024 | 13 | 75943 | 12441 | -11417 | 18219 | 5325 | -4886 | 0.242 | 0 | 0 | 0
12/4/2024 | 14 | 76596 | 12251 | -11123 | 18195 | 5243 | -4760 | 0.24 | 0 | 0 | 0
12/4/2024 | 15 | 78261 | 12188 | -10917 | 19195 | 5217 | -4673 | 0.248 | 0 | 0 | 0
12/4/2024 | 16 | 82002 | 12098 | -10477 | 22433 | 5178 | -4484 | 0.277 | 7 | 0 | 0
12/4/2024 | 17 | 86881 | 12770 | -10676 | 25145 | 5466 | -4569 | 0.293 | 230 | 0 | 0
12/4/2024 | 18 | 90723 | 13621 | -11606 | 25667 | 5830 | -4968 | 0.286 | 549 | 44 | 0.08
12/4/2024 | 19 | 89682 | 13240 | -10845 | 25402 | 5666 | -4642 | 0.287 | 385 | 18 | 0.047
12/4/2024 | 20 | 88386 | 13028 | -10662 | 25630 | 5576 | -4563 | 0.294 | 562 | 42 | 0.075
12/4/2024 | 21 | 86366 | 13360 | -11181 | 26071 | 5718 | -4786 | 0.305 | 846 | 199 | 0.235
12/4/2024 | 22 | 82724 | 12972 | -10562 | 26393 | 5552 | -4521 | 0.322 | 1358 | 426 | 0.314
12/4/2024 | 23 | 77914 | 12499 | -10156 | 25892 | 5349 | -4347 | 0.335 | 780 | 183 | 0.235
12/4/2024 | 24 | 73364 | 12237 | -9603 | 25579 | 5237 | -4110 | 0.351 | 906 | 311 | 0.343
12/5/2024 | 1 | 70877 | 12221 | -8963 | 25139 | 5230 | -3836 | 0.358 | 361 | 124 | 0.343
12/5/2024 | 2 | 69963 | 11846 | -8822 | 24752 | 5070 | -3776 | 0.357 | 263 | 74 | 0.281
12/5/2024 | 3 | 68917 | 11769 | -8652 | 24367 | 5037 | -3703 | 0.357 | 154 | 27 | 0.175
12/5/2024 | 4 | 69517 | 11849 | -8869 | 24435 | 5071 | -3796 | 0.355 | 112 | 12 | 0.107
12/5/2024 | 5 | 72192 | 12272 | -9392 | 24704 | 5252 | -4020 | 0.345 | 98 | 0 | 0
12/5/2024 | 6 | 77673 | 12389 | -9734 | 25628 | 5302 | -4166 | 0.333 | 142 | 3 | 0.021
12/5/2024 | 7 | 84346 | 13508 | -11119 | 26294 | 5782 | -4759 | 0.315 | 749 | 30 | 0.04
12/5/2024 | 8 | 86735 | 13535 | -11316 | 25373 | 5793 | -4843 | 0.296 | 384 | 23 | 0.06
12/5/2024 | 9 | 85830 | 12535 | -10551 | 21889 | 5365 | -4516 | 0.259 | 553 | 67 | 0.121
12/5/2024 | 10 | 82987 | 12800 | -10625 | 20414 | 5479 | -4548 | 0.251 | 33 | 3 | 0.091
12/5/2024 | 11 | 79593 | 13334 | -11187 | 19376 | 5707 | -4788 | 0.248 | 0 | 0 | 0
12/5/2024 | 12 | 76677 | 13432 | -11108 | 19191 | 5749 | -4754 | 0.256 | 0 | 0 | 0
12/5/2024 | 13 | 75359 | 13869 | -11592 | 19059 | 5936 | -4961 | 0.258 | 0 | 0 | 0
12/5/2024 | 14 | 76217 | 13680 | -11658 | 18934 | 5855 | -4990 | 0.253 | 0 | 0 | 0
12/5/2024 | 15 | 77867 | 12863 | -11167 | 19524 | 5505 | -4780 | 0.255 | 0 | 0 | 0
12/5/2024 | 16 | 81650 | 13100 | -11169 | 22276 | 5607 | -4780 | 0.276 | 285 | 46 | 0.161
12/5/2024 | 17 | 86364 | 13703 | -11438 | 25037 | 5865 | -4896 | 0.293 | 662 | 107 | 0.162
12/5/2024 | 18 | 89371 | 14464 | -12475 | 25108 | 6190 | -5340 | 0.284 | 938 | 196 | 0.209
12/5/2024 | 19 | 88563 | 14081 | -11916 | 26096 | 6026 | -5100 | 0.298 | 629 | 47 | 0.075
12/5/2024 | 20 | 87082 | 13976 | -11371 | 26027 | 5982 | -4867 | 0.303 | 657 | 99 | 0.151
12/5/2024 | 21 | 85350 | 14159 | -11623 | 26129 | 6060 | -4974 | 0.31 | 847 | 307 | 0.362
12/5/2024 | 22 | 81822 | 13994 | -11100 | 26342 | 5989 | -4751 | 0.326 | 908 | 297 | 0.327
12/5/2024 | 23 | 77401 | 12742 | -9727 | 25730 | 5454 | -4164 | 0.336 | 817 | 188 | 0.23
12/5/2024 | 24 | 73286 | 12226 | -9268 | 25567 | 5233 | -3967 | 0.352 | 1030 | 350 | 0.34
12/6/2024 | 1 | 70505 | 12905 | -9864 | 24757 | 5523 | -4222 | 0.354 | 675 | 243 | 0.36
12/6/2024 | 2 | 68594 | 13309 | -10011 | 24009 | 5696 | -4284 | 0.354 | 485 | 155 | 0.32
12/6/2024 | 3 | 67924 | 12940 | -9810 | 23858 | 5538 | -4199 | 0.355 | 570 | 174 | 0.305
12/6/2024 | 4 | 68823 | 12877 | -10031 | 24289 | 5511 | -4293 | 0.356 | 518 | 149 | 0.288
12/6/2024 | 5 | 71047 | 13037 | -10258 | 24789 | 5580 | -4390 | 0.352 | 426 | 130 | 0.305
12/6/2024 | 6 | 76453 | 13187 | -10574 | 24731 | 5644 | -4526 | 0.327 | 300 | 84 | 0.28
12/6/2024 | 7 | 83384 | 13916 | -11736 | 25317 | 5956 | -5023 | 0.307 | 284 | 74 | 0.261
12/6/2024 | 8 | 85815 | 13475 | -11595 | 24222 | 5767 | -4963 | 0.285 | 498 | 138 | 0.277
12/6/2024 | 9 | 84270 | 12791 | -10984 | 20908 | 5474 | -4701 | 0.252 | 235 | 26 | 0.111
12/6/2024 | 10 | 81742 | 12812 | -10848 | 19744 | 5484 | -4643 | 0.246 | 0 | 0 | 0
12/6/2024 | 11 | 78528 | 12761 | -10534 | 18878 | 5462 | -4508 | 0.246 | 0 | 0 | 0
12/6/2024 | 12 | 75630 | 12249 | -9830 | 18308 | 5243 | -4208 | 0.248 | 0 | 0 | 0
12/6/2024 | 13 | 75068 | 12360 | -9856 | 18486 | 5290 | -4219 | 0.252 | 0 | 0 | 0
12/6/2024 | 14 | 76014 | 12232 | -10031 | 18628 | 5235 | -4293 | 0.25 | 0 | 0 | 0
12/6/2024 | 15 | 78175 | 12126 | -10251 | 19261 | 5190 | -4387 | 0.251 | 0 | 0 | 0
12/6/2024 | 16 | 81973 | 12246 | -10437 | 22162 | 5241 | -4467 | 0.274 | 461 | 1 | 0.002
12/6/2024 | 17 | 86474 | 13025 | -10911 | 24770 | 5575 | -4670 | 0.29 | 590 | 43 | 0.073
12/6/2024 | 18 | 88068 | 13609 | -11390 | 25136 | 5824 | -4875 | 0.289 | 640 | 94 | 0.147
12/6/2024 | 19 | 86294 | 13663 | -11307 | 24910 | 5848 | -4840 | 0.292 | 582 | 49 | 0.084
12/6/2024 | 20 | 84254 | 13887 | -11124 | 24886 | 5943 | -4761 | 0.3 | 673 | 85 | 0.126
12/6/2024 | 21 | 81882 | 13736 | -10620 | 24999 | 5879 | -4546 | 0.31 | 876 | 172 | 0.196
12/6/2024 | 22 | 79456 | 13561 | -10383 | 24810 | 5804 | -4444 | 0.317 | 955 | 261 | 0.273
12/6/2024 | 23 | 76059 | 13279 | -10046 | 24464 | 5683 | -4300 | 0.326 | 862 | 222 | 0.258
12/6/2024 | 24 | 72654 | 13158 | -10019 | 23991 | 5632 | -4289 | 0.334 | 1392 | 345 | 0.248
12/7/2024 | 1 | 69534 | 13798 | -10127 | 22942 | 5906 | -4335 | 0.335 | 603 | 120 | 0.199
12/7/2024 | 2 | 67697 | 13555 | -10032 | 22373 | 5801 | -4294 | 0.335 | 582 | 110 | 0.189
12/7/2024 | 3 | 66322 | 13535 | -10092 | 21880 | 5793 | -4319 | 0.335 | 666 | 147 | 0.221
12/7/2024 | 4 | 66133 | 13551 | -10347 | 21966 | 5800 | -4428 | 0.337 | 518 | 98 | 0.189
12/7/2024 | 5 | 67332 | 13330 | -10534 | 21724 | 5705 | -4509 | 0.327 | 514 | 89 | 0.173
12/7/2024 | 6 | 69774 | 13090 | -10374 | 21984 | 5603 | -4440 | 0.319 | 534 | 76 | 0.142
12/7/2024 | 7 | 73505 | 12432 | -10086 | 22684 | 5321 | -4317 | 0.312 | 1136 | 249 | 0.219
12/7/2024 | 8 | 75322 | 12444 | -10529 | 21169 | 5326 | -4507 | 0.285 | 795 | 134 | 0.169
12/7/2024 | 9 | 75488 | 11811 | -10411 | 17774 | 5055 | -4456 | 0.239 | 138 | 0 | 0
12/7/2024 | 10 | 74306 | 11776 | -10273 | 16559 | 5040 | -4397 | 0.227 | 0 | 0 | 0
12/7/2024 | 11 | 72990 | 11633 | -10118 | 16218 | 4979 | -4331 | 0.226 | 0 | 0 | 0
12/7/2024 | 12 | 71920 | 12063 | -10870 | 16096 | 5163 | -4652 | 0.227 | 0 | 0 | 0
12/7/2024 | 13 | 71489 | 12172 | -11053 | 15771 | 5210 | -4731 | 0.224 | 0 | 0 | 0
12/7/2024 | 14 | 71720 | 12436 | -11205 | 15249 | 5323 | -4796 | 0.216 | 0 | 0 | 0
12/7/2024 | 15 | 73529 | 12830 | -11330 | 15594 | 5491 | -4849 | 0.216 | 0 | 0 | 0
12/7/2024 | 16 | 77179 | 13294 | -11284 | 18625 | 5690 | -4830 | 0.246 | 0 | 0 | 0
12/7/2024 | 17 | 81521 | 14264 | -11803 | 21123 | 6105 | -5052 | 0.264 | 380 | 18 | 0.047
12/7/2024 | 18 | 83249 | 15167 | -12504 | 20946 | 6491 | -5352 | 0.257 | 596 | 51 | 0.086
12/7/2024 | 19 | 82219 | 15100 | -12586 | 20563 | 6463 | -5387 | 0.255 | 472 | 70 | 0.148
12/7/2024 | 20 | 81120 | 14968 | -12723 | 20534 | 6407 | -5445 | 0.258 | 601 | 105 | 0.175
12/7/2024 | 21 | 79798 | 14624 | -12479 | 20613 | 6259 | -5341 | 0.263 | 717 | 128 | 0.179
12/7/2024 | 22 | 77928 | 14557 | -12376 | 20230 | 6231 | -5297 | 0.264 | 603 | 107 | 0.177
12/7/2024 | 23 | 74955 | 14740 | -12682 | 19579 | 6308 | -5428 | 0.266 | 653 | 159 | 0.243
12/7/2024 | 24 | 71688 | 14506 | -12449 | 18907 | 6208 | -5328 | 0.268 | 697 | 190 | 0.273
12/8/2024 | 1 | 69670 | 14951 | -12889 | 17954 | 6399 | -5517 | 0.263 | 650 | 112 | 0.172
12/8/2024 | 2 | 67983 | 15291 | -13048 | 17325 | 6544 | -5585 | 0.26 | 727 | 169 | 0.232
12/8/2024 | 3 | 66903 | 15267 | -13269 | 16998 | 6534 | -5679 | 0.259 | 643 | 115 | 0.179
12/8/2024 | 4 | 66516 | 15349 | -13420 | 16741 | 6570 | -5744 | 0.257 | 535 | 84 | 0.157
12/8/2024 | 5 | 67117 | 15219 | -13310 | 16479 | 6514 | -5696 | 0.251 | 638 | 132 | 0.207
12/8/2024 | 6 | 69130 | 15053 | -13331 | 16556 | 6443 | -5706 | 0.244 | 493 | 72 | 0.146
12/8/2024 | 7 | 72336 | 14386 | -12755 | 17490 | 6157 | -5459 | 0.246 | 523 | 89 | 0.17
12/8/2024 | 8 | 74064 | 14092 | -12809 | 16155 | 6031 | -5482 | 0.222 | 287 | 1 | 0.003
12/8/2024 | 9 | 74785 | 13097 | -12228 | 14619 | 5606 | -5234 | 0.198 | 183 | 15 | 0.082
12/8/2024 | 10 | 73330 | 13147 | -12402 | 13421 | 5627 | -5308 | 0.185 | 0 | 0 | 0
12/8/2024 | 11 | 72452 | 13140 | -12724 | 12687 | 5624 | -5446 | 0.177 | 0 | 0 | 0
12/8/2024 | 12 | 71062 | 13082 | -12501 | 12646 | 5599 | -5351 | 0.18 | 0 | 0 | 0
12/8/2024 | 13 | 71386 | 13222 | -12677 | 12325 | 5659 | -5426 | 0.175 | 0 | 0 | 0
12/8/2024 | 14 | 71782 | 13078 | -12542 | 12722 | 5597 | -5368 | 0.179 | 0 | 0 | 0
12/8/2024 | 15 | 73326 | 12645 | -12098 | 13741 | 5412 | -5178 | 0.189 | 0 | 0 | 0
12/8/2024 | 16 | 76970 | 12867 | -11602 | 17146 | 5507 | -4966 | 0.226 | 40 | 0 | 0
12/8/2024 | 17 | 82255 | 13540 | -11852 | 19746 | 5795 | -5073 | 0.244 | 411 | 15 | 0.036
12/8/2024 | 18 | 86165 | 13783 | -11943 | 20642 | 5899 | -5112 | 0.243 | 656 | 84 | 0.128
12/8/2024 | 19 | 85341 | 13637 | -11980 | 20959 | 5837 | -5128 | 0.249 | 640 | 66 | 0.103
12/8/2024 | 20 | 84310 | 13448 | -11733 | 21319 | 5756 | -5022 | 0.256 | 546 | 33 | 0.06
12/8/2024 | 21 | 82350 | 13303 | -11319 | 21445 | 5694 | -4844 | 0.264 | 463 | 40 | 0.086
12/8/2024 | 22 | 78994 | 13138 | -10816 | 21126 | 5623 | -4629 | 0.272 | 429 | 74 | 0.172
12/8/2024 | 23 | 74610 | 13249 | -10851 | 20140 | 5670 | -4644 | 0.275 | 742 | 186 | 0.251
12/8/2024 | 24 | 70837 | 13376 | -10850 | 19906 | 5725 | -4644 | 0.286 | 458 | 107 | 0.234
12/9/2024 | 1 | 68962 | 13176 | -10823 | 19590 | 5639 | -4632 | 0.289 | 399 | 86 | 0.216
12/9/2024 | 2 | 68108 | 12679 | -10664 | 19361 | 5427 | -4564 | 0.288 | 338 | 62 | 0.183
12/9/2024 | 3 | 67191 | 12774 | -10685 | 19366 | 5467 | -4574 | 0.292 | 269 | 0 | 0
12/9/2024 | 4 | 68078 | 12575 | -10670 | 19802 | 5382 | -4567 | 0.295 | 338 | 0 | 0
12/9/2024 | 5 | 71206 | 12320 | -10646 | 20556 | 5273 | -4557 | 0.292 | 253 | 0 | 0
12/9/2024 | 6 | 76974 | 12612 | -10984 | 21530 | 5398 | -4701 | 0.283 | 142 | 0 | 0
12/9/2024 | 7 | 83680 | 13064 | -11389 | 22663 | 5592 | -4875 | 0.274 | 171 | 0 | 0
12/9/2024 | 8 | 87342 | 13231 | -11717 | 22327 | 5663 | -5015 | 0.259 | 404 | 3 | 0.007
12/9/2024 | 9 | 86620 | 12444 | -11442 | 19865 | 5326 | -4897 | 0.232 | 488 | 6 | 0.012
12/9/2024 | 10 | 83982 | 13031 | -12172 | 18638 | 5577 | -5210 | 0.224 | 253 | 0 | 0
12/9/2024 | 11 | 81080 | 12770 | -11864 | 18360 | 5466 | -5078 | 0.229 | 0 | 0 | 0
12/9/2024 | 12 | 78506 | 12750 | -11574 | 17963 | 5457 | -4954 | 0.232 | 0 | 0 | 0
12/9/2024 | 13 | 78151 | 13128 | -11885 | 17861 | 5618 | -5087 | 0.232 | 0 | 0 | 0
12/9/2024 | 14 | 77779 | 13142 | -11731 | 17027 | 5624 | -5021 | 0.223 | 0 | 0 | 0
12/9/2024 | 15 | 79160 | 13039 | -11735 | 17965 | 5581 | -5023 | 0.23 | 0 | 0 | 0
12/9/2024 | 16 | 82535 | 13043 | -11336 | 20721 | 5582 | -4852 | 0.255 | 87 | 0 | 0
12/9/2024 | 17 | 88316 | 13658 | -11501 | 23648 | 5845 | -4922 | 0.272 | 903 | 35 | 0.039
12/9/2024 | 18 | 91084 | 14115 | -11535 | 24867 | 6041 | -4937 | 0.277 | 971 | 57 | 0.059
12/9/2024 | 19 | 90749 | 14526 | -11863 | 24714 | 6217 | -5078 | 0.277 | 1362 | 133 | 0.098
12/9/2024 | 20 | 89467 | 13993 | -11231 | 24956 | 5989 | -4807 | 0.283 | 1484 | 173 | 0.117
12/9/2024 | 21 | 87032 | 14069 | -10858 | 25427 | 6022 | -4647 | 0.297 | 1765 | 447 | 0.253
12/9/2024 | 22 | 83378 | 13517 | -10115 | 25718 | 5785 | -4329 | 0.313 | 1581 | 357 | 0.226
12/9/2024 | 23 | 78774 | 13574 | -10329 | 25488 | 5810 | -4421 | 0.328 | 1008 | 148 | 0.147
12/9/2024 | 24 | 74675 | 13588 | -10477 | 24628 | 5816 | -4485 | 0.334 | 688 | 108 | 0.157
12/10/2024 | 1 | 72107 | 13517 | -10165 | 24865 | 5785 | -4350 | 0.349 | 629 | 149 | 0.237
12/10/2024 | 2 | 70722 | 13461 | -10129 | 23963 | 5762 | -4335 | 0.343 | 372 | 104 | 0.28
12/10/2024 | 3 | 69884 | 13427 | -9917 | 23775 | 5747 | -4244 | 0.344 | 471 | 120 | 0.255
12/10/2024 | 4 | 70849 | 13144 | -9965 | 23800 | 5625 | -4265 | 0.34 | 15 | 1 | 0.067
12/10/2024 | 5 | 74033 | 12858 | -9906 | 24378 | 5503 | -4240 | 0.333 | 61 | 0 | 0
12/10/2024 | 6 | 80158 | 12759 | -10087 | 25491 | 5461 | -4317 | 0.322 | 149 | 4 | 0.027
12/10/2024 | 7 | 87374 | 12242 | -9926 | 26766 | 5240 | -4248 | 0.309 | 71 | 6 | 0.085
12/10/2024 | 8 | 89708 | 12670 | -10476 | 25448 | 5423 | -4483 | 0.287 | 542 | 27 | 0.05
12/10/2024 | 9 | 88446 | 11684 | -10170 | 22139 | 5001 | -4353 | 0.253 | 348 | 10 | 0.029
12/10/2024 | 10 | 85166 | 12303 | -10724 | 20308 | 5265 | -4590 | 0.242 | 0 | 0 | 0
12/10/2024 | 11 | 81571 | 12532 | -11031 | 19038 | 5364 | -4721 | 0.237 | 0 | 0 | 0
12/10/2024 | 12 | 78682 | 12216 | -10838 | 18231 | 5228 | -4639 | 0.235 | 0 | 0 | 0
12/10/2024 | 13 | 77973 | 12737 | -11486 | 17790 | 5452 | -4916 | 0.231 | 0 | 0 | 0
12/10/2024 | 14 | 78232 | 12556 | -11585 | 17519 | 5374 | -4959 | 0.226 | 0 | 0 | 0
12/10/2024 | 15 | 80461 | 12600 | -11736 | 18283 | 5392 | -5023 | 0.229 | 0 | 0 | 0
12/10/2024 | 16 | 84069 | 12518 | -11535 | 21070 | 5358 | -4937 | 0.253 | 0 | 0 | 0
12/10/2024 | 17 | 90000 | 12955 | -11466 | 24823 | 5545 | -4907 | 0.278 | 0 | 0 | 0
12/10/2024 | 18 | 93367 | 13799 | -12106 | 26372 | 5906 | -5181 | 0.285 | 85 | 2 | 0.024
12/10/2024 | 19 | 92647 | 14302 | -12182 | 26430 | 6121 | -5214 | 0.288 | 433 | 1 | 0.002
12/10/2024 | 20 | 91180 | 14468 | -12235 | 26329 | 6192 | -5237 | 0.292 | 600 | 87 | 0.145
12/10/2024 | 21 | 88976 | 14411 | -12028 | 25772 | 6168 | -5148 | 0.293 | 523 | 105 | 0.201
12/10/2024 | 22 | 85674 | 13842 | -11552 | 25177 | 5924 | -4944 | 0.297 | 366 | 57 | 0.156
12/10/2024 | 23 | 81080 | 13725 | -11460 | 24939 | 5875 | -4905 | 0.311 | 216 | 13 | 0.06
12/10/2024 | 24 | 77117 | 12957 | -10737 | 24637 | 5546 | -4595 | 0.323 | 347 | 75 | 0.216
12/11/2024 | 1 | 74685 | 12175 | -9966 | 24123 | 5211 | -4265 | 0.326 | 288 | 11 | 0.038
12/11/2024 | 2 | 73036 | 11868 | -9623 | 23868 | 5080 | -4119 | 0.33 | 398 | 46 | 0.116
12/11/2024 | 3 | 71980 | 12129 | -9726 | 23486 | 5191 | -4163 | 0.33 | 262 | 0 | 0
12/11/2024 | 4 | 72484 | 12639 | -10026 | 23696 | 5409 | -4291 | 0.33 | 236 | 0 | 0
12/11/2024 | 5 | 75492 | 12967 | -10584 | 24107 | 5550 | -4530 | 0.323 | 221 | 0 | 0
12/11/2024 | 6 | 81421 | 13718 | -11492 | 24769 | 5871 | -4919 | 0.307 | 302 | 0 | 0
12/11/2024 | 7 | 88738 | 14222 | -12352 | 25497 | 6087 | -5287 | 0.29 | 842 | 53 | 0.063
12/11/2024 | 8 | 92202 | 12715 | -11471 | 25306 | 5442 | -4910 | 0.277 | 1060 | 117 | 0.11
12/11/2024 | 9 | 90892 | 12217 | -11044 | 23685 | 5229 | -4727 | 0.263 | 538 | 12 | 0.022
12/11/2024 | 10 | 88337 | 12300 | -11049 | 22224 | 5264 | -4729 | 0.254 | 183 | 7 | 0.038
12/11/2024 | 11 | 84501 | 12472 | -11226 | 21265 | 5338 | -4804 | 0.254 | 21 | 0 | 0
12/11/2024 | 12 | 82037 | 12365 | -11069 | 20922 | 5292 | -4738 | 0.258 | 20 | 0 | 0
12/11/2024 | 13 | 80531 | 12478 | -11233 | 20954 | 5341 | -4808 | 0.263 | 4 | 0 | 0
12/11/2024 | 14 | 80896 | 12468 | -11236 | 21080 | 5336 | -4809 | 0.263 | 89 | 0 | 0
12/11/2024 | 15 | 82210 | 12587 | -11401 | 21984 | 5387 | -4880 | 0.27 | 453 | 10 | 0.022
12/11/2024 | 16 | 85202 | 13157 | -12025 | 23914 | 5631 | -5146 | 0.283 | 447 | 0 | 0
12/11/2024 | 17 | 90376 | 14024 | -12827 | 25496 | 6002 | -5490 | 0.284 | 533 | 0 | 0
12/11/2024 | 18 | 93911 | 14695 | -13453 | 25658 | 6289 | -5758 | 0.275 | 728 | 16 | 0.022
12/11/2024 | 19 | 92781 | 14327 | -12967 | 25482 | 6132 | -5550 | 0.277 | 69 | 0 | 0
12/11/2024 | 20 | 91365 | 14406 | -13001 | 25382 | 6166 | -5565 | 0.28 | 767 | 4 | 0.005
12/11/2024 | 21 | 89424 | 14228 | -12663 | 25393 | 6089 | -5420 | 0.286 | 774 | 25 | 0.032
12/11/2024 | 22 | 85542 | 13050 | -11294 | 25016 | 5585 | -4834 | 0.295 | 854 | 130 | 0.152
12/11/2024 | 23 | 80800 | 13544 | -11554 | 24613 | 5797 | -4945 | 0.308 | 553 | 47 | 0.085
12/11/2024 | 24 | 76822 | 12420 | -10262 | 24126 | 5316 | -4392 | 0.317 | 704 | 127 | 0.18
12/12/2024 | 1 | 74426 | 12728 | -10605 | 23645 | 5448 | -4539 | 0.321 | 822 | 240 | 0.292
12/12/2024 | 2 | 72952 | 12612 | -10552 | 23443 | 5398 | -4516 | 0.324 | 819 | 260 | 0.317
12/12/2024 | 3 | 72425 | 12083 | -10601 | 23317 | 5172 | -4537 | 0.324 | 393 | 113 | 0.288
12/12/2024 | 4 | 72796 | 12108 | -10662 | 23500 | 5182 | -4564 | 0.325 | 456 | 135 | 0.296
12/12/2024 | 5 | 75481 | 12738 | -11445 | 23996 | 5452 | -4899 | 0.32 | 558 | 51 | 0.091
12/12/2024 | 6 | 81226 | 13054 | -11876 | 24611 | 5587 | -5083 | 0.305 | 1110 | 81 | 0.073
12/12/2024 | 7 | 87873 | 13945 | -12745 | 25152 | 5968 | -5455 | 0.288 | 1670 | 260 | 0.156
12/12/2024 | 8 | 91366 | 12733 | -11645 | 25330 | 5450 | -4984 | 0.279 | 1084 | 122 | 0.113
12/12/2024 | 9 | 89962 | 12341 | -11249 | 23511 | 5282 | -4814 | 0.263 | 622 | 41 | 0.066
12/12/2024 | 10 | 87978 | 12386 | -10890 | 22465 | 5301 | -4661 | 0.258 | 595 | 22 | 0.037
12/12/2024 | 11 | 85316 | 12295 | -10683 | 22091 | 5262 | -4572 | 0.262 | 337 | 0 | 0
12/12/2024 | 12 | 82902 | 12065 | -10559 | 21509 | 5164 | -4520 | 0.262 | 338 | 18 | 0.053
12/12/2024 | 13 | 81445 | 12368 | -10632 | 21425 | 5294 | -4550 | 0.267 | 299 | 1 | 0.003
12/12/2024 | 14 | 81898 | 12432 | -10639 | 22299 | 5321 | -4554 | 0.276 | 21 | 0 | 0
12/12/2024 | 15 | 82985 | 12817 | -10919 | 21969 | 5486 | -4673 | 0.268 | 104 | 0 | 0
12/12/2024 | 16 | 85554 | 12999 | -10859 | 22972 | 5564 | -4648 | 0.272 | 559 | 29 | 0.052
12/12/2024 | 17 | 89931 | 13898 | -11464 | 24704 | 5948 | -4907 | 0.279 | 991 | 76 | 0.077
12/12/2024 | 18 | 92362 | 14482 | -11925 | 25395 | 6198 | -5104 | 0.279 | 1475 | 284 | 0.193
12/12/2024 | 19 | 91206 | 14216 | -11618 | 25657 | 6084 | -4972 | 0.285 | 1310 | 215 | 0.164
12/12/2024 | 20 | 89474 | 14401 | -11725 | 25259 | 6164 | -5018 | 0.287 | 1363 | 317 | 0.233
12/12/2024 | 21 | 87409 | 14361 | -11713 | 24713 | 6146 | -5013 | 0.287 | 1191 | 352 | 0.296
12/12/2024 | 22 | 83973 | 13972 | -11292 | 24375 | 5980 | -4833 | 0.295 | 1346 | 362 | 0.269
12/12/2024 | 23 | 78782 | 13935 | -10968 | 23665 | 5964 | -4694 | 0.305 | 979 | 243 | 0.248
12/12/2024 | 24 | 74681 | 14058 | -11042 | 23212 | 6017 | -4726 | 0.315 | 968 | 253 | 0.261
12/13/2024 | 1 | 72039 | 13990 | -10978 | 22122 | 5988 | -4698 | 0.312 | 598 | 145 | 0.242
12/13/2024 | 2 | 70238 | 13892 | -10786 | 21970 | 5946 | -4616 | 0.318 | 636 | 152 | 0.239
12/13/2024 | 3 | 69339 | 13564 | -10695 | 22162 | 5805 | -4577 | 0.324 | 665 | 152 | 0.229
12/13/2024 | 4 | 69192 | 13968 | -10709 | 22496 | 5978 | -4584 | 0.33 | 642 | 145 | 0.226
12/13/2024 | 5 | 71816 | 13877 | -10864 | 22981 | 5940 | -4650 | 0.324 | 505 | 101 | 0.2
12/13/2024 | 6 | 77496 | 13114 | -10945 | 24358 | 5613 | -4684 | 0.317 | 529 | 104 | 0.197
12/13/2024 | 7 | 84198 | 13432 | -11321 | 25112 | 5749 | -4845 | 0.301 | 807 | 138 | 0.171
12/13/2024 | 8 | 87494 | 13219 | -11341 | 24281 | 5658 | -4854 | 0.281 | 695 | 79 | 0.114
12/13/2024 | 9 | 86545 | 12848 | -11526 | 21377 | 5499 | -4934 | 0.25 | 153 | 12 | 0.078
12/13/2024 | 10 | 84633 | 13395 | -11970 | 19280 | 5733 | -5123 | 0.231 | 0 | 0 | 0
12/13/2024 | 11 | 83065 | 12925 | -11717 | 18617 | 5532 | -5015 | 0.227 | 0 | 0 | 0
12/13/2024 | 12 | 82037 | 12784 | -11441 | 18117 | 5472 | -4897 | 0.224 | 0 | 0 | 0
12/13/2024 | 13 | 80796 | 13038 | -11750 | 17472 | 5580 | -5029 | 0.22 | 0 | 0 | 0
12/13/2024 | 14 | 80996 | 13219 | -11912 | 17440 | 5658 | -5098 | 0.219 | 0 | 0 | 0
12/13/2024 | 15 | 82007 | 13270 | -12006 | 18285 | 5680 | -5139 | 0.226 | 0 | 0 | 0
12/13/2024 | 16 | 84530 | 13044 | -11271 | 20898 | 5583 | -4824 | 0.251 | 415 | 38 | 0.092
12/13/2024 | 17 | 88083 | 14657 | -12466 | 22823 | 6273 | -5336 | 0.263 | 580 | 32 | 0.055
12/13/2024 | 18 | 90073 | 14701 | -12555 | 23119 | 6292 | -5374 | 0.261 | 691 | 58 | 0.084
12/13/2024 | 19 | 88281 | 14723 | -12453 | 23127 | 6301 | -5330 | 0.266 | 835 | 128 | 0.153
12/13/2024 | 20 | 86311 | 14966 | -12322 | 22677 | 6406 | -5274 | 0.268 | 699 | 127 | 0.182
12/13/2024 | 21 | 83841 | 14819 | -11954 | 22489 | 6342 | -5117 | 0.273 | 684 | 127 | 0.186
12/13/2024 | 22 | 80887 | 14638 | -11636 | 21988 | 6265 | -4980 | 0.277 | 747 | 132 | 0.177
12/13/2024 | 23 | 77981 | 14355 | -11516 | 22313 | 6144 | -4929 | 0.291 | 555 | 19 | 0.034
12/13/2024 | 24 | 74405 | 13873 | -11003 | 21752 | 5938 | -4710 | 0.297 | 583 | 27 | 0.046
12/14/2024 | 1 | 71793 | 13783 | -10835 | 21135 | 5899 | -4637 | 0.3 | 854 | 221 | 0.259
12/14/2024 | 2 | 69356 | 13632 | -10572 | 20494 | 5834 | -4525 | 0.301 | 616 | 128 | 0.208
12/14/2024 | 3 | 67343 | 13928 | -10626 | 20248 | 5961 | -4548 | 0.307 | 676 | 179 | 0.265
12/14/2024 | 4 | 66794 | 13972 | -10724 | 19856 | 5980 | -4590 | 0.303 | 1003 | 252 | 0.251
12/14/2024 | 5 | 67551 | 13954 | -10588 | 19657 | 5973 | -4531 | 0.298 | 755 | 110 | 0.146
12/14/2024 | 6 | 70548 | 13988 | -10797 | 20073 | 5987 | -4621 | 0.291 | 698 | 89 | 0.128
12/14/2024 | 7 | 74368 | 14505 | -11419 | 20427 | 6208 | -4887 | 0.281 | 820 | 111 | 0.135
12/14/2024 | 8 | 76540 | 14445 | -11406 | 19773 | 6182 | -4882 | 0.265 | 1251 | 260 | 0.208
12/14/2024 | 9 | 77219 | 13798 | -11098 | 18684 | 5906 | -4750 | 0.248 | 1096 | 278 | 0.254
12/14/2024 | 10 | 76666 | 13177 | -11009 | 17544 | 5640 | -4712 | 0.234 | 608 | 79 | 0.13
12/14/2024 | 11 | 75354 | 13083 | -10912 | 17150 | 5599 | -4670 | 0.233 | 123 | 1 | 0.008
12/14/2024 | 12 | 74156 | 13254 | -11094 | 16619 | 5673 | -4748 | 0.23 | 168 | 0 | 0
12/14/2024 | 13 | 72986 | 13518 | -11273 | 16414 | 5786 | -4825 | 0.231 | 0 | 0 | 0
12/14/2024 | 14 | 72936 | 13362 | -11308 | 15964 | 5719 | -4840 | 0.225 | 0 | 0 | 0
12/14/2024 | 15 | 74100 | 13505 | -11459 | 16306 | 5780 | -4904 | 0.226 | 162 | 0 | 0
12/14/2024 | 16 | 77671 | 13414 | -11020 | 18520 | 5741 | -4716 | 0.244 | 800 | 59 | 0.074
12/14/2024 | 17 | 81526 | 14969 | -11911 | 19874 | 6407 | -5098 | 0.25 | 1091 | 47 | 0.043
12/14/2024 | 18 | 84178 | 15760 | -12578 | 19795 | 6745 | -5384 | 0.242 | 1819 | 227 | 0.125
12/14/2024 | 19 | 82708 | 16024 | -12667 | 19723 | 6858 | -5421 | 0.246 | 1921 | 310 | 0.161
12/14/2024 | 20 | 81248 | 16016 | -12657 | 19861 | 6855 | -5417 | 0.252 | 2018 | 382 | 0.189
12/14/2024 | 21 | 80660 | 15941 | -12904 | 19789 | 6822 | -5523 | 0.252 | 1991 | 446 | 0.224
12/14/2024 | 22 | 78862 | 15701 | -12710 | 19439 | 6720 | -5440 | 0.253 | 1853 | 543 | 0.293
12/14/2024 | 23 | 75839 | 15754 | -12828 | 19541 | 6743 | -5490 | 0.264 | 1048 | 238 | 0.227
12/14/2024 | 24 | 72212 | 15621 | -12534 | 18646 | 6685 | -5364 | 0.265 | 1137 | 334 | 0.294
12/15/2024 | 1 | 70180 | 14700 | -11776 | 17738 | 6292 | -5040 | 0.26 | 439 | 42 | 0.096
12/15/2024 | 2 | 69012 | 14727 | -11903 | 17514 | 6303 | -5095 | 0.261 | 520 | 33 | 0.063
12/15/2024 | 3 | 67650 | 14824 | -11742 | 17350 | 6345 | -5025 | 0.264 | 491 | 40 | 0.081
12/15/2024 | 4 | 67120 | 14986 | -11793 | 17758 | 6414 | -5047 | 0.272 | 392 | 24 | 0.061
12/15/2024 | 5 | 67631 | 15291 | -11783 | 18359 | 6544 | -5043 | 0.279 | 433 | 18 | 0.042
12/15/2024 | 6 | 69951 | 15554 | -11775 | 19001 | 6657 | -5040 | 0.28 | 559 | 10 | 0.018
12/15/2024 | 7 | 72910 | 14854 | -11174 | 19810 | 6358 | -4782 | 0.279 | 800 | 87 | 0.109
12/15/2024 | 8 | 74851 | 14766 | -11485 | 18369 | 6320 | -4916 | 0.253 | 485 | 4 | 0.008
12/15/2024 | 9 | 75407 | 14505 | -11949 | 15002 | 6208 | -5114 | 0.206 | 0 | 0 | 0
12/15/2024 | 10 | 74082 | 13561 | -11233 | 14005 | 5804 | -4808 | 0.196 | 0 | 0 | 0
12/15/2024 | 11 | 71711 | 13412 | -11099 | 13541 | 5740 | -4750 | 0.196 | 0 | 0 | 0
12/15/2024 | 12 | 70984 | 13373 | -11246 | 13506 | 5723 | -4813 | 0.197 | 0 | 0 | 0
12/15/2024 | 13 | 70424 | 13357 | -11593 | 13509 | 5717 | -4962 | 0.198 | 0 | 0 | 0
12/15/2024 | 14 | 70632 | 13146 | -11438 | 13392 | 5627 | -4896 | 0.195 | 0 | 0 | 0
12/15/2024 | 15 | 72721 | 12233 | -10524 | 14067 | 5236 | -4504 | 0.199 | 0 | 0 | 0
12/15/2024 | 16 | 76821 | 12692 | -10594 | 17298 | 5432 | -4534 | 0.231 | 37 | 0 | 0
12/15/2024 | 17 | 82948 | 13447 | -10603 | 21481 | 5756 | -4538 | 0.265 | 773 | 0 | 0
12/15/2024 | 18 | 86691 | 14231 | -11163 | 22419 | 6091 | -4778 | 0.264 | 972 | 131 | 0.135
12/15/2024 | 19 | 85897 | 14401 | -11237 | 22573 | 6164 | -4810 | 0.269 | 981 | 118 | 0.12
12/15/2024 | 20 | 84907 | 14602 | -11400 | 22687 | 6249 | -4879 | 0.273 | 1049 | 199 | 0.19
12/15/2024 | 21 | 83346 | 14727 | -11493 | 22819 | 6303 | -4919 | 0.28 | 1513 | 206 | 0.136
12/15/2024 | 22 | 80698 | 14695 | -11336 | 22678 | 6290 | -4852 | 0.287 | 1844 | 301 | 0.163
12/15/2024 | 23 | 76363 | 15131 | -11580 | 22186 | 6476 | -4956 | 0.297 | 1283 | 108 | 0.084
12/15/2024 | 24 | 72238 | 14749 | -11226 | 21567 | 6313 | -4804 | 0.305 | 1286 | 180 | 0.14
12/16/2024 | 1 | 69866 | 14131 | -10750 | 21700 | 6048 | -4601 | 0.316 | 1800 | 345 | 0.192
12/16/2024 | 2 | 68873 | 14075 | -10787 | 21520 | 6024 | -4617 | 0.318 | 1600 | 453 | 0.283
12/16/2024 | 3 | 68326 | 14010 | -10911 | 21405 | 5996 | -4670 | 0.318 | 1265 | 429 | 0.339
12/16/2024 | 4 | 68950 | 13956 | -10944 | 21279 | 5973 | -4684 | 0.314 | 1082 | 330 | 0.305
12/16/2024 | 5 | 72061 | 14437 | -11541 | 22177 | 6179 | -4939 | 0.312 | 730 | 166 | 0.227
12/16/2024 | 6 | 77826 | 14755 | -11947 | 23288 | 6315 | -5113 | 0.304 | 535 | 84 | 0.157
12/16/2024 | 7 | 84957 | 15064 | -12462 | 24424 | 6447 | -5334 | 0.292 | 510 | 87 | 0.171
12/16/2024 | 8 | 88729 | 13826 | -11936 | 24082 | 5917 | -5109 | 0.275 | 1077 | 267 | 0.248
12/16/2024 | 9 | 88220 | 12649 | -10937 | 22311 | 5414 | -4681 | 0.256 | 934 | 200 | 0.214
12/16/2024 | 10 | 86014 | 12027 | -10160 | 21212 | 5147 | -4349 | 0.25 | 642 | 114 | 0.178
12/16/2024 | 11 | 83881 | 12078 | -10067 | 20919 | 5169 | -4309 | 0.254 | 509 | 89 | 0.175
12/16/2024 | 12 | 82510 | 12023 | -9990 | 21368 | 5146 | -4276 | 0.263 | 458 | 90 | 0.197
12/16/2024 | 13 | 82023 | 12026 | -9849 | 21605 | 5147 | -4216 | 0.268 | 442 | 93 | 0.21
12/16/2024 | 14 | 82143 | 12185 | -10121 | 21650 | 5215 | -4332 | 0.268 | 467 | 103 | 0.221
12/16/2024 | 15 | 82542 | 12614 | -10039 | 22791 | 5399 | -4297 | 0.281 | 461 | 88 | 0.191
12/16/2024 | 16 | 84938 | 12788 | -10069 | 23812 | 5473 | -4310 | 0.285 | 1128 | 245 | 0.217
12/16/2024 | 17 | 89530 | 13736 | -10942 | 25085 | 5879 | -4683 | 0.285 | 1525 | 278 | 0.182
12/16/2024 | 18 | 92424 | 14766 | -11869 | 25501 | 6320 | -5080 | 0.281 | 1566 | 319 | 0.204
12/16/2024 | 19 | 90972 | 14726 | -11494 | 25704 | 6303 | -4919 | 0.288 | 1506 | 231 | 0.153
12/16/2024 | 20 | 89237 | 14318 | -11041 | 25636 | 6128 | -4725 | 0.292 | 1553 | 216 | 0.139
12/16/2024 | 21 | 86899 | 14165 | -10885 | 25223 | 6063 | -4659 | 0.295 | 1405 | 281 | 0.2
12/16/2024 | 22 | 83243 | 13629 | -10446 | 24017 | 5833 | -4471 | 0.294 | 1674 | 380 | 0.227
12/16/2024 | 23 | 78690 | 13098 | -10081 | 23394 | 5606 | -4314 | 0.302 | 1270 | 151 | 0.119
12/16/2024 | 24 | 74387 | 13279 | -10317 | 22752 | 5684 | -4416 | 0.311 | 832 | 27 | 0.032
12/17/2024 | 1 | 71996 | 12501 | -9588 | 21782 | 5351 | -4104 | 0.307 | 686 | 63 | 0.092
12/17/2024 | 2 | 70348 | 12283 | -9434 | 21475 | 5257 | -4038 | 0.31 | 530 | 90 | 0.17
12/17/2024 | 3 | 69084 | 12336 | -9440 | 21305 | 5280 | -4040 | 0.313 | 557 | 106 | 0.19
12/17/2024 | 4 | 69620 | 12413 | -9830 | 21210 | 5313 | -4207 | 0.309 | 451 | 62 | 0.137
12/17/2024 | 5 | 72045 | 12626 | -10168 | 21655 | 5404 | -4352 | 0.305 | 517 | 20 | 0.039
12/17/2024 | 6 | 77738 | 13188 | -10739 | 23136 | 5645 | -4596 | 0.302 | 626 | 22 | 0.035
12/17/2024 | 7 | 84115 | 13983 | -11402 | 24232 | 5984 | -4880 | 0.292 | 893 | 139 | 0.156
12/17/2024 | 8 | 87444 | 13008 | -10636 | 27148 | 5568 | -4552 | 0.314 | 1773 | 357 | 0.201
12/17/2024 | 9 | 86632 | 12910 | -10992 | 21985 | 5525 | -4705 | 0.258 | 1138 | 188 | 0.165
12/17/2024 | 10 | 84251 | 12761 | -10698 | 20347 | 5462 | -4579 | 0.246 | 833 | 74 | 0.089
12/17/2024 | 11 | 82374 | 12720 | -10745 | 19490 | 5444 | -4599 | 0.241 | 597 | 41 | 0.069
12/17/2024 | 12 | 80800 | 12972 | -11030 | 19358 | 5552 | -4721 | 0.244 | 589 | 34 | 0.058
12/17/2024 | 13 | 80055 | 13268 | -11280 | 19208 | 5679 | -4828 | 0.244 | 461 | 15 | 0.033
12/17/2024 | 14 | 80098 | 13213 | -11302 | 18763 | 5655 | -4837 | 0.239 | 768 | 69 | 0.09
12/17/2024 | 15 | 80768 | 13385 | -11359 | 19982 | 5729 | -4862 | 0.252 | 601 | 79 | 0.131
12/17/2024 | 16 | 83410 | 13237 | -11121 | 22309 | 5666 | -4760 | 0.271 | 620 | 57 | 0.092
12/17/2024 | 17 | 88524 | 15069 | -12899 | 24485 | 6449 | -5521 | 0.28 | 1305 | 60 | 0.046
12/17/2024 | 18 | 91489 | 14867 | -12866 | 25206 | 6363 | -5507 | 0.279 | 1465 | 111 | 0.076
12/17/2024 | 19 | 90615 | 14449 | -12356 | 25498 | 6184 | -5288 | 0.285 | 1051 | 104 | 0.099
12/17/2024 | 20 | 89120 | 13501 | -11411 | 25255 | 5778 | -4884 | 0.287 | 1339 | 156 | 0.117
12/17/2024 | 21 | 86615 | 13583 | -11386 | 25103 | 5814 | -4873 | 0.293 | 885 | 73 | 0.082
12/17/2024 | 22 | 82408 | 13772 | -11064 | 24413 | 5894 | -4735 | 0.3 | 1310 | 346 | 0.264
12/17/2024 | 23 | 77489 | 13696 | -10969 | 23039 | 5862 | -4694 | 0.302 | 1408 | 441 | 0.313
12/17/2024 | 24 | 73347 | 13286 | -10494 | 22066 | 5686 | -4492 | 0.305 | 1652 | 529 | 0.32
12/18/2024 | 1 | 70404 | 15149 | -12486 | 20583 | 6484 | -5344 | 0.297 | 1020 | 325 | 0.319
12/18/2024 | 2 | 68459 | 15159 | -12270 | 19886 | 6488 | -5251 | 0.296 | 996 | 256 | 0.257
12/18/2024 | 3 | 66903 | 15524 | -12365 | 19448 | 6644 | -5293 | 0.297 | 1081 | 283 | 0.262
12/18/2024 | 4 | 67278 | 15773 | -12502 | 19666 | 6751 | -5351 | 0.299 | 1149 | 257 | 0.224
12/18/2024 | 5 | 69030 | 16420 | -12918 | 19922 | 7028 | -5528 | 0.295 | 669 | 153 | 0.229
12/18/2024 | 6 | 74091 | 16977 | -13558 | 20547 | 7266 | -5803 | 0.284 | 10 | 1 | 0.1
12/18/2024 | 7 | 81109 | 16480 | -13654 | 21405 | 7054 | -5844 | 0.269 | 0 | 0 | 0
12/18/2024 | 8 | 84125 | 16676 | -14082 | 20998 | 7138 | -6027 | 0.255 | 9 | 1 | 0.111
12/18/2024 | 9 | 82724 | 16970 | -14979 | 17762 | 7263 | -6411 | 0.22 | 580 | 93 | 0.16
12/18/2024 | 10 | 79959 | 16610 | -14395 | 16294 | 7109 | -6161 | 0.21 | 30 | 0 | 0
12/18/2024 | 11 | 77463 | 16050 | -13736 | 15869 | 6870 | -5879 | 0.211 | 0 | 0 | 0
12/18/2024 | 12 | 75370 | 16832 | -14474 | 15421 | 7204 | -6195 | 0.211 | 0 | 0 | 0
12/18/2024 | 13 | 74479 | 17186 | -14756 | 15214 | 7355 | -6315 | 0.211 | 162 | 1 | 0.006
12/18/2024 | 14 | 75001 | 17489 | -14852 | 15169 | 7485 | -6356 | 0.21 | 385 | 8 | 0.021
12/18/2024 | 15 | 76441 | 17756 | -14834 | 16043 | 7600 | -6349 | 0.218 | 253 | 5 | 0.02
12/18/2024 | 16 | 79631 | 16990 | -14038 | 18826 | 7272 | -6008 | 0.243 | 757 | 76 | 0.1
12/18/2024 | 17 | 83507 | 19253 | -15541 | 20822 | 8240 | -6651 | 0.257 | 50 | 2 | 0.04
12/18/2024 | 18 | 86670 | 19130 | -15548 | 21772 | 8188 | -6654 | 0.258 | 548 | 3 | 0.005
12/18/2024 | 19 | 86478 | 18862 | -15650 | 22448 | 8073 | -6698 | 0.266 | 865 | 53 | 0.061
12/18/2024 | 20 | 85295 | 18219 | -15113 | 22513 | 7798 | -6468 | 0.27 | 1000 | 133 | 0.133
12/18/2024 | 21 | 83371 | 16771 | -13728 | 21929 | 7178 | -5875 | 0.269 | 1061 | 135 | 0.127
12/18/2024 | 22 | 80848 | 16190 | -13208 | 21595 | 6929 | -5653 | 0.273 | 663 | 127 | 0.192
12/18/2024 | 23 | 76428 | 16526 | -13696 | 20356 | 7073 | -5862 | 0.272 | 229 | 43 | 0.188
12/18/2024 | 24 | 72048 | 15422 | -12807 | 20439 | 6601 | -5482 | 0.289 | 486 | 58 | 0.119
12/19/2024 | 1 | 69248 | 15957 | -12858 | 20277 | 6830 | -5504 | 0.299 | 497 | 90 | 0.181
12/19/2024 | 2 | 67376 | 15590 | -12365 | 20466 | 6673 | -5292 | 0.309 | 583 | 79 | 0.136
12/19/2024 | 3 | 66334 | 15537 | -12316 | 20556 | 6650 | -5271 | 0.315 | 524 | 49 | 0.094
12/19/2024 | 4 | 66629 | 15314 | -12064 | 20528 | 6554 | -5163 | 0.314 | 454 | 22 | 0.048
12/19/2024 | 5 | 69401 | 15559 | -12598 | 20900 | 6660 | -5392 | 0.306 | 335 | 41 | 0.122
12/19/2024 | 6 | 75075 | 15472 | -12811 | 22396 | 6622 | -5483 | 0.303 | 274 | 0 | 0
12/19/2024 | 7 | 81714 | 15636 | -13241 | 23216 | 6692 | -5667 | 0.288 | 472 | 51 | 0.108
12/19/2024 | 8 | 85205 | 15019 | -12982 | 22361 | 6428 | -5556 | 0.266 | 625 | 73 | 0.117
12/19/2024 | 9 | 83235 | 13820 | -11838 | 18966 | 5915 | -5067 | 0.233 | 1109 | 275 | 0.248
12/19/2024 | 10 | 81391 | 13154 | -11109 | 17226 | 5630 | -4755 | 0.217 | 920 | 140 | 0.152
12/19/2024 | 11 | 78771 | 13388 | -11152 | 17262 | 5730 | -4773 | 0.225 | 581 | 44 | 0.076
12/19/2024 | 12 | 76557 | 13348 | -10883 | 17872 | 5713 | -4658 | 0.24 | 417 | 17 | 0.041
12/19/2024 | 13 | 76019 | 13327 | -10778 | 17484 | 5704 | -4613 | 0.236 | 356 | 8 | 0.022
12/19/2024 | 14 | 76065 | 13359 | -10652 | 17475 | 5718 | -4559 | 0.237 | 288 | 14 | 0.049
12/19/2024 | 15 | 77124 | 13355 | -10742 | 18053 | 5716 | -4598 | 0.24 | 284 | 8 | 0.028
12/19/2024 | 16 | 80649 | 13988 | -11044 | 20991 | 5986 | -4727 | 0.266 | 698 | 26 | 0.037
12/19/2024 | 17 | 84567 | 16012 | -12640 | 23668 | 6853 | -5410 | 0.286 | 1162 | 61 | 0.052
12/19/2024 | 18 | 86318 | 17308 | -13620 | 23907 | 7408 | -5830 | 0.283 | 1478 | 153 | 0.104
12/19/2024 | 19 | 85434 | 17185 | -13562 | 23932 | 7356 | -5805 | 0.286 | 1713 | 278 | 0.162
12/19/2024 | 20 | 84186 | 16595 | -13030 | 23634 | 7103 | -5577 | 0.287 | 1616 | 252 | 0.156
12/19/2024 | 21 | 82213 | 16324 | -12921 | 23331 | 6987 | -5530 | 0.29 | 1315 | 201 | 0.153
12/19/2024 | 22 | 79218 | 16106 | -12633 | 23085 | 6893 | -5407 | 0.297 | 1482 | 317 | 0.214
12/19/2024 | 23 | 75193 | 15943 | -12486 | 22775 | 6823 | -5344 | 0.308 | 1044 | 161 | 0.154
12/19/2024 | 24 | 70447 | 15252 | -11553 | 21996 | 6528 | -4945 | 0.318 | 1273 | 308 | 0.242
12/20/2024 | 1 | 67938 | 14738 | -10953 | 20716 | 6308 | -4688 | 0.311 | 931 | 240 | 0.258
12/20/2024 | 2 | 66441 | 14299 | -10617 | 20330 | 6120 | -4544 | 0.312 | 1133 | 354 | 0.312
12/20/2024 | 3 | 65539 | 13983 | -10456 | 20219 | 5985 | -4475 | 0.315 | 977 | 321 | 0.329
12/20/2024 | 4 | 65440 | 14210 | -10455 | 20211 | 6082 | -4475 | 0.315 | 1363 | 337 | 0.247
12/20/2024 | 5 | 67636 | 14643 | -10804 | 20814 | 6267 | -4624 | 0.314 | 1202 | 260 | 0.216
12/20/2024 | 6 | 72034 | 15687 | -11545 | 21726 | 6714 | -4941 | 0.308 | 1237 | 208 | 0.168
12/20/2024 | 7 | 78592 | 16176 | -12683 | 22860 | 6923 | -5428 | 0.297 | 1366 | 200 | 0.146
12/20/2024 | 8 | 82691 | 15138 | -12418 | 22246 | 6479 | -5315 | 0.274 | 1360 | 275 | 0.202
12/20/2024 | 9 | 82034 | 14018 | -11450 | 19415 | 6000 | -4901 | 0.242 | 1215 | 236 | 0.194
12/20/2024 | 10 | 79764 | 13730 | -11066 | 18138 | 5876 | -4736 | 0.234 | 536 | 14 | 0.026
12/20/2024 | 11 | 77962 | 13854 | -11176 | 17521 | 5930 | -4784 | 0.231 | 626 | 0 | 0
12/20/2024 | 12 | 76700 | 13677 | -11273 | 17156 | 5854 | -4825 | 0.23 | 546 | 0 | 0
12/20/2024 | 13 | 75910 | 13959 | -11446 | 17137 | 5974 | -4899 | 0.232 | 362 | 0 | 0
12/20/2024 | 14 | 76329 | 13684 | -11453 | 16838 | 5857 | -4902 | 0.226 | 227 | 0 | 0
12/20/2024 | 15 | 77303 | 13968 | -11699 | 16886 | 5978 | -5007 | 0.224 | 505 | 8 | 0.016
12/20/2024 | 16 | 80376 | 14888 | -12328 | 19568 | 6372 | -5276 | 0.249 | 752 | 4 | 0.005
12/20/2024 | 17 | 83776 | 16191 | -13405 | 21727 | 6930 | -5737 | 0.265 | 1096 | 45 | 0.041
12/20/2024 | 18 | 85907 | 16612 | -13822 | 22065 | 7110 | -5916 | 0.262 | 1148 | 61 | 0.053
12/20/2024 | 19 | 84406 | 16502 | -13639 | 21877 | 7063 | -5838 | 0.265 | 1201 | 69 | 0.057
12/20/2024 | 20 | 82917 | 16611 | -13675 | 22371 | 7110 | -5853 | 0.275 | 1328 | 100 | 0.075
12/20/2024 | 21 | 81232 | 16087 | -13124 | 22638 | 6886 | -5617 | 0.284 | 1165 | 98 | 0.084
12/20/2024 | 22 | 78591 | 15746 | -12275 | 22445 | 6739 | -5254 | 0.292 | 1242 | 78 | 0.063
12/20/2024 | 23 | 74828 | 15930 | -12070 | 22095 | 6818 | -5166 | 0.302 | 898 | 11 | 0.012
12/20/2024 | 24 | 71050 | 14872 | -11145 | 21532 | 6365 | -4770 | 0.309 | 1036 | 48 | 0.046
12/21/2024 | 1 | 68534 | 14984 | -11234 | 20619 | 6414 | -4808 | 0.307 | 1149 | 73 | 0.064
12/21/2024 | 2 | 66621 | 14912 | -11132 | 20197 | 6382 | -4765 | 0.31 | 1278 | 143 | 0.112
12/21/2024 | 3 | 65624 | 14570 | -11114 | 20100 | 6236 | -4757 | 0.312 | 1165 | 104 | 0.089
12/21/2024 | 4 | 65297 | 14098 | -10849 | 19585 | 6034 | -4643 | 0.306 | 1348 | 132 | 0.098
12/21/2024 | 5 | 66202 | 14441 | -11272 | 19516 | 6181 | -4824 | 0.301 | 1123 | 100 | 0.089
12/21/2024 | 6 | 68619 | 14699 | -11478 | 19804 | 6291 | -4912 | 0.295 | 1191 | 133 | 0.112
12/21/2024 | 7 | 71745 | 15468 | -12246 | 20144 | 6620 | -5241 | 0.287 | 1525 | 210 | 0.138
12/21/2024 | 8 | 74188 | 14607 | -11762 | 19029 | 6252 | -5034 | 0.263 | 1385 | 277 | 0.2
12/21/2024 | 9 | 74871 | 13558 | -11031 | 17275 | 5803 | -4721 | 0.237 | 472 | 11 | 0.023
12/21/2024 | 10 | 74766 | 13134 | -10486 | 16586 | 5621 | -4488 | 0.229 | 346 | 44 | 0.127
12/21/2024 | 11 | 73852 | 12900 | -10481 | 16575 | 5521 | -4486 | 0.231 | 13 | 0 | 0
12/21/2024 | 12 | 72491 | 12824 | -10309 | 16188 | 5488 | -4412 | 0.23 | 257 | 0 | 0
12/21/2024 | 13 | 72020 | 12759 | -10332 | 15944 | 5461 | -4422 | 0.228 | 359 | 0 | 0
12/21/2024 | 14 | 72009 | 12976 | -10548 | 15707 | 5554 | -4514 | 0.225 | 374 | 0 | 0
12/21/2024 | 15 | 73445 | 13404 | -11037 | 15931 | 5737 | -4724 | 0.224 | 334 | 0 | 0
12/21/2024 | 16 | 75745 | 14183 | -11217 | 17976 | 6070 | -4801 | 0.245 | 601 | 0 | 0
12/21/2024 | 17 | 79441 | 15359 | -12037 | 19910 | 6574 | -5152 | 0.258 | 932 | 103 | 0.111
12/21/2024 | 18 | 81463 | 15519 | -12183 | 20368 | 6642 | -5214 | 0.257 | 1400 | 262 | 0.187
12/21/2024 | 19 | 80073 | 15647 | -12090 | 20026 | 6697 | -5175 | 0.258 | 1491 | 354 | 0.237
12/21/2024 | 20 | 78625 | 15683 | -12148 | 20162 | 6712 | -5199 | 0.264 | 1802 | 382 | 0.212
12/21/2024 | 21 | 77516 | 15911 | -12214 | 20450 | 6810 | -5228 | 0.271 | 1989 | 445 | 0.224
12/21/2024 | 22 | 75096 | 16184 | -12020 | 20389 | 6927 | -5145 | 0.28 | 1954 | 382 | 0.195
12/21/2024 | 23 | 71915 | 15633 | -11439 | 20392 | 6691 | -4896 | 0.292 | 2015 | 391 | 0.194
12/21/2024 | 24 | 68399 | 15864 | -11590 | 19909 | 6790 | -4960 | 0.299 | 1921 | 420 | 0.219
12/22/2024 | 1 | 66203 | 14418 | -10446 | 19323 | 6171 | -4471 | 0.3 | 1392 | 275 | 0.198
12/22/2024 | 2 | 64511 | 14300 | -10445 | 18951 | 6120 | -4470 | 0.301 | 736 | 164 | 0.223
12/22/2024 | 3 | 63850 | 14170 | -10629 | 18622 | 6064 | -4549 | 0.299 | 738 | 149 | 0.202
12/22/2024 | 4 | 63486 | 14082 | -10664 | 18488 | 6027 | -4564 | 0.298 | 339 | 52 | 0.153
12/22/2024 | 5 | 64396 | 14089 | -10744 | 18120 | 6030 | -4598 | 0.289 | 376 | 63 | 0.168
12/22/2024 | 6 | 66487 | 13903 | -10796 | 18762 | 5950 | -4621 | 0.289 | 555 | 46 | 0.083
12/22/2024 | 7 | 69647 | 14261 | -11248 | 19738 | 6104 | -4814 | 0.289 | 435 | 6 | 0.014
12/22/2024 | 8 | 72157 | 13786 | -11085 | 18847 | 5901 | -4744 | 0.267 | 629 | 36 | 0.057
12/22/2024 | 9 | 73728 | 13431 | -10813 | 18215 | 5748 | -4628 | 0.253 | 979 | 21 | 0.021
12/22/2024 | 10 | 75048 | 12475 | -10524 | 17470 | 5340 | -4504 | 0.238 | 712 | 5 | 0.007
12/22/2024 | 11 | 74183 | 12060 | -10279 | 17136 | 5162 | -4399 | 0.236 | 851 | 23 | 0.027
12/22/2024 | 12 | 73298 | 11791 | -10171 | 17180 | 5047 | -4353 | 0.239 | 215 | 0 | 0
12/22/2024 | 13 | 72822 | 11748 | -10200 | 16887 | 5028 | -4365 | 0.236 | 51 | 0 | 0
12/22/2024 | 14 | 73050 | 12031 | -10374 | 16772 | 5149 | -4440 | 0.234 | 139 | 0 | 0
12/22/2024 | 15 | 74873 | 12636 | -10865 | 17763 | 5408 | -4650 | 0.242 | 365 | 0 | 0
12/22/2024 | 16 | 77783 | 12834 | -10970 | 19789 | 5493 | -4695 | 0.258 | 802 | 0 | 0
12/22/2024 | 17 | 80443 | 13955 | -11607 | 21180 | 5973 | -4968 | 0.268 | 1842 | 192 | 0.104
12/22/2024 | 18 | 82339 | 14452 | -11956 | 21206 | 6185 | -5117 | 0.263 | 1248 | 143 | 0.115
12/22/2024 | 19 | 81582 | 14193 | -11760 | 21038 | 6074 | -5033 | 0.263 | 807 | 34 | 0.042
12/22/2024 | 20 | 80253 | 14423 | -11726 | 21058 | 6173 | -5019 | 0.268 | 1145 | 43 | 0.038
12/22/2024 | 21 | 78050 | 14514 | -11585 | 21131 | 6212 | -4958 | 0.276 | 1456 | 99 | 0.068
12/22/2024 | 22 | 75484 | 13860 | -10973 | 21312 | 5932 | -4697 | 0.288 | 1836 | 249 | 0.136
12/22/2024 | 23 | 71493 | 13417 | -10436 | 20730 | 5743 | -4466 | 0.295 | 1592 | 270 | 0.17
12/22/2024 | 24 | 67992 | 13628 | -10538 | 19924 | 5833 | -4510 | 0.299 | 1768 | 363 | 0.205
12/23/2024 | 1 | 65938 | 14209 | -11293 | 19880 | 6081 | -4834 | 0.307 | 1489 | 250 | 0.168
12/23/2024 | 2 | 64171 | 14362 | -11535 | 19436 | 6147 | -4937 | 0.308 | 1208 | 294 | 0.243
12/23/2024 | 3 | 63080 | 14520 | -11635 | 18663 | 6215 | -4980 | 0.302 | 852 | 265 | 0.311
12/23/2024 | 4 | 63460 | 14350 | -11629 | 18471 | 6142 | -4977 | 0.297 | 482 | 117 | 0.243
12/23/2024 | 5 | 65763 | 14504 | -11801 | 19130 | 6208 | -5051 | 0.296 | 728 | 147 | 0.202
12/23/2024 | 6 | 69982 | 15490 | -12516 | 20226 | 6630 | -5357 | 0.295 | 909 | 112 | 0.123
12/23/2024 | 7 | 74603 | 14834 | -11809 | 20640 | 6349 | -5054 | 0.283 | 998 | 198 | 0.198
12/23/2024 | 8 | 77351 | 15685 | -12990 | 20006 | 6713 | -5560 | 0.264 | 730 | 82 | 0.112
12/23/2024 | 9 | 78161 | 14835 | -12177 | 18686 | 6350 | -5212 | 0.245 | 430 | 43 | 0.1
12/23/2024 | 10 | 76998 | 14316 | -11862 | 17571 | 6127 | -5077 | 0.234 | 186 | 0 | 0
12/23/2024 | 11 | 74623 | 13911 | -11425 | 16803 | 5954 | -4890 | 0.232 | 24 | 0 | 0
12/23/2024 | 12 | 73492 | 13891 | -11307 | 16949 | 5945 | -4840 | 0.237 | 0 | 0 | 0
12/23/2024 | 13 | 73048 | 14040 | -11496 | 16750 | 6010 | -4920 | 0.236 | 0 | 0 | 0
12/23/2024 | 14 | 73662 | 13766 | -11333 | 16620 | 5892 | -4850 | 0.232 | 0 | 0 | 0
12/23/2024 | 15 | 75528 | 14371 | -11870 | 17600 | 6151 | -5081 | 0.239 | 0 | 0 | 0
12/23/2024 | 16 | 78448 | 15017 | -12091 | 19459 | 6427 | -5175 | 0.255 | 376 | 0 | 0
12/23/2024 | 17 | 81469 | 17085 | -13593 | 21527 | 7312 | -5818 | 0.271 | 622 | 0 | 0
12/23/2024 | 18 | 83624 | 17624 | -13856 | 21646 | 7543 | -5930 | 0.266 | 922 | 54 | 0.059
12/23/2024 | 19 | 82577 | 17662 | -13742 | 21905 | 7559 | -5882 | 0.273 | 1146 | 102 | 0.089
12/23/2024 | 20 | 81019 | 17589 | -13703 | 21604 | 7528 | -5865 | 0.274 | 1292 | 183 | 0.142
12/23/2024 | 21 | 79403 | 17206 | -13757 | 22293 | 7364 | -5888 | 0.287 | 1002 | 112 | 0.112
12/23/2024 | 22 | 77171 | 16334 | -13046 | 21584 | 6991 | -5584 | 0.286 | 1234 | 183 | 0.148
12/23/2024 | 23 | 73592 | 14652 | -11581 | 21328 | 6271 | -4957 | 0.295 | 934 | 166 | 0.178
12/23/2024 | 24 | 69989 | 14241 | -11437 | 21039 | 6095 | -4895 | 0.306 | 672 | 66 | 0.098
12/24/2024 | 1 | 67413 | 13671 | -10981 | 20655 | 5851 | -4700 | 0.311 | 909 | 160 | 0.176
12/24/2024 | 2 | 65235 | 13646 | -10886 | 20271 | 5840 | -4659 | 0.315 | 644 | 38 | 0.059
12/24/2024 | 3 | 63891 | 13222 | -10505 | 20131 | 5659 | -4496 | 0.32 | 677 | 16 | 0.024
12/24/2024 | 4 | 62977 | 14001 | -10793 | 20028 | 5993 | -4620 | 0.323 | 535 | 76 | 0.142
12/24/2024 | 5 | 64158 | 14023 | -10649 | 19856 | 6002 | -4558 | 0.315 | 475 | 64 | 0.135
12/24/2024 | 6 | 66975 | 14492 | -10991 | 19921 | 6203 | -4704 | 0.304 | 764 | 71 | 0.093
12/24/2024 | 7 | 71119 | 15689 | -12151 | 20324 | 6715 | -5201 | 0.293 | 660 | 47 | 0.071
12/24/2024 | 8 | 73570 | 15634 | -12193 | 19561 | 6691 | -5219 | 0.273 | 815 | 175 | 0.215
12/24/2024 | 9 | 75369 | 13988 | -10794 | 18875 | 5987 | -4620 | 0.258 | 1000 | 154 | 0.154
12/24/2024 | 10 | 76510 | 13619 | -10452 | 18384 | 5829 | -4473 | 0.248 | 1053 | 202 | 0.192
12/24/2024 | 11 | 77457 | 13531 | -10625 | 18328 | 5791 | -4548 | 0.244 | 576 | 135 | 0.234
12/24/2024 | 12 | 76548 | 13911 | -11109 | 18138 | 5954 | -4755 | 0.244 | 381 | 7 | 0.018
12/24/2024 | 13 | 74690 | 14264 | -11456 | 17781 | 6105 | -4903 | 0.245 | 315 | 4 | 0.013
12/24/2024 | 14 | 73758 | 14529 | -11626 | 17310 | 6218 | -4976 | 0.242 | 571 | 106 | 0.186
12/24/2024 | 15 | 73400 | 14441 | -11514 | 17520 | 6181 | -4928 | 0.246 | 50 | 8 | 0.16
12/24/2024 | 16 | 75901 | 13973 | -11134 | 18548 | 5981 | -4766 | 0.251 | 657 | 91 | 0.139
12/24/2024 | 17 | 77528 | 14396 | -10333 | 19173 | 6162 | -4423 | 0.256 | 1021 | 152 | 0.149
12/24/2024 | 18 | 78967 | 14796 | -11028 | 19179 | 6333 | -4720 | 0.251 | 1618 | 408 | 0.252
12/24/2024 | 19 | 76991 | 14684 | -11086 | 18898 | 6284 | -4745 | 0.254 | 1745 | 401 | 0.23
12/24/2024 | 20 | 75275 | 14916 | -11376 | 18534 | 6384 | -4869 | 0.254 | 1452 | 236 | 0.163
12/24/2024 | 21 | 74086 | 15252 | -11339 | 18536 | 6528 | -4853 | 0.259 | 1468 | 235 | 0.16
12/24/2024 | 22 | 72680 | 15026 | -11247 | 18654 | 6431 | -4813 | 0.265 | 1236 | 175 | 0.142
12/24/2024 | 23 | 69861 | 14346 | -10840 | 18485 | 6140 | -4640 | 0.272 | 1067 | 128 | 0.12
12/24/2024 | 24 | 67297 | 14268 | -10705 | 17983 | 6107 | -4582 | 0.275 | 1159 | 155 | 0.134
12/25/2024 | 1 | 66025 | 13221 | -10106 | 16707 | 5659 | -4326 | 0.261 | 786 | 167 | 0.212
12/25/2024 | 2 | 64557 | 13240 | -10074 | 16743 | 5667 | -4311 | 0.267 | 707 | 134 | 0.19
12/25/2024 | 3 | 63292 | 13387 | -10150 | 16716 | 5730 | -4344 | 0.272 | 709 | 130 | 0.183
12/25/2024 | 4 | 63285 | 13070 | -10047 | 16559 | 5594 | -4300 | 0.269 | 1023 | 150 | 0.147
12/25/2024 | 5 | 64340 | 13257 | -10367 | 16900 | 5674 | -4437 | 0.27 | 693 | 71 | 0.102
12/25/2024 | 6 | 67076 | 12992 | -10477 | 17313 | 5560 | -4484 | 0.264 | 776 | 84 | 0.108
12/25/2024 | 7 | 69960 | 13099 | -10511 | 17604 | 5606 | -4499 | 0.258 | 865 | 69 | 0.08
12/25/2024 | 8 | 71686 | 12844 | -10446 | 17567 | 5497 | -4471 | 0.251 | 438 | 19 | 0.043
12/25/2024 | 9 | 71854 | 12106 | -9953 | 15568 | 5182 | -4260 | 0.223 | 0 | 0 | 0
12/25/2024 | 10 | 71615 | 11852 | -10012 | 14960 | 5073 | -4285 | 0.214 | 0 | 0 | 0
12/25/2024 | 11 | 70840 | 11944 | -10141 | 14874 | 5112 | -4340 | 0.215 | 0 | 0 | 0
12/25/2024 | 12 | 69911 | 12243 | -10427 | 15020 | 5240 | -4463 | 0.22 | 0 | 0 | 0
12/25/2024 | 13 | 70444 | 12271 | -10576 | 15133 | 5252 | -4526 | 0.22 | 0 | 0 | 0
12/25/2024 | 14 | 71117 | 12104 | -10503 | 15260 | 5181 | -4495 | 0.219 | 0 | 0 | 0
12/25/2024 | 15 | 72357 | 11972 | -10067 | 15645 | 5124 | -4308 | 0.222 | 22 | 2 | 0.091
12/25/2024 | 16 | 73590 | 12644 | -9946 | 16948 | 5412 | -4257 | 0.237 | 226 | 9 | 0.04
12/25/2024 | 17 | 76603 | 13778 | -10590 | 19239 | 5897 | -4533 | 0.258 | 671 | 0 | 0
12/25/2024 | 18 | 78498 | 13848 | -10713 | 19664 | 5927 | -4585 | 0.257 | 908 | 64 | 0.07
12/25/2024 | 19 | 77461 | 14205 | -11246 | 20037 | 6079 | -4813 | 0.265 | 1005 | 102 | 0.101
12/25/2024 | 20 | 76409 | 13687 | -10905 | 20197 | 5858 | -4667 | 0.27 | 1110 | 89 | 0.08
12/25/2024 | 21 | 75231 | 13929 | -10935 | 20136 | 5962 | -4680 | 0.274 | 1258 | 132 | 0.105
12/25/2024 | 22 | 74140 | 13459 | -10849 | 19978 | 5760 | -4643 | 0.275 | 961 | 73 | 0.076
12/25/2024 | 23 | 70812 | 13909 | -11052 | 19616 | 5953 | -4730 | 0.283 | 879 | 84 | 0.096
12/25/2024 | 24 | 67948 | 13872 | -11004 | 19308 | 5938 | -4710 | 0.29 | 1058 | 162 | 0.153
12/26/2024 | 1 | 66164 | 13014 | -10500 | 18700 | 5570 | -4494 | 0.288 | 1653 | 376 | 0.227
12/26/2024 | 2 | 64668 | 13080 | -10665 | 17949 | 5598 | -4565 | 0.283 | 1797 | 450 | 0.25
12/26/2024 | 3 | 63450 | 13094 | -10601 | 17696 | 5604 | -4538 | 0.285 | 1622 | 391 | 0.241
12/26/2024 | 4 | 63500 | 13723 | -10960 | 17424 | 5873 | -4691 | 0.281 | 1439 | 411 | 0.286
12/26/2024 | 5 | 65757 | 14261 | -11692 | 17454 | 6103 | -5004 | 0.272 | 1600 | 447 | 0.279
12/26/2024 | 6 | 69407 | 14581 | -12033 | 18161 | 6241 | -5150 | 0.268 | 1314 | 326 | 0.248
12/26/2024 | 7 | 73954 | 15311 | -12978 | 19450 | 6553 | -5555 | 0.268 | 1590 | 386 | 0.243
12/26/2024 | 8 | 76900 | 15199 | -13469 | 19814 | 6505 | -5765 | 0.261 | 1260 | 311 | 0.247
12/26/2024 | 9 | 78363 | 14343 | -12623 | 19076 | 6139 | -5403 | 0.247 | 1058 | 312 | 0.295
12/26/2024 | 10 | 79184 | 13888 | -12040 | 18393 | 5944 | -5153 | 0.237 | 586 | 88 | 0.15
12/26/2024 | 11 | 77989 | 13419 | -11705 | 17407 | 5743 | -5009 | 0.228 | 529 | 84 | 0.159
12/26/2024 | 12 | 76576 | 13367 | -11696 | 16735 | 5721 | -5006 | 0.223 | 87 | 14 | 0.161
12/26/2024 | 13 | 75938 | 13925 | -11885 | 15821 | 5960 | -5087 | 0.214 | 1 | 0 | 0
12/26/2024 | 14 | 76550 | 13584 | -11785 | 15903 | 5814 | -5044 | 0.213 | 0 | 0 | 0
12/26/2024 | 15 | 76974 | 13377 | -11799 | 15652 | 5725 | -5050 | 0.208 | 0 | 0 | 0
12/26/2024 | 16 | 79675 | 14207 | -12033 | 17413 | 6081 | -5150 | 0.224 | 743 | 104 | 0.14
12/26/2024 | 17 | 83568 | 16000 | -13519 | 19652 | 6848 | -5786 | 0.241 | 1508 | 301 | 0.2
12/26/2024 | 18 | 86057 | 16638 | -13988 | 20705 | 7121 | -5987 | 0.246 | 1756 | 393 | 0.224
12/26/2024 | 19 | 84689 | 17011 | -14306 | 20802 | 7281 | -6123 | 0.251 | 1995 | 473 | 0.237
12/26/2024 | 20 | 83458 | 16946 | -14439 | 20673 | 7253 | -6180 | 0.253 | 1822 | 393 | 0.216
12/26/2024 | 21 | 81306 | 16859 | -13937 | 20615 | 7216 | -5965 | 0.26 | 1910 | 395 | 0.207
12/26/2024 | 22 | 78421 | 16230 | -13119 | 20374 | 6946 | -5615 | 0.266 | 2267 | 564 | 0.249
12/26/2024 | 23 | 74477 | 15013 | -11953 | 19966 | 6426 | -5116 | 0.274 | 1903 | 434 | 0.228
12/26/2024 | 24 | 70494 | 14916 | -11663 | 19263 | 6384 | -4992 | 0.28 | 1369 | 267 | 0.195
12/27/2024 | 1 | 68723 | 13803 | -11039 | 18423 | 5908 | -4725 | 0.274 | 613 | 25 | 0.041
12/27/2024 | 2 | 67042 | 13703 | -10926 | 18401 | 5865 | -4676 | 0.281 | 588 | 32 | 0.054
12/27/2024 | 3 | 65801 | 13519 | -10744 | 17658 | 5786 | -4598 | 0.275 | 540 | 70 | 0.13
12/27/2024 | 4 | 66050 | 13541 | -10794 | 17686 | 5796 | -4620 | 0.274 | 608 | 68 | 0.112
12/27/2024 | 5 | 68104 | 13608 | -10920 | 18095 | 5824 | -4674 | 0.272 | 528 | 20 | 0.038
12/27/2024 | 6 | 71692 | 14063 | -11278 | 18787 | 6019 | -4827 | 0.268 | 629 | 26 | 0.041
12/27/2024 | 7 | 75985 | 14254 | -11544 | 19336 | 6101 | -4941 | 0.26 | 559 | 48 | 0.086
12/27/2024 | 8 | 79701 | 14450 | -12524 | 19249 | 6184 | -5360 | 0.246 | 774 | 128 | 0.165
12/27/2024 | 9 | 81353 | 13122 | -11631 | 17972 | 5616 | -4978 | 0.225 | 894 | 167 | 0.187
12/27/2024 | 10 | 80785 | 13460 | -12096 | 16946 | 5761 | -5177 | 0.213 | 485 | 24 | 0.049
12/27/2024 | 11 | 79017 | 13045 | -11745 | 16178 | 5583 | -5027 | 0.208 | 255 | 9 | 0.035
12/27/2024 | 12 | 77713 | 12477 | -11136 | 16078 | 5340 | -4766 | 0.211 | 104 | 12 | 0.115
12/27/2024 | 13 | 77661 | 12507 | -11406 | 15663 | 5353 | -4882 | 0.205 | 0 | 0 | 0
12/27/2024 | 14 | 78016 | 12454 | -11676 | 15619 | 5330 | -4997 | 0.202 | 0 | 0 | 0
12/27/2024 | 15 | 78380 | 12773 | -11962 | 15786 | 5467 | -5120 | 0.204 | 36 | 0 | 0
12/27/2024 | 16 | 80947 | 13600 | -12427 | 17472 | 5820 | -5319 | 0.219 | 124 | 0 | 0
12/27/2024 | 17 | 84452 | 14107 | -12579 | 19809 | 6038 | -5384 | 0.238 | 690 | 0 | 0
12/27/2024 | 18 | 86438 | 14422 | -12743 | 20128 | 6173 | -5454 | 0.237 | 930 | 43 | 0.046
12/27/2024 | 19 | 85000 | 14976 | -13119 | 20295 | 6410 | -5615 | 0.243 | 1066 | 122 | 0.114
12/27/2024 | 20 | 82832 | 15294 | -13091 | 19944 | 6546 | -5603 | 0.246 | 1163 | 215 | 0.185
12/27/2024 | 21 | 80227 | 15036 | -12550 | 19924 | 6436 | -5371 | 0.254 | 1521 | 370 | 0.243
12/27/2024 | 22 | 77464 | 14754 | -11925 | 19535 | 6315 | -5104 | 0.258 | 2026 | 569 | 0.281
12/27/2024 | 23 | 74490 | 14218 | -11588 | 19113 | 6085 | -4959 | 0.262 | 1491 | 374 | 0.251
12/27/2024 | 24 | 70891 | 14328 | -11568 | 18516 | 6132 | -4951 | 0.267 | 1713 | 462 | 0.27
12/28/2024 | 1 | 68294 | 14253 | -11668 | 17208 | 6100 | -4994 | 0.258 | 676 | 156 | 0.231
12/28/2024 | 2 | 66457 | 13881 | -11581 | 16708 | 5941 | -4957 | 0.257 | 710 | 99 | 0.139
12/28/2024 | 3 | 64817 | 14119 | -11558 | 16138 | 6043 | -4947 | 0.256 | 970 | 210 | 0.216
12/28/2024 | 4 | 64648 | 13876 | -11486 | 17609 | 5939 | -4916 | 0.278 | 1110 | 260 | 0.234
12/28/2024 | 5 | 66225 | 13685 | -11883 | 15637 | 5857 | -5086 | 0.241 | 1113 | 214 | 0.192
12/28/2024 | 6 | 68284 | 13965 | -12125 | 15798 | 5977 | -5190 | 0.237 | 1043 | 170 | 0.163
12/28/2024 | 7 | 70942 | 14837 | -12733 | 16446 | 6350 | -5450 | 0.237 | 1313 | 219 | 0.167
12/28/2024 | 8 | 73854 | 14083 | -12720 | 16679 | 6028 | -5444 | 0.23 | 1333 | 260 | 0.195
12/28/2024 | 9 | 74804 | 13146 | -12007 | 15612 | 5626 | -5139 | 0.212 | 884 | 148 | 0.167
12/28/2024 | 10 | 74780 | 12962 | -12098 | 14526 | 5548 | -5178 | 0.197 | 638 | 83 | 0.13
12/28/2024 | 11 | 74122 | 13247 | -12401 | 14181 | 5670 | -5308 | 0.194 | 106 | 23 | 0.217
12/28/2024 | 12 | 73295 | 13097 | -12343 | 13718 | 5605 | -5283 | 0.19 | 479 | 44 | 0.092
12/28/2024 | 13 | 72043 | 13183 | -12385 | 13183 | 5642 | -5301 | 0.186 | 15 | 3 | 0.2
12/28/2024 | 14 | 71659 | 13098 | -12408 | 13010 | 5606 | -5311 | 0.184 | 0 | 0 | 0
12/28/2024 | 15 | 72833 | 13695 | -12829 | 13669 | 5861 | -5490 | 0.191 | 0 | 0 | 0
12/28/2024 | 16 | 75402 | 13944 | -12917 | 15378 | 5968 | -5528 | 0.207 | 638 | 96 | 0.15
12/28/2024 | 17 | 79847 | 14454 | -13233 | 17072 | 6186 | -5664 | 0.217 | 1056 | 104 | 0.098
12/28/2024 | 18 | 82385 | 15207 | -13594 | 17617 | 6509 | -5818 | 0.218 | 934 | 96 | 0.103
12/28/2024 | 19 | 81590 | 15179 | -13449 | 18190 | 6497 | -5756 | 0.227 | 1082 | 144 | 0.133
12/28/2024 | 20 | 80191 | 14941 | -12947 | 18256 | 6395 | -5541 | 0.233 | 951 | 72 | 0.076
12/28/2024 | 21 | 78390 | 14967 | -12896 | 18477 | 6406 | -5520 | 0.241 | 884 | 12 | 0.014
12/28/2024 | 22 | 75668 | 14546 | -12098 | 18332 | 6226 | -5178 | 0.248 | 948 | 38 | 0.04
12/28/2024 | 23 | 72564 | 13817 | -11500 | 17988 | 5914 | -4922 | 0.253 | 678 | 11 | 0.016
12/28/2024 | 24 | 69106 | 13514 | -11080 | 17876 | 5784 | -4743 | 0.264 | 717 | 62 | 0.086
12/29/2024 | 1 | 66766 | 13065 | -10339 | 17627 | 5592 | -4425 | 0.27 | 733 | 28 | 0.038
12/29/2024 | 2 | 65166 | 13099 | -10248 | 17659 | 5606 | -4386 | 0.278 | 750 | 64 | 0.085
12/29/2024 | 3 | 63916 | 13173 | -10482 | 17267 | 5638 | -4486 | 0.277 | 990 | 112 | 0.113
12/29/2024 | 4 | 63599 | 13380 | -10734 | 17075 | 5727 | -4594 | 0.275 | 896 | 80 | 0.089
12/29/2024 | 5 | 64504 | 12995 | -10528 | 16956 | 5562 | -4506 | 0.269 | 831 | 87 | 0.105
12/29/2024 | 6 | 66597 | 12789 | -10484 | 17233 | 5474 | -4487 | 0.264 | 809 | 77 | 0.095
12/29/2024 | 7 | 69955 | 12535 | -10744 | 18033 | 5365 | -4598 | 0.262 | 809 | 121 | 0.15
12/29/2024 | 8 | 72637 | 11766 | -10718 | 17323 | 5036 | -4587 | 0.241 | 605 | 3 | 0.005
12/29/2024 | 9 | 73122 | 11503 | -10936 | 14407 | 4923 | -4680 | 0.199 | 166 | 3 | 0.018
12/29/2024 | 10 | 73167 | 11485 | -11264 | 13470 | 4916 | -4821 | 0.185 | 0 | 0 | 0
12/29/2024 | 11 | 72641 | 11486 | -11454 | 13097 | 4916 | -4902 | 0.18 | 0 | 0 | 0
12/29/2024 | 12 | 72007 | 11575 | -11755 | 13045 | 4954 | -5031 | 0.181 | 0 | 0 | 0
12/29/2024 | 13 | 72082 | 11561 | -11689 | 13239 | 4948 | -5003 | 0.183 | 0 | 0 | 0
12/29/2024 | 14 | 72877 | 11496 | -11605 | 13378 | 4920 | -4967 | 0.183 | 0 | 0 | 0
12/29/2024 | 15 | 74289 | 11684 | -11985 | 13274 | 5000 | -5130 | 0.178 | 0 | 0 | 0
12/29/2024 | 16 | 76841 | 12180 | -11977 | 14749 | 5213 | -5126 | 0.193 | 5 | 0 | 0
12/29/2024 | 17 | 81077 | 14133 | -13483 | 16719 | 6049 | -5771 | 0.208 | 585 | 25 | 0.043
12/29/2024 | 18 | 84338 | 14853 | -13858 | 17349 | 6357 | -5931 | 0.208 | 1026 | 67 | 0.065
12/29/2024 | 19 | 83704 | 14628 | -13475 | 17271 | 6261 | -5767 | 0.209 | 1200 | 123 | 0.102
12/29/2024 | 20 | 82052 | 14605 | -13137 | 16548 | 6251 | -5623 | 0.206 | 974 | 48 | 0.049
12/29/2024 | 21 | 80225 | 14509 | -13018 | 16248 | 6210 | -5572 | 0.207 | 1020 | 67 | 0.066
12/29/2024 | 22 | 77239 | 14717 | -12868 | 15937 | 6299 | -5508 | 0.212 | 940 | 53 | 0.056
12/29/2024 | 23 | 73030 | 14569 | -12231 | 15375 | 6235 | -5235 | 0.217 | 692 | 33 | 0.048
12/29/2024 | 24 | 69660 | 14399 | -12019 | 15073 | 6163 | -5144 | 0.223 | 840 | 95 | 0.113
12/30/2024 | 1 | 67382 | 14069 | -11572 | 14766 | 6022 | -4953 | 0.227 | 670 | 0 | 0
12/30/2024 | 2 | 66112 | 13656 | -11130 | 14744 | 5845 | -4764 | 0.231 | 579 | 15 | 0.026
12/30/2024 | 3 | 65428 | 13764 | -11171 | 14978 | 5891 | -4781 | 0.237 | 650 | 23 | 0.035
12/30/2024 | 4 | 65930 | 13682 | -11008 | 15525 | 5856 | -4711 | 0.243 | 836 | 43 | 0.051
12/30/2024 | 5 | 68375 | 13614 | -11035 | 15999 | 5827 | -4723 | 0.241 | 616 | 0 | 0
12/30/2024 | 6 | 72990 | 14038 | -11599 | 17061 | 6008 | -4964 | 0.24 | 918 | 23 | 0.025
12/30/2024 | 7 | 78141 | 15110 | -12634 | 17841 | 6467 | -5408 | 0.234 | 946 | 77 | 0.081
12/30/2024 | 8 | 81822 | 14028 | -12547 | 17574 | 6004 | -5371 | 0.219 | 694 | 64 | 0.092
12/30/2024 | 9 | 81922 | 12720 | -11710 | 15195 | 5444 | -5012 | 0.188 | 227 | 22 | 0.097
12/30/2024 | 10 | 80530 | 12517 | -11734 | 13774 | 5357 | -5022 | 0.174 | 0 | 0 | 0
12/30/2024 | 11 | 78470 | 12412 | -11604 | 13305 | 5313 | -4967 | 0.172 | 0 | 0 | 0
12/30/2024 | 12 | 76125 | 12740 | -11943 | 12948 | 5453 | -5111 | 0.173 | 0 | 0 | 0
12/30/2024 | 13 | 74847 | 12641 | -11887 | 12725 | 5410 | -5087 | 0.173 | 0 | 0 | 0
12/30/2024 | 14 | 74470 | 12604 | -11727 | 12767 | 5395 | -5019 | 0.174 | 0 | 0 | 0
12/30/2024 | 15 | 75622 | 12854 | -11632 | 12875 | 5501 | -4979 | 0.174 | 0 | 0 | 0
12/30/2024 | 16 | 78545 | 13383 | -11498 | 15565 | 5728 | -4921 | 0.204 | 156 | 1 | 0.006
12/30/2024 | 17 | 83901 | 14856 | -12345 | 19518 | 6358 | -5284 | 0.238 | 720 | 34 | 0.047
12/30/2024 | 18 | 86907 | 15112 | -12548 | 20146 | 6468 | -5371 | 0.237 | 761 | 46 | 0.06
12/30/2024 | 19 | 86150 | 15554 | -12677 | 20610 | 6657 | -5426 | 0.245 | 847 | 6 | 0.007
12/30/2024 | 20 | 84456 | 15181 | -12259 | 20633 | 6498 | -5247 | 0.25 | 827 | 19 | 0.023
12/30/2024 | 21 | 82369 | 14930 | -11997 | 20950 | 6390 | -5135 | 0.26 | 856 | 3 | 0.004
12/30/2024 | 22 | 79500 | 14756 | -11690 | 20975 | 6316 | -5003 | 0.27 | 814 | 59 | 0.072
12/30/2024 | 23 | 75152 | 14004 | -10877 | 20493 | 5994 | -4656 | 0.279 | 583 | 14 | 0.024
12/30/2024 | 24 | 71401 | 14028 | -10841 | 20116 | 6004 | -4640 | 0.288 | 302 | 0 | 0
12/31/2024 | 1 | 69730 | 13765 | -10968 | 19329 | 5892 | -4694 | 0.283 | 591 | 17 | 0.029
12/31/2024 | 2 | 67917 | 12787 | -9780 | 19619 | 5473 | -4186 | 0.295 | 513 | 0 | 0
12/31/2024 | 3 | 66994 | 12693 | -9542 | 19739 | 5433 | -4084 | 0.301 | 505 | 0 | 0
12/31/2024 | 4 | 67341 | 12713 | -9565 | 20018 | 5441 | -4094 | 0.303 | 616 | 6 | 0.01
12/31/2024 | 5 | 69418 | 12964 | -9929 | 20573 | 5549 | -4250 | 0.302 | 753 | 1 | 0.001
12/31/2024 | 6 | 74036 | 13413 | -10588 | 21355 | 5741 | -4532 | 0.294 | 849 | 0 | 0
12/31/2024 | 7 | 79222 | 14144 | -11591 | 21872 | 6054 | -4961 | 0.281 | 737 | 0 | 0
12/31/2024 | 8 | 82855 | 13708 | -11701 | 21728 | 5867 | -5008 | 0.266 | 929 | 56 | 0.06
12/31/2024 | 9 | 82635 | 12598 | -10829 | 19362 | 5392 | -4635 | 0.238 | 579 | 0 | 0
12/31/2024 | 10 | 80864 | 12060 | -10280 | 17405 | 5162 | -4400 | 0.22 | 12 | 0 | 0
12/31/2024 | 11 | 78820 | 11893 | -10194 | 16974 | 5090 | -4363 | 0.22 | 0 | 0 | 0
12/31/2024 | 12 | 76120 | 11969 | -10017 | 16601 | 5123 | -4287 | 0.223 | 6 | 0 | 0
12/31/2024 | 13 | 74488 | 12225 | -10163 | 16143 | 5232 | -4350 | 0.222 | 0 | 0 | 0
12/31/2024 | 14 | 73708 | 12229 | -10136 | 15594 | 5234 | -4338 | 0.218 | 0 | 0 | 0
12/31/2024 | 15 | 75156 | 12287 | -10323 | 16136 | 5258 | -4418 | 0.22 | 0 | 0 | 0
12/31/2024 | 16 | 78161 | 12477 | -10395 | 18097 | 5340 | -4449 | 0.237 | 5 | 0 | 0
12/31/2024 | 17 | 84142 | 14159 | -11575 | 21356 | 6060 | -4954 | 0.259 | 702 | 0 | 0
12/31/2024 | 18 | 86862 | 14397 | -11763 | 22254 | 6162 | -5034 | 0.261 | 1337 | 95 | 0.071
12/31/2024 | 19 | 84641 | 15032 | -12442 | 22468 | 6433 | -5325 | 0.27 | 1543 | 113 | 0.073
12/31/2024 | 20 | 81644 | 14655 | -11786 | 22106 | 6272 | -5045 | 0.276 | 1666 | 130 | 0.078
12/31/2024 | 21 | 79339 | 14733 | -11907 | 21830 | 6306 | -5096 | 0.28 | 1407 | 157 | 0.112
12/31/2024 | 22 | 76863 | 13838 | -10905 | 21440 | 5923 | -4668 | 0.284 | 1416 | 178 | 0.126
12/31/2024 | 23 | 74564 | 13759 | -10886 | 21139 | 5889 | -4660 | 0.289 | 1224 | 192 | 0.157
12/31/2024 | 24 | 72358 | 13217 | -10395 | 21319 | 5657 | -4449 | 0.3 | 821 | 58 | 0.071