## KEY
Average Emissions Rate Calculation
Background:
The CAISO is publishing this metric of an average emissions rate (AER) based on the discussion in the GHG working groups. CAISO discussed the metric at the November 27, 2023 GHG Coordination Working Group. A brief explanation of the methodology is included below:
Methodology:
1) Which resources are reflected in this example AER metric (all schedules are from the 5-minute market)
- All supply resources are included
- All demand response resources are excluded
- All energy storage resources are included (emissions rate used is 0 MTCO2e/MWh)
- Resources that were attributed to serve California are included
2) The AER measures all schedules ie. The total dispatach of the resources and not relative to WEIM base schedule
3) Bilateral transactions are included (emissions rate used is 0.428 MTCO2e/MWh) unless they are resource specific.
4) CAISO filled in missing heat rate and emissions rate data by using wtd averages from existing data
Key
TRADE_DT | Trade date of the reported data in MM/DD/YYYY format
TRADE_HR | Trade hour of the reported data. Data is reported as the "hour-ending", e.g. TRADE_HR = 2 is for the hour-ending 1:59:59AM Pacific time
GEN_MWH | MWh of electricity generation in the WEIM area* (including CAISO)
IMP_MWH | MWh of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_MWH | MWh of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
GEN_GHG | Greenhouse gas emissions in MTCO2e of electricity generation in the WEIM area
IMP_GHG | Greenhouse gas emissions in MTCO2e of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_GHG | Greenhouse gas emissions in MTCO2e of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
AVG_EM_RATE | Average emissions rate calculated as columns G through I divided by columns C through E
ATTR_MWH | MWh of WEIM transfers into California which, by definition, is equal to the sum of the GHG attributions
ATTR_GHG | Greenhouse gas emissions in MTCO2e of WEIM transfers into California (resource-specific)
ATTR_AVG_EM_RATE | Average emissions rate of WEIM transfers into California
CAISO PUBLIC

## AER_SUMMARY
TRADE_DT | TRADE_HR | GEN_MWH | IMP_MWH | EXP_MWH | GEN_GHG | IMP_GHG | EXP_GHG | AVG_EM_RATE | ATTR_MWH | ATTR_GHG | ATTR_AVG_EM_RATE
6/1/2024 | 1 | 71768 | 12284 | -11974 | 16384 | 5258 | -5125 | 0.229 | 186 | 0 | 0
6/1/2024 | 2 | 68631 | 12295 | -11908 | 16161 | 5262 | -5097 | 0.237 | 91 | 0 | 0
6/1/2024 | 3 | 65849 | 12524 | -12008 | 15656 | 5360 | -5140 | 0.239 | 123 | 0 | 0
6/1/2024 | 4 | 64135 | 12905 | -12366 | 15403 | 5524 | -5293 | 0.242 | 100 | 0 | 0
6/1/2024 | 5 | 63558 | 12899 | -12234 | 15434 | 5521 | -5236 | 0.245 | 14 | 0 | 0
6/1/2024 | 6 | 63611 | 13425 | -12615 | 14934 | 5746 | -5399 | 0.237 | 136 | 4 | 0.029
6/1/2024 | 7 | 65097 | 15662 | -15087 | 13032 | 6703 | -6457 | 0.202 | 278 | 19 | 0.068
6/1/2024 | 8 | 67256 | 14874 | -14833 | 10747 | 6366 | -6348 | 0.16 | 0 | 0 | 0
6/1/2024 | 9 | 69494 | 15210 | -15835 | 10329 | 6510 | -6777 | 0.146 | 0 | 0 | 0
6/1/2024 | 10 | 71870 | 15799 | -16952 | 10242 | 6762 | -7255 | 0.138 | 0 | 0 | 0
6/1/2024 | 11 | 73428 | 16029 | -17490 | 10489 | 6860 | -7486 | 0.137 | 0 | 0 | 0
6/1/2024 | 12 | 74850 | 16148 | -17839 | 10582 | 6911 | -7635 | 0.135 | 0 | 0 | 0
6/1/2024 | 13 | 75422 | 16477 | -18085 | 10793 | 7052 | -7740 | 0.137 | 0 | 0 | 0
6/1/2024 | 14 | 77371 | 17091 | -18930 | 11434 | 7315 | -8102 | 0.141 | 0 | 0 | 0
6/1/2024 | 15 | 79398 | 17956 | -19886 | 11789 | 7685 | -8511 | 0.142 | 0 | 0 | 0
6/1/2024 | 16 | 82605 | 18309 | -20363 | 12310 | 7836 | -8716 | 0.142 | 0 | 0 | 0
6/1/2024 | 17 | 84999 | 19024 | -20286 | 12539 | 8142 | -8683 | 0.143 | 0 | 0 | 0
6/1/2024 | 18 | 87727 | 19189 | -19909 | 13850 | 8213 | -8521 | 0.156 | 0 | 0 | 0
6/1/2024 | 19 | 88904 | 19415 | -19408 | 15974 | 8310 | -8307 | 0.18 | 0 | 0 | 0
6/1/2024 | 20 | 87501 | 20329 | -20017 | 16903 | 8701 | -8567 | 0.194 | 87 | 0 | 0
6/1/2024 | 21 | 85704 | 20317 | -19548 | 16868 | 8696 | -8366 | 0.199 | 18 | 0 | 0
6/1/2024 | 22 | 82451 | 19530 | -18950 | 16156 | 8359 | -8110 | 0.198 | 3 | 0 | 0
6/1/2024 | 23 | 77928 | 15718 | -15213 | 15843 | 6727 | -6511 | 0.205 | 106 | 0 | 0
6/1/2024 | 24 | 73228 | 15077 | -14531 | 15171 | 6453 | -6219 | 0.209 | 161 | 0 | 0
6/2/2024 | 1 | 69159 | 13700 | -13160 | 14695 | 5863 | -5632 | 0.214 | 134 | 0 | 0
6/2/2024 | 2 | 65958 | 13378 | -12922 | 13923 | 5726 | -5531 | 0.213 | 227 | 0 | 0
6/2/2024 | 3 | 63631 | 12709 | -12353 | 13154 | 5439 | -5287 | 0.208 | 479 | 0 | 0
6/2/2024 | 4 | 61735 | 12521 | -12035 | 12834 | 5359 | -5151 | 0.21 | 299 | 0 | 0
6/2/2024 | 5 | 61031 | 12797 | -12308 | 12470 | 5477 | -5268 | 0.206 | 0 | 0 | 0
6/2/2024 | 6 | 61714 | 12756 | -12342 | 11945 | 5459 | -5282 | 0.195 | 0 | 0 | 0
6/2/2024 | 7 | 63435 | 11857 | -12058 | 10902 | 5075 | -5161 | 0.171 | 0 | 0 | 0
6/2/2024 | 8 | 64831 | 11254 | -12088 | 9755 | 4817 | -5174 | 0.147 | 0 | 0 | 0
6/2/2024 | 9 | 67633 | 11326 | -12552 | 9554 | 4847 | -5372 | 0.136 | 0 | 0 | 0
6/2/2024 | 10 | 69696 | 11862 | -13102 | 9620 | 5077 | -5607 | 0.133 | 0 | 0 | 0
6/2/2024 | 11 | 71319 | 11765 | -13022 | 9819 | 5036 | -5573 | 0.132 | 0 | 0 | 0
6/2/2024 | 12 | 72815 | 11994 | -13535 | 10090 | 5134 | -5793 | 0.132 | 0 | 0 | 0
6/2/2024 | 13 | 74738 | 12015 | -13881 | 10383 | 5142 | -5941 | 0.132 | 0 | 0 | 0
6/2/2024 | 14 | 76325 | 12220 | -14152 | 10650 | 5230 | -6057 | 0.132 | 0 | 0 | 0
6/2/2024 | 15 | 78813 | 13384 | -15236 | 11437 | 5728 | -6521 | 0.138 | 0 | 0 | 0
6/2/2024 | 16 | 80872 | 13587 | -15006 | 11881 | 5815 | -6423 | 0.142 | 0 | 0 | 0
6/2/2024 | 17 | 84354 | 14620 | -15601 | 12908 | 6257 | -6677 | 0.15 | 0 | 0 | 0
6/2/2024 | 18 | 87791 | 14190 | -14556 | 14228 | 6073 | -6230 | 0.161 | 0 | 0 | 0
6/2/2024 | 19 | 89465 | 14847 | -14614 | 16493 | 6355 | -6255 | 0.185 | 0 | 0 | 0
6/2/2024 | 20 | 88352 | 15676 | -15132 | 18094 | 6709 | -6476 | 0.206 | 139 | 0 | 0
6/2/2024 | 21 | 86261 | 15808 | -14917 | 17999 | 6766 | -6384 | 0.211 | 282 | 0 | 0
6/2/2024 | 22 | 83615 | 15056 | -14473 | 17340 | 6444 | -6195 | 0.209 | 401 | 0 | 0
6/2/2024 | 23 | 78261 | 12875 | -12470 | 16751 | 5510 | -5337 | 0.215 | 456 | 0 | 0
6/2/2024 | 24 | 72421 | 12727 | -12116 | 15875 | 5447 | -5186 | 0.221 | 261 | 0 | 0
6/3/2024 | 1 | 68031 | 12688 | -11418 | 14744 | 5430 | -4887 | 0.221 | 490 | 8 | 0.016
6/3/2024 | 2 | 65472 | 12214 | -11128 | 14286 | 5227 | -4763 | 0.222 | 346 | 1 | 0.003
6/3/2024 | 3 | 63496 | 12024 | -10730 | 13555 | 5146 | -4592 | 0.218 | 419 | 0 | 0
6/3/2024 | 4 | 62947 | 12348 | -11447 | 13377 | 5285 | -4899 | 0.216 | 330 | 0 | 0
6/3/2024 | 5 | 64190 | 12688 | -12128 | 13424 | 5430 | -5191 | 0.211 | 340 | 0 | 0
6/3/2024 | 6 | 67502 | 12997 | -12436 | 13540 | 5563 | -5322 | 0.202 | 9 | 0 | 0
6/3/2024 | 7 | 72201 | 15506 | -15281 | 12732 | 6637 | -6540 | 0.177 | 359 | 0 | 0
6/3/2024 | 8 | 76238 | 15224 | -15447 | 10994 | 6516 | -6611 | 0.143 | 0 | 0 | 0
6/3/2024 | 9 | 78281 | 15083 | -15874 | 10204 | 6455 | -6794 | 0.127 | 0 | 0 | 0
6/3/2024 | 10 | 79591 | 15026 | -15887 | 10111 | 6431 | -6800 | 0.124 | 0 | 0 | 0
6/3/2024 | 11 | 80679 | 14823 | -15819 | 10037 | 6344 | -6771 | 0.121 | 0 | 0 | 0
6/3/2024 | 12 | 80923 | 15225 | -16203 | 10258 | 6516 | -6935 | 0.123 | 0 | 0 | 0
6/3/2024 | 13 | 81432 | 15804 | -16709 | 10440 | 6764 | -7151 | 0.125 | 0 | 0 | 0
6/3/2024 | 14 | 83410 | 16431 | -17309 | 11443 | 7033 | -7408 | 0.134 | 0 | 0 | 0
6/3/2024 | 15 | 85579 | 17430 | -18845 | 11776 | 7460 | -8066 | 0.133 | 0 | 0 | 0
6/3/2024 | 16 | 87981 | 17775 | -19127 | 12877 | 7608 | -8186 | 0.142 | 0 | 0 | 0
6/3/2024 | 17 | 90164 | 19535 | -20284 | 14133 | 8361 | -8681 | 0.154 | 0 | 0 | 0
6/3/2024 | 18 | 92702 | 19473 | -20148 | 15700 | 8335 | -8623 | 0.167 | 0 | 0 | 0
6/3/2024 | 19 | 92459 | 20320 | -20365 | 17068 | 8697 | -8716 | 0.184 | 71 | 0 | 0
6/3/2024 | 20 | 90663 | 20788 | -20431 | 17811 | 8897 | -8745 | 0.197 | 180 | 0 | 0
6/3/2024 | 21 | 89284 | 20449 | -19683 | 18026 | 8752 | -8425 | 0.204 | 422 | 0 | 0
6/3/2024 | 22 | 86062 | 19932 | -18913 | 17632 | 8531 | -8095 | 0.207 | 490 | 6 | 0.012
6/3/2024 | 23 | 80401 | 15447 | -14448 | 16478 | 6611 | -6184 | 0.208 | 329 | 32 | 0.097
6/3/2024 | 24 | 74879 | 14224 | -13591 | 15548 | 6088 | -5817 | 0.209 | 759 | 138 | 0.182
6/4/2024 | 1 | 70651 | 15616 | -14965 | 14350 | 6684 | -6405 | 0.205 | 764 | 79 | 0.103
6/4/2024 | 2 | 67650 | 15428 | -14803 | 13849 | 6603 | -6336 | 0.207 | 501 | 0 | 0
6/4/2024 | 3 | 65962 | 14686 | -14395 | 13417 | 6286 | -6161 | 0.204 | 462 | 0 | 0
6/4/2024 | 4 | 65172 | 14613 | -14208 | 13082 | 6254 | -6081 | 0.202 | 76 | 0 | 0
6/4/2024 | 5 | 65974 | 14334 | -13769 | 13153 | 6135 | -5893 | 0.201 | 44 | 0 | 0
6/4/2024 | 6 | 69271 | 14941 | -14261 | 13549 | 6395 | -6104 | 0.198 | 89 | 0 | 0
6/4/2024 | 7 | 73486 | 15967 | -15704 | 13073 | 6834 | -6721 | 0.179 | 351 | 0 | 0
6/4/2024 | 8 | 76383 | 14283 | -13912 | 11661 | 6113 | -5954 | 0.154 | 0 | 0 | 0
6/4/2024 | 9 | 78599 | 14253 | -13872 | 11461 | 6100 | -5937 | 0.147 | 0 | 0 | 0
6/4/2024 | 10 | 78877 | 13952 | -13723 | 11076 | 5972 | -5874 | 0.141 | 0 | 0 | 0
6/4/2024 | 11 | 78991 | 13821 | -13337 | 11204 | 5915 | -5708 | 0.144 | 0 | 0 | 0
6/4/2024 | 12 | 80040 | 14118 | -13908 | 11611 | 6042 | -5953 | 0.146 | 0 | 0 | 0
6/4/2024 | 13 | 81939 | 14574 | -14305 | 12020 | 6238 | -6123 | 0.148 | 0 | 0 | 0
6/4/2024 | 14 | 84132 | 15401 | -15395 | 12626 | 6592 | -6589 | 0.15 | 0 | 0 | 0
6/4/2024 | 15 | 87272 | 16377 | -16651 | 13228 | 7009 | -7127 | 0.151 | 0 | 0 | 0
6/4/2024 | 16 | 90915 | 17130 | -17317 | 14113 | 7332 | -7412 | 0.155 | 0 | 0 | 0
6/4/2024 | 17 | 94543 | 18531 | -18569 | 14981 | 7931 | -7948 | 0.158 | 0 | 0 | 0
6/4/2024 | 18 | 97596 | 20495 | -20405 | 16058 | 8772 | -8733 | 0.165 | 0 | 0 | 0
6/4/2024 | 19 | 99726 | 20883 | -20704 | 18623 | 8938 | -8861 | 0.187 | 0 | 0 | 0
6/4/2024 | 20 | 98870 | 20398 | -20062 | 20636 | 8730 | -8587 | 0.209 | 1 | 0 | 0
6/4/2024 | 21 | 96876 | 20194 | -19941 | 20718 | 8643 | -8535 | 0.214 | 164 | 0 | 0
6/4/2024 | 22 | 92858 | 19145 | -18535 | 19982 | 8194 | -7933 | 0.217 | 29 | 0 | 0
6/4/2024 | 23 | 85747 | 15939 | -14935 | 18796 | 6822 | -6392 | 0.222 | 345 | 0 | 0
6/4/2024 | 24 | 79062 | 15486 | -14469 | 17195 | 6628 | -6193 | 0.22 | 791 | 21 | 0.027
6/5/2024 | 1 | 74287 | 15305 | -14500 | 16222 | 6551 | -6206 | 0.221 | 1520 | 375 | 0.247
6/5/2024 | 2 | 70070 | 15587 | -14198 | 15437 | 6671 | -6077 | 0.224 | 1299 | 324 | 0.249
6/5/2024 | 3 | 67235 | 15918 | -14304 | 14836 | 6813 | -6122 | 0.226 | 1097 | 229 | 0.209
6/5/2024 | 4 | 66147 | 15994 | -14439 | 14634 | 6845 | -6180 | 0.226 | 1174 | 211 | 0.18
6/5/2024 | 5 | 66781 | 16150 | -14239 | 14616 | 6912 | -6094 | 0.225 | 1122 | 202 | 0.18
6/5/2024 | 6 | 69441 | 16358 | -14253 | 15116 | 7001 | -6100 | 0.224 | 831 | 128 | 0.154
6/5/2024 | 7 | 73864 | 18682 | -16929 | 13735 | 7996 | -7246 | 0.192 | 1720 | 468 | 0.272
6/5/2024 | 8 | 77893 | 16946 | -15555 | 11976 | 7253 | -6658 | 0.159 | 414 | 35 | 0.085
6/5/2024 | 9 | 79456 | 16083 | -14466 | 11901 | 6883 | -6191 | 0.155 | 292 | 0 | 0
6/5/2024 | 10 | 81513 | 15750 | -14242 | 12309 | 6741 | -6095 | 0.156 | 135 | 0 | 0
6/5/2024 | 11 | 83377 | 15737 | -14187 | 13117 | 6735 | -6072 | 0.162 | 0 | 0 | 0
6/5/2024 | 12 | 85522 | 16066 | -14310 | 13602 | 6876 | -6125 | 0.164 | 20 | 0 | 0
6/5/2024 | 13 | 88938 | 16164 | -14710 | 14573 | 6918 | -6296 | 0.168 | 36 | 0 | 0
6/5/2024 | 14 | 93054 | 16403 | -15187 | 16033 | 7020 | -6500 | 0.176 | 0 | 0 | 0
6/5/2024 | 15 | 96219 | 17879 | -16512 | 17751 | 7652 | -7067 | 0.188 | 94 | 0 | 0
6/5/2024 | 16 | 100746 | 18599 | -17692 | 19129 | 7960 | -7572 | 0.192 | 435 | 0 | 0
6/5/2024 | 17 | 104030 | 21029 | -20111 | 19982 | 9001 | -8608 | 0.194 | 375 | 0 | 0
6/5/2024 | 18 | 107667 | 21321 | -20572 | 21709 | 9126 | -8805 | 0.203 | 506 | 0 | 0
6/5/2024 | 19 | 108739 | 21761 | -21164 | 24397 | 9314 | -9058 | 0.225 | 530 | 0 | 0
6/5/2024 | 20 | 107268 | 21718 | -21412 | 26726 | 9295 | -9165 | 0.25 | 316 | 0 | 0
6/5/2024 | 21 | 103876 | 21570 | -21165 | 26739 | 9232 | -9059 | 0.258 | 428 | 0 | 0
6/5/2024 | 22 | 98223 | 20742 | -19843 | 25294 | 8877 | -8493 | 0.259 | 684 | 35 | 0.051
6/5/2024 | 23 | 90124 | 15848 | -14405 | 24039 | 6783 | -6165 | 0.269 | 427 | 0 | 0
6/5/2024 | 24 | 82145 | 15728 | -13953 | 22073 | 6732 | -5972 | 0.272 | 630 | 53 | 0.084
6/6/2024 | 1 | 76990 | 14312 | -12659 | 20878 | 6126 | -5418 | 0.274 | 430 | 12 | 0.028
6/6/2024 | 2 | 72867 | 13820 | -12356 | 19837 | 5915 | -5288 | 0.275 | 454 | 0 | 0
6/6/2024 | 3 | 69936 | 14032 | -12530 | 19088 | 6006 | -5363 | 0.276 | 364 | 0 | 0
6/6/2024 | 4 | 68285 | 14092 | -12751 | 18340 | 6032 | -5457 | 0.272 | 180 | 0 | 0
6/6/2024 | 5 | 68845 | 13801 | -12426 | 18218 | 5907 | -5318 | 0.268 | 464 | 0 | 0
6/6/2024 | 6 | 71170 | 14173 | -12788 | 18247 | 6066 | -5473 | 0.26 | 236 | 0 | 0
6/6/2024 | 7 | 75592 | 17152 | -16119 | 17358 | 7341 | -6899 | 0.232 | 445 | 0 | 0
6/6/2024 | 8 | 79264 | 15723 | -14909 | 15272 | 6730 | -6381 | 0.195 | 229 | 0 | 0
6/6/2024 | 9 | 82205 | 15011 | -14137 | 14863 | 6425 | -6051 | 0.183 | 128 | 0 | 0
6/6/2024 | 10 | 84496 | 14766 | -14061 | 15800 | 6320 | -6018 | 0.189 | 0 | 0 | 0
6/6/2024 | 11 | 87017 | 15154 | -14598 | 15864 | 6486 | -6248 | 0.184 | 0 | 0 | 0
6/6/2024 | 12 | 90509 | 15646 | -15260 | 16904 | 6696 | -6531 | 0.188 | 0 | 0 | 0
6/6/2024 | 13 | 93799 | 16264 | -15668 | 18413 | 6961 | -6706 | 0.198 | 0 | 0 | 0
6/6/2024 | 14 | 97830 | 16807 | -16310 | 19764 | 7193 | -6981 | 0.203 | 0 | 0 | 0
6/6/2024 | 15 | 101503 | 18190 | -17698 | 21185 | 7785 | -7575 | 0.21 | 9 | 0 | 0
6/6/2024 | 16 | 104439 | 19365 | -18942 | 22000 | 8288 | -8107 | 0.212 | 0 | 0 | 0
6/6/2024 | 17 | 107181 | 22268 | -21864 | 23033 | 9531 | -9358 | 0.216 | 20 | 0 | 0
6/6/2024 | 18 | 109812 | 23750 | -23365 | 24473 | 10165 | -10000 | 0.224 | 124 | 0 | 0
6/6/2024 | 19 | 110048 | 24645 | -24373 | 25760 | 10548 | -10432 | 0.235 | 436 | 0 | 0
6/6/2024 | 20 | 107554 | 24693 | -23930 | 27210 | 10569 | -10242 | 0.254 | 629 | 73 | 0.116
6/6/2024 | 21 | 103393 | 23784 | -22296 | 26987 | 10180 | -9543 | 0.263 | 485 | 0 | 0
6/6/2024 | 22 | 97669 | 23102 | -21254 | 25066 | 9888 | -9097 | 0.26 | 827 | 37 | 0.045
6/6/2024 | 23 | 90593 | 16103 | -14535 | 23170 | 6892 | -6221 | 0.259 | 274 | 0 | 0
6/6/2024 | 24 | 83472 | 15051 | -13569 | 20939 | 6442 | -5808 | 0.254 | 425 | 8 | 0.019
6/7/2024 | 1 | 78020 | 14493 | -13322 | 19201 | 6203 | -5702 | 0.249 | 447 | 1 | 0.002
6/7/2024 | 2 | 73629 | 13987 | -12757 | 17693 | 5986 | -5460 | 0.243 | 369 | 0 | 0
6/7/2024 | 3 | 70558 | 13904 | -12417 | 16675 | 5951 | -5315 | 0.24 | 369 | 0 | 0
6/7/2024 | 4 | 68705 | 13900 | -12307 | 16583 | 5949 | -5267 | 0.246 | 300 | 0 | 0
6/7/2024 | 5 | 69216 | 13822 | -12321 | 16640 | 5916 | -5273 | 0.244 | 353 | 0 | 0
6/7/2024 | 6 | 70754 | 14132 | -12438 | 16904 | 6048 | -5324 | 0.243 | 356 | 0 | 0
6/7/2024 | 7 | 74974 | 17220 | -16003 | 16145 | 7370 | -6849 | 0.219 | 561 | 39 | 0.07
6/7/2024 | 8 | 79241 | 15950 | -14722 | 14142 | 6826 | -6301 | 0.182 | 99 | 0 | 0
6/7/2024 | 9 | 82814 | 15075 | -14250 | 14009 | 6452 | -6099 | 0.172 | 38 | 0 | 0
6/7/2024 | 10 | 85120 | 14822 | -14227 | 14088 | 6344 | -6089 | 0.167 | 0 | 0 | 0
6/7/2024 | 11 | 86927 | 14890 | -14543 | 14226 | 6373 | -6225 | 0.165 | 0 | 0 | 0
6/7/2024 | 12 | 89145 | 14826 | -14329 | 14821 | 6345 | -6133 | 0.168 | 0 | 0 | 0
6/7/2024 | 13 | 91808 | 14943 | -14600 | 15506 | 6396 | -6249 | 0.17 | 0 | 0 | 0
6/7/2024 | 14 | 94995 | 15038 | -14964 | 16121 | 6436 | -6405 | 0.17 | 0 | 0 | 0
6/7/2024 | 15 | 98249 | 16293 | -16219 | 16446 | 6974 | -6942 | 0.168 | 0 | 0 | 0
6/7/2024 | 16 | 101763 | 17636 | -17975 | 16949 | 7548 | -7693 | 0.166 | 0 | 0 | 0
6/7/2024 | 17 | 103665 | 19643 | -19953 | 17932 | 8407 | -8540 | 0.172 | 0 | 0 | 0
6/7/2024 | 18 | 104921 | 20825 | -20873 | 18639 | 8913 | -8933 | 0.178 | 0 | 0 | 0
6/7/2024 | 19 | 104525 | 21272 | -21021 | 20965 | 9104 | -8997 | 0.201 | 90 | 0 | 0
6/7/2024 | 20 | 102126 | 21168 | -20581 | 23406 | 9060 | -8809 | 0.23 | 830 | 6 | 0.007
6/7/2024 | 21 | 98021 | 20701 | -19971 | 23575 | 8860 | -8548 | 0.242 | 931 | 58 | 0.062
6/7/2024 | 22 | 93035 | 19823 | -18743 | 22026 | 8484 | -8022 | 0.239 | 778 | 2 | 0.003
6/7/2024 | 23 | 86463 | 13081 | -11845 | 21414 | 5599 | -5069 | 0.25 | 100 | 0 | 0
6/7/2024 | 24 | 80210 | 13143 | -11903 | 19901 | 5625 | -5094 | 0.251 | 467 | 18 | 0.039
6/8/2024 | 1 | 68820 | 12341 | -10873 | 16786 | 5282 | -4653 | 0.248 | 238 | 0 | 0
6/8/2024 | 2 | 71403 | 12896 | -11553 | 17403 | 5520 | -4945 | 0.247 | 412 | 0 | 0
6/8/2024 | 3 | 68246 | 12690 | -11314 | 16244 | 5431 | -4842 | 0.242 | 460 | 0 | 0
6/8/2024 | 4 | 66430 | 12747 | -11371 | 15665 | 5456 | -4867 | 0.24 | 422 | 0 | 0
6/8/2024 | 5 | 65376 | 12958 | -11436 | 15191 | 5546 | -4895 | 0.237 | 495 | 0 | 0
6/8/2024 | 6 | 65001 | 13492 | -11917 | 14796 | 5775 | -5100 | 0.232 | 321 | 20 | 0.062
6/8/2024 | 7 | 66807 | 16614 | -15743 | 13581 | 7111 | -6738 | 0.206 | 299 | 9 | 0.03
6/8/2024 | 8 | 69441 | 15307 | -14563 | 11195 | 6552 | -6233 | 0.164 | 0 | 0 | 0
6/8/2024 | 9 | 73094 | 14271 | -13748 | 10951 | 6108 | -5884 | 0.152 | 0 | 0 | 0
6/8/2024 | 10 | 75543 | 14639 | -14269 | 11050 | 6266 | -6107 | 0.148 | 0 | 0 | 0
6/8/2024 | 11 | 77399 | 14562 | -14245 | 11386 | 6233 | -6097 | 0.148 | 0 | 0 | 0
6/8/2024 | 12 | 79504 | 14909 | -14275 | 11874 | 6381 | -6110 | 0.152 | 0 | 0 | 0
6/8/2024 | 13 | 81320 | 15084 | -14475 | 12551 | 6456 | -6195 | 0.156 | 0 | 0 | 0
6/8/2024 | 14 | 83838 | 15434 | -15014 | 13092 | 6606 | -6426 | 0.158 | 0 | 0 | 0
6/8/2024 | 15 | 86683 | 16248 | -15888 | 14148 | 6954 | -6800 | 0.164 | 0 | 0 | 0
6/8/2024 | 16 | 89862 | 17242 | -16752 | 14960 | 7380 | -7170 | 0.168 | 0 | 0 | 0
6/8/2024 | 17 | 92795 | 19205 | -18529 | 15764 | 8220 | -7930 | 0.172 | 0 | 0 | 0
6/8/2024 | 18 | 95143 | 19672 | -18690 | 16986 | 8420 | -7999 | 0.181 | 0 | 0 | 0
6/8/2024 | 19 | 95903 | 19839 | -18679 | 18487 | 8491 | -7995 | 0.196 | 0 | 0 | 0
6/8/2024 | 20 | 94374 | 20766 | -19606 | 20578 | 8888 | -8391 | 0.221 | 106 | 0 | 0
6/8/2024 | 21 | 91985 | 20873 | -19899 | 20723 | 8934 | -8517 | 0.227 | 600 | 0 | 0
6/8/2024 | 22 | 88625 | 20694 | -19701 | 19807 | 8857 | -8432 | 0.226 | 782 | 1 | 0.001
6/8/2024 | 23 | 83507 | 15109 | -14270 | 18556 | 6467 | -6108 | 0.224 | 418 | 0 | 0
6/8/2024 | 24 | 77524 | 14694 | -13701 | 17424 | 6289 | -5864 | 0.227 | 505 | 6 | 0.012
6/9/2024 | 1 | 72683 | 14762 | -13860 | 15398 | 6318 | -5932 | 0.215 | 392 | 0 | 0
6/9/2024 | 2 | 68969 | 14514 | -13585 | 14105 | 6212 | -5815 | 0.207 | 456 | 0 | 0
6/9/2024 | 3 | 66451 | 14632 | -13772 | 13628 | 6263 | -5894 | 0.208 | 514 | 0 | 0
6/9/2024 | 4 | 64838 | 14495 | -13706 | 13126 | 6204 | -5866 | 0.205 | 351 | 0 | 0
6/9/2024 | 5 | 63599 | 14710 | -13844 | 12700 | 6296 | -5925 | 0.203 | 72 | 0 | 0
6/9/2024 | 6 | 63466 | 14710 | -13836 | 12506 | 6296 | -5922 | 0.2 | 0 | 0 | 0
6/9/2024 | 7 | 64262 | 13575 | -13261 | 11153 | 5810 | -5676 | 0.175 | 105 | 0 | 0
6/9/2024 | 8 | 65867 | 11366 | -11376 | 10254 | 4865 | -4869 | 0.156 | 0 | 0 | 0
6/9/2024 | 9 | 68500 | 11152 | -11120 | 10034 | 4773 | -4759 | 0.147 | 0 | 0 | 0
6/9/2024 | 10 | 71095 | 11581 | -12019 | 10039 | 4957 | -5144 | 0.139 | 0 | 0 | 0
6/9/2024 | 11 | 72624 | 11310 | -11880 | 10292 | 4840 | -5085 | 0.139 | 0 | 0 | 0
6/9/2024 | 12 | 74188 | 11809 | -12071 | 10833 | 5054 | -5166 | 0.145 | 0 | 0 | 0
6/9/2024 | 13 | 76156 | 11801 | -11969 | 11101 | 5051 | -5123 | 0.145 | 0 | 0 | 0
6/9/2024 | 14 | 78180 | 12048 | -11971 | 11367 | 5156 | -5124 | 0.146 | 0 | 0 | 0
6/9/2024 | 15 | 81117 | 12891 | -12777 | 11957 | 5517 | -5468 | 0.148 | 0 | 0 | 0
6/9/2024 | 16 | 84399 | 13781 | -13494 | 12312 | 5898 | -5775 | 0.147 | 0 | 0 | 0
6/9/2024 | 17 | 89109 | 14187 | -14201 | 13043 | 6072 | -6078 | 0.146 | 0 | 0 | 0
6/9/2024 | 18 | 92031 | 15021 | -14370 | 14039 | 6429 | -6150 | 0.154 | 0 | 0 | 0
6/9/2024 | 19 | 92921 | 16458 | -15154 | 15203 | 7044 | -6486 | 0.167 | 287 | 0 | 0
6/9/2024 | 20 | 92156 | 17184 | -15760 | 16614 | 7355 | -6745 | 0.184 | 333 | 0 | 0
6/9/2024 | 21 | 89518 | 17156 | -15764 | 16949 | 7343 | -6747 | 0.193 | 596 | 0 | 0
6/9/2024 | 22 | 85709 | 17508 | -15992 | 16153 | 7493 | -6845 | 0.193 | 606 | 49 | 0.081
6/9/2024 | 23 | 80333 | 15733 | -14385 | 15515 | 6734 | -6157 | 0.197 | 483 | 12 | 0.025
6/9/2024 | 24 | 73905 | 15350 | -13797 | 14570 | 6570 | -5905 | 0.202 | 579 | 22 | 0.038
6/10/2024 | 1 | 69475 | 14751 | -13226 | 14112 | 6314 | -5661 | 0.208 | 1052 | 214 | 0.203
6/10/2024 | 2 | 66074 | 14898 | -13393 | 13225 | 6376 | -5732 | 0.205 | 875 | 160 | 0.183
6/10/2024 | 3 | 63688 | 14702 | -13089 | 12740 | 6292 | -5602 | 0.206 | 854 | 123 | 0.144
6/10/2024 | 4 | 62698 | 14814 | -13227 | 12601 | 6340 | -5661 | 0.207 | 839 | 144 | 0.172
6/10/2024 | 5 | 63515 | 15117 | -13542 | 12603 | 6470 | -5796 | 0.204 | 738 | 136 | 0.184
6/10/2024 | 6 | 66611 | 15487 | -14237 | 12980 | 6628 | -6093 | 0.199 | 885 | 170 | 0.192
6/10/2024 | 7 | 70511 | 17259 | -15755 | 12485 | 7387 | -6743 | 0.182 | 766 | 148 | 0.193
6/10/2024 | 8 | 74868 | 15178 | -13761 | 11153 | 6496 | -5890 | 0.154 | 95 | 0 | 0
6/10/2024 | 9 | 78184 | 15216 | -14357 | 11152 | 6512 | -6145 | 0.146 | 0 | 0 | 0
6/10/2024 | 10 | 79028 | 15141 | -14085 | 11228 | 6480 | -6028 | 0.146 | 0 | 0 | 0
6/10/2024 | 11 | 79323 | 15110 | -13873 | 11251 | 6467 | -5938 | 0.146 | 0 | 0 | 0
6/10/2024 | 12 | 80318 | 15202 | -14024 | 11364 | 6507 | -6002 | 0.146 | 0 | 0 | 0
6/10/2024 | 13 | 83114 | 15106 | -14092 | 11989 | 6466 | -6031 | 0.148 | 0 | 0 | 0
6/10/2024 | 14 | 85840 | 15702 | -14579 | 12695 | 6721 | -6240 | 0.152 | 0 | 0 | 0
6/10/2024 | 15 | 89134 | 16569 | -15296 | 13688 | 7091 | -6547 | 0.157 | 0 | 0 | 0
6/10/2024 | 16 | 93427 | 17073 | -15966 | 14735 | 7307 | -6833 | 0.161 | 0 | 0 | 0
6/10/2024 | 17 | 97023 | 18171 | -17119 | 15777 | 7777 | -7327 | 0.165 | 0 | 0 | 0
6/10/2024 | 18 | 100651 | 18450 | -17043 | 17593 | 7897 | -7295 | 0.178 | 0 | 0 | 0
6/10/2024 | 19 | 102423 | 18718 | -17053 | 19802 | 8011 | -7299 | 0.197 | 0 | 0 | 0
6/10/2024 | 20 | 100691 | 19298 | -17623 | 22252 | 8259 | -7543 | 0.224 | 0 | 0 | 0
6/10/2024 | 21 | 97392 | 18881 | -17084 | 23055 | 8081 | -7312 | 0.24 | 189 | 0 | 0
6/10/2024 | 22 | 92540 | 18629 | -16777 | 22228 | 7973 | -7181 | 0.244 | 397 | 2 | 0.005
6/10/2024 | 23 | 85437 | 15591 | -13852 | 20892 | 6673 | -5929 | 0.248 | 352 | 31 | 0.088
6/10/2024 | 24 | 77943 | 15317 | -13536 | 18886 | 6556 | -5793 | 0.246 | 672 | 58 | 0.086
6/11/2024 | 1 | 72997 | 15595 | -13760 | 17258 | 6675 | -5889 | 0.241 | 640 | 124 | 0.194
6/11/2024 | 2 | 69225 | 15308 | -13614 | 16080 | 6552 | -5827 | 0.237 | 626 | 135 | 0.216
6/11/2024 | 3 | 66768 | 15247 | -13513 | 15056 | 6526 | -5783 | 0.231 | 613 | 132 | 0.215
6/11/2024 | 4 | 65223 | 15329 | -13613 | 14620 | 6561 | -5826 | 0.229 | 459 | 56 | 0.122
6/11/2024 | 5 | 65878 | 15566 | -13847 | 14754 | 6662 | -5927 | 0.229 | 719 | 153 | 0.213
6/11/2024 | 6 | 67971 | 15849 | -14222 | 14874 | 6783 | -6087 | 0.224 | 615 | 106 | 0.172
6/11/2024 | 7 | 71839 | 17664 | -16002 | 13959 | 7560 | -6849 | 0.2 | 606 | 73 | 0.12
6/11/2024 | 8 | 76029 | 16738 | -15185 | 12419 | 7164 | -6499 | 0.169 | 155 | 0 | 0
6/11/2024 | 9 | 79428 | 16421 | -15220 | 12550 | 7028 | -6514 | 0.162 | 0 | 0 | 0
6/11/2024 | 10 | 81144 | 16045 | -14863 | 12949 | 6867 | -6361 | 0.163 | 0 | 0 | 0
6/11/2024 | 11 | 83677 | 16409 | -15411 | 13094 | 7023 | -6596 | 0.16 | 0 | 0 | 0
6/11/2024 | 12 | 86648 | 16527 | -15501 | 13429 | 7074 | -6634 | 0.158 | 0 | 0 | 0
6/11/2024 | 13 | 90398 | 17084 | -15925 | 13989 | 7312 | -6816 | 0.158 | 0 | 0 | 0
6/11/2024 | 14 | 94425 | 17302 | -16318 | 15072 | 7405 | -6984 | 0.162 | 0 | 0 | 0
6/11/2024 | 15 | 98577 | 18262 | -17510 | 16347 | 7816 | -7494 | 0.168 | 0 | 0 | 0
6/11/2024 | 16 | 102206 | 18921 | -18032 | 17805 | 8098 | -7718 | 0.176 | 0 | 0 | 0
6/11/2024 | 17 | 106020 | 20405 | -19881 | 18925 | 8733 | -8509 | 0.18 | 0 | 0 | 0
6/11/2024 | 18 | 108736 | 21648 | -20720 | 20533 | 9266 | -8868 | 0.191 | 0 | 0 | 0
6/11/2024 | 19 | 108948 | 21566 | -20560 | 22284 | 9230 | -8800 | 0.207 | 133 | 0 | 0
6/11/2024 | 20 | 106894 | 21521 | -19922 | 25162 | 9211 | -8526 | 0.238 | 187 | 0 | 0
6/11/2024 | 21 | 102623 | 21004 | -19116 | 25212 | 8990 | -8182 | 0.249 | 498 | 47 | 0.094
6/11/2024 | 22 | 97187 | 20080 | -17802 | 23018 | 8594 | -7619 | 0.241 | 1049 | 69 | 0.066
6/11/2024 | 23 | 89472 | 16927 | -14664 | 21631 | 7245 | -6276 | 0.246 | 592 | 86 | 0.145
6/11/2024 | 24 | 81573 | 16466 | -14071 | 19142 | 7048 | -6022 | 0.24 | 768 | 171 | 0.223
6/12/2024 | 1 | 76093 | 15989 | -13773 | 17213 | 6843 | -5895 | 0.232 | 1022 | 295 | 0.289
6/12/2024 | 2 | 71828 | 16226 | -14126 | 16250 | 6945 | -6046 | 0.232 | 654 | 151 | 0.231
6/12/2024 | 3 | 68718 | 15805 | -13451 | 15528 | 6764 | -5757 | 0.233 | 755 | 186 | 0.246
6/12/2024 | 4 | 66752 | 15479 | -12941 | 15402 | 6625 | -5539 | 0.238 | 532 | 84 | 0.158
6/12/2024 | 5 | 67221 | 15641 | -13045 | 15222 | 6694 | -5583 | 0.234 | 390 | 27 | 0.069
6/12/2024 | 6 | 69200 | 16025 | -13262 | 15559 | 6859 | -5676 | 0.233 | 372 | 21 | 0.056
6/12/2024 | 7 | 73675 | 17432 | -15053 | 14856 | 7461 | -6443 | 0.209 | 1046 | 234 | 0.224
6/12/2024 | 8 | 77633 | 15879 | -13934 | 13354 | 6796 | -5964 | 0.178 | 117 | 0 | 0
6/12/2024 | 9 | 81316 | 15108 | -13548 | 13244 | 6466 | -5799 | 0.168 | 204 | 0 | 0
6/12/2024 | 10 | 83237 | 14699 | -13230 | 13470 | 6291 | -5662 | 0.166 | 0 | 0 | 0
6/12/2024 | 11 | 85068 | 14479 | -13055 | 13666 | 6197 | -5587 | 0.165 | 0 | 0 | 0
6/12/2024 | 12 | 87084 | 14694 | -13229 | 13857 | 6289 | -5662 | 0.164 | 0 | 0 | 0
6/12/2024 | 13 | 90291 | 15195 | -13861 | 14687 | 6503 | -5933 | 0.167 | 0 | 0 | 0
6/12/2024 | 14 | 94600 | 15751 | -14901 | 15559 | 6742 | -6378 | 0.167 | 0 | 0 | 0
6/12/2024 | 15 | 98591 | 17776 | -17564 | 16773 | 7608 | -7517 | 0.171 | 0 | 0 | 0
6/12/2024 | 16 | 101626 | 18629 | -18348 | 17975 | 7973 | -7853 | 0.178 | 0 | 0 | 0
6/12/2024 | 17 | 104359 | 20180 | -19774 | 18860 | 8637 | -8463 | 0.182 | 0 | 0 | 0
6/12/2024 | 18 | 107176 | 21773 | -21244 | 20212 | 9319 | -9092 | 0.19 | 0 | 0 | 0
6/12/2024 | 19 | 106718 | 22197 | -20870 | 22205 | 9500 | -8933 | 0.211 | 0 | 0 | 0
6/12/2024 | 20 | 104232 | 22015 | -20535 | 24489 | 9422 | -8789 | 0.238 | 588 | 0 | 0
6/12/2024 | 21 | 100777 | 21330 | -20076 | 25006 | 9129 | -8593 | 0.25 | 519 | 7 | 0.013
6/12/2024 | 22 | 94905 | 20341 | -18496 | 23236 | 8706 | -7916 | 0.248 | 523 | 0 | 0
6/12/2024 | 23 | 87511 | 16495 | -14664 | 22122 | 7060 | -6276 | 0.256 | 183 | 0 | 0
6/12/2024 | 24 | 79407 | 15678 | -13339 | 20414 | 6710 | -5709 | 0.262 | 294 | 0 | 0
6/13/2024 | 1 | 74639 | 14784 | -12884 | 18839 | 6328 | -5514 | 0.257 | 407 | 0 | 0
6/13/2024 | 2 | 70968 | 14364 | -12649 | 17867 | 6148 | -5414 | 0.256 | 523 | 0 | 0
6/13/2024 | 3 | 68286 | 14070 | -12180 | 17323 | 6022 | -5213 | 0.258 | 490 | 0 | 0
6/13/2024 | 4 | 66943 | 13989 | -12058 | 17364 | 5987 | -5161 | 0.264 | 127 | 0 | 0
6/13/2024 | 5 | 67670 | 14026 | -12236 | 17224 | 6003 | -5237 | 0.259 | 386 | 0 | 0
6/13/2024 | 6 | 70432 | 13895 | -12506 | 17776 | 5947 | -5353 | 0.256 | 545 | 0 | 0
6/13/2024 | 7 | 74151 | 15247 | -13780 | 16539 | 6526 | -5898 | 0.227 | 254 | 0 | 0
6/13/2024 | 8 | 77643 | 14213 | -13116 | 14946 | 6083 | -5614 | 0.196 | 8 | 0 | 0
6/13/2024 | 9 | 80485 | 13857 | -12586 | 15001 | 5931 | -5387 | 0.19 | 0 | 0 | 0
6/13/2024 | 10 | 81513 | 13743 | -12403 | 15147 | 5882 | -5309 | 0.19 | 0 | 0 | 0
6/13/2024 | 11 | 82927 | 14418 | -13049 | 15566 | 6171 | -5585 | 0.192 | 0 | 0 | 0
6/13/2024 | 12 | 84853 | 14398 | -13053 | 15967 | 6162 | -5587 | 0.192 | 0 | 0 | 0
6/13/2024 | 13 | 88340 | 14820 | -13789 | 16554 | 6343 | -5902 | 0.19 | 0 | 0 | 0
6/13/2024 | 14 | 91111 | 15250 | -14471 | 17219 | 6527 | -6193 | 0.191 | 0 | 0 | 0
6/13/2024 | 15 | 93650 | 16107 | -15355 | 17907 | 6894 | -6572 | 0.193 | 0 | 0 | 0
6/13/2024 | 16 | 95814 | 16750 | -15831 | 18263 | 7169 | -6776 | 0.193 | 0 | 0 | 0
6/13/2024 | 17 | 98971 | 18383 | -17490 | 18883 | 7868 | -7486 | 0.193 | 0 | 0 | 0
6/13/2024 | 18 | 101892 | 19515 | -18628 | 20230 | 8352 | -7973 | 0.201 | 0 | 0 | 0
6/13/2024 | 19 | 101925 | 20468 | -19732 | 21505 | 8760 | -8445 | 0.213 | 574 | 3 | 0.005
6/13/2024 | 20 | 99971 | 20397 | -19199 | 22365 | 8730 | -8217 | 0.226 | 671 | 22 | 0.033
6/13/2024 | 21 | 96820 | 20197 | -18716 | 22685 | 8644 | -8010 | 0.237 | 827 | 128 | 0.155
6/13/2024 | 22 | 92879 | 19759 | -18197 | 21155 | 8457 | -7788 | 0.231 | 819 | 72 | 0.088
6/13/2024 | 23 | 87217 | 16312 | -15233 | 19972 | 6982 | -6520 | 0.231 | 433 | 0 | 0
6/13/2024 | 24 | 80691 | 16211 | -14722 | 18256 | 6939 | -6301 | 0.23 | 458 | 14 | 0.031
6/14/2024 | 1 | 75674 | 15210 | -13874 | 16845 | 6510 | -5938 | 0.226 | 201 | 0 | 0
6/14/2024 | 2 | 71927 | 15168 | -13911 | 15520 | 6492 | -5954 | 0.219 | 267 | 0 | 0
6/14/2024 | 3 | 69326 | 14763 | -13564 | 14826 | 6319 | -5805 | 0.218 | 368 | 0 | 0
6/14/2024 | 4 | 67561 | 14893 | -13445 | 14361 | 6374 | -5755 | 0.217 | 318 | 0 | 0
6/14/2024 | 5 | 67802 | 14967 | -13318 | 14266 | 6406 | -5700 | 0.216 | 310 | 0 | 0
6/14/2024 | 6 | 69347 | 15526 | -13525 | 14614 | 6645 | -5789 | 0.217 | 345 | 4 | 0.012
6/14/2024 | 7 | 72939 | 16996 | -15177 | 13599 | 7274 | -6496 | 0.192 | 676 | 95 | 0.141
6/14/2024 | 8 | 76518 | 16804 | -15181 | 11740 | 7192 | -6497 | 0.159 | 25 | 0 | 0
6/14/2024 | 9 | 78785 | 16451 | -15282 | 10946 | 7041 | -6541 | 0.143 | 0 | 0 | 0
6/14/2024 | 10 | 79870 | 16120 | -14818 | 11153 | 6899 | -6342 | 0.144 | 0 | 0 | 0
6/14/2024 | 11 | 80980 | 15834 | -14831 | 11620 | 6777 | -6348 | 0.147 | 0 | 0 | 0
6/14/2024 | 12 | 82735 | 16278 | -15308 | 11893 | 6967 | -6552 | 0.147 | 0 | 0 | 0
6/14/2024 | 13 | 86679 | 16191 | -15830 | 13065 | 6930 | -6775 | 0.152 | 0 | 0 | 0
6/14/2024 | 14 | 89542 | 16569 | -16208 | 13314 | 7092 | -6937 | 0.15 | 0 | 0 | 0
6/14/2024 | 15 | 92557 | 17443 | -17030 | 13811 | 7466 | -7289 | 0.15 | 0 | 0 | 0
6/14/2024 | 16 | 95659 | 18217 | -17472 | 15208 | 7797 | -7478 | 0.161 | 0 | 0 | 0
6/14/2024 | 17 | 98365 | 19550 | -18598 | 15951 | 8367 | -7960 | 0.165 | 0 | 0 | 0
6/14/2024 | 18 | 100249 | 19419 | -18120 | 16931 | 8311 | -7755 | 0.172 | 0 | 0 | 0
6/14/2024 | 19 | 100228 | 19842 | -18454 | 19100 | 8492 | -7898 | 0.194 | 0 | 0 | 0
6/14/2024 | 20 | 98469 | 20867 | -19037 | 21529 | 8931 | -8148 | 0.222 | 0 | 0 | 0
6/14/2024 | 21 | 95725 | 20058 | -18439 | 22213 | 8585 | -7892 | 0.235 | 4 | 0 | 0
6/14/2024 | 22 | 91267 | 20259 | -18287 | 21576 | 8671 | -7827 | 0.24 | 259 | 0 | 0
6/14/2024 | 23 | 86263 | 15526 | -14209 | 20537 | 6645 | -6081 | 0.241 | 97 | 0 | 0
6/14/2024 | 24 | 79323 | 15946 | -14008 | 18945 | 6825 | -5995 | 0.243 | 546 | 29 | 0.053
6/15/2024 | 1 | 74406 | 15470 | -13726 | 17174 | 6621 | -5875 | 0.235 | 404 | 14 | 0.035
6/15/2024 | 2 | 70462 | 15190 | -13370 | 16261 | 6501 | -5723 | 0.236 | 399 | 14 | 0.035
6/15/2024 | 3 | 68087 | 14967 | -13252 | 15124 | 6406 | -5672 | 0.227 | 512 | 87 | 0.17
6/15/2024 | 4 | 66487 | 14592 | -13121 | 14429 | 6245 | -5616 | 0.222 | 1016 | 269 | 0.265
6/15/2024 | 5 | 66062 | 14748 | -13419 | 14037 | 6312 | -5743 | 0.217 | 1032 | 256 | 0.248
6/15/2024 | 6 | 66271 | 14902 | -13732 | 13555 | 6378 | -5877 | 0.208 | 868 | 214 | 0.247
6/15/2024 | 7 | 66717 | 16902 | -15762 | 11557 | 7234 | -6746 | 0.178 | 421 | 88 | 0.209
6/15/2024 | 8 | 68880 | 16698 | -15781 | 9951 | 7147 | -6754 | 0.148 | 0 | 0 | 0
6/15/2024 | 9 | 71269 | 15719 | -15300 | 9725 | 6728 | -6548 | 0.138 | 0 | 0 | 0
6/15/2024 | 10 | 73638 | 15380 | -15099 | 9725 | 6583 | -6463 | 0.133 | 0 | 0 | 0
6/15/2024 | 11 | 75536 | 15340 | -15233 | 10298 | 6566 | -6520 | 0.137 | 0 | 0 | 0
6/15/2024 | 12 | 77867 | 15204 | -15446 | 10675 | 6508 | -6611 | 0.136 | 0 | 0 | 0
6/15/2024 | 13 | 80413 | 15479 | -15748 | 10996 | 6625 | -6740 | 0.136 | 0 | 0 | 0
6/15/2024 | 14 | 83733 | 15801 | -16267 | 11688 | 6763 | -6962 | 0.138 | 0 | 0 | 0
6/15/2024 | 15 | 87257 | 16683 | -17446 | 12183 | 7140 | -7467 | 0.137 | 0 | 0 | 0
6/15/2024 | 16 | 90959 | 17050 | -17569 | 12917 | 7298 | -7520 | 0.14 | 0 | 0 | 0
6/15/2024 | 17 | 94549 | 19038 | -19029 | 14424 | 8148 | -8144 | 0.153 | 0 | 0 | 0
6/15/2024 | 18 | 97279 | 20309 | -19975 | 15289 | 8692 | -8549 | 0.158 | 0 | 0 | 0
6/15/2024 | 19 | 97587 | 21084 | -20473 | 17423 | 9024 | -8762 | 0.18 | 0 | 0 | 0
6/15/2024 | 20 | 95482 | 21808 | -20628 | 19421 | 9334 | -8829 | 0.206 | 108 | 0 | 0
6/15/2024 | 21 | 91803 | 21291 | -19499 | 18822 | 9113 | -8345 | 0.209 | 414 | 0 | 0
6/15/2024 | 22 | 88690 | 20418 | -18494 | 17960 | 8739 | -7916 | 0.207 | 814 | 10 | 0.012
6/15/2024 | 23 | 83669 | 16376 | -14524 | 17309 | 7009 | -6216 | 0.212 | 522 | 0 | 0
6/15/2024 | 24 | 77841 | 16329 | -14473 | 16592 | 6989 | -6194 | 0.218 | 807 | 0 | 0
6/16/2024 | 1 | 73194 | 16311 | -14221 | 15614 | 6981 | -6087 | 0.219 | 540 | 0 | 0
6/16/2024 | 2 | 69287 | 16160 | -14065 | 14555 | 6916 | -6020 | 0.216 | 631 | 0 | 0
6/16/2024 | 3 | 66802 | 15789 | -14052 | 13797 | 6758 | -6014 | 0.212 | 511 | 0 | 0
6/16/2024 | 4 | 64743 | 15623 | -13849 | 13419 | 6686 | -5927 | 0.213 | 549 | 0 | 0
6/16/2024 | 5 | 64001 | 15812 | -14013 | 13168 | 6768 | -5998 | 0.212 | 496 | 0 | 0
6/16/2024 | 6 | 63980 | 15357 | -13661 | 12840 | 6573 | -5847 | 0.207 | 442 | 0 | 0
6/16/2024 | 7 | 64836 | 14269 | -13113 | 11338 | 6107 | -5612 | 0.179 | 240 | 1 | 0.004
6/16/2024 | 8 | 66716 | 12963 | -12028 | 9808 | 5548 | -5148 | 0.151 | 0 | 0 | 0
6/16/2024 | 9 | 68752 | 12113 | -11483 | 9661 | 5185 | -4915 | 0.143 | 0 | 0 | 0
6/16/2024 | 10 | 69417 | 11678 | -10729 | 9750 | 4998 | -4592 | 0.144 | 0 | 0 | 0
6/16/2024 | 11 | 71109 | 11296 | -10504 | 9995 | 4835 | -4496 | 0.144 | 0 | 0 | 0
6/16/2024 | 12 | 72856 | 11618 | -10761 | 10454 | 4973 | -4606 | 0.147 | 0 | 0 | 0
6/16/2024 | 13 | 75309 | 11410 | -10800 | 10981 | 4883 | -4623 | 0.148 | 0 | 0 | 0
6/16/2024 | 14 | 78260 | 11412 | -11068 | 11602 | 4884 | -4737 | 0.149 | 0 | 0 | 0
6/16/2024 | 15 | 82029 | 12473 | -12366 | 12039 | 5338 | -5293 | 0.147 | 0 | 0 | 0
6/16/2024 | 16 | 86126 | 13307 | -13479 | 12446 | 5696 | -5769 | 0.144 | 0 | 0 | 0
6/16/2024 | 17 | 89521 | 14162 | -13857 | 13033 | 6061 | -5931 | 0.147 | 0 | 0 | 0
6/16/2024 | 18 | 92479 | 15757 | -14785 | 14237 | 6744 | -6328 | 0.157 | 0 | 0 | 0
6/16/2024 | 19 | 93887 | 17297 | -16150 | 16498 | 7403 | -6912 | 0.179 | 0 | 0 | 0
6/16/2024 | 20 | 92761 | 18413 | -17049 | 19016 | 7881 | -7297 | 0.208 | 93 | 0 | 0
6/16/2024 | 21 | 90871 | 17488 | -16317 | 19320 | 7485 | -6983 | 0.215 | 155 | 0 | 0
6/16/2024 | 22 | 87814 | 17099 | -15890 | 18250 | 7318 | -6801 | 0.211 | 367 | 5 | 0.014
6/16/2024 | 23 | 82359 | 15000 | -13877 | 17348 | 6420 | -5940 | 0.214 | 338 | 0 | 0
6/16/2024 | 24 | 76548 | 14940 | -13893 | 16134 | 6394 | -5946 | 0.214 | 492 | 8 | 0.016
6/17/2024 | 1 | 71789 | 14579 | -13617 | 14932 | 6240 | -5828 | 0.211 | 683 | 42 | 0.061
6/17/2024 | 2 | 68383 | 14965 | -14007 | 14162 | 6405 | -5995 | 0.21 | 821 | 121 | 0.147
6/17/2024 | 3 | 66101 | 14858 | -13805 | 13541 | 6359 | -5909 | 0.208 | 856 | 218 | 0.255
6/17/2024 | 4 | 65260 | 15178 | -13907 | 13439 | 6496 | -5952 | 0.21 | 1201 | 204 | 0.17
6/17/2024 | 5 | 65950 | 15445 | -14057 | 13586 | 6610 | -6016 | 0.211 | 1170 | 242 | 0.207
6/17/2024 | 6 | 68508 | 15770 | -14279 | 13863 | 6750 | -6111 | 0.207 | 1421 | 257 | 0.181
6/17/2024 | 7 | 72583 | 16375 | -14990 | 12856 | 7008 | -6416 | 0.182 | 473 | 55 | 0.116
6/17/2024 | 8 | 76532 | 14565 | -13646 | 10897 | 6234 | -5840 | 0.146 | 0 | 0 | 0
6/17/2024 | 9 | 78902 | 13930 | -13499 | 10380 | 5962 | -5778 | 0.133 | 0 | 0 | 0
6/17/2024 | 10 | 79760 | 13894 | -13911 | 10527 | 5947 | -5954 | 0.132 | 0 | 0 | 0
6/17/2024 | 11 | 80272 | 13723 | -13588 | 10571 | 5874 | -5816 | 0.132 | 0 | 0 | 0
6/17/2024 | 12 | 81375 | 13698 | -13590 | 11154 | 5863 | -5817 | 0.137 | 0 | 0 | 0
6/17/2024 | 13 | 82874 | 13822 | -14007 | 11650 | 5916 | -5995 | 0.14 | 0 | 0 | 0
6/17/2024 | 14 | 70817 | 11770 | -12190 | 10069 | 5038 | -5217 | 0.14 | 0 | 0 | 0
6/17/2024 | 15 | 86908 | 15082 | -15933 | 12938 | 6455 | -6819 | 0.146 | 0 | 0 | 0
6/17/2024 | 16 | 89230 | 15558 | -16356 | 13283 | 6659 | -7000 | 0.146 | 0 | 0 | 0
6/17/2024 | 17 | 91750 | 17328 | -18094 | 13814 | 7416 | -7744 | 0.148 | 0 | 0 | 0
6/17/2024 | 18 | 93597 | 18461 | -18339 | 14404 | 7901 | -7849 | 0.154 | 0 | 0 | 0
6/17/2024 | 19 | 94563 | 19306 | -18843 | 15909 | 8263 | -8065 | 0.17 | 190 | 0 | 0
6/17/2024 | 20 | 93756 | 20317 | -19656 | 17498 | 8696 | -8413 | 0.188 | 5 | 0 | 0
6/17/2024 | 21 | 92239 | 20075 | -19328 | 18327 | 8592 | -8272 | 0.201 | 0 | 0 | 0
6/17/2024 | 22 | 88492 | 19651 | -18453 | 17674 | 8411 | -7898 | 0.203 | 284 | 0 | 0
6/17/2024 | 23 | 83072 | 16031 | -15492 | 16790 | 6861 | -6631 | 0.204 | 249 | 0 | 0
6/17/2024 | 24 | 76508 | 15659 | -14809 | 15560 | 6702 | -6338 | 0.206 | 309 | 0 | 0
6/18/2024 | 1 | 72086 | 14967 | -14173 | 14925 | 6406 | -6066 | 0.209 | 567 | 52 | 0.092
6/18/2024 | 2 | 69232 | 14678 | -14070 | 14408 | 6282 | -6022 | 0.21 | 537 | 70 | 0.13
6/18/2024 | 3 | 66772 | 14593 | -13877 | 14153 | 6246 | -5939 | 0.214 | 636 | 73 | 0.115
6/18/2024 | 4 | 65713 | 14475 | -13583 | 13990 | 6195 | -5813 | 0.216 | 890 | 160 | 0.18
6/18/2024 | 5 | 66398 | 14807 | -13587 | 14180 | 6337 | -5815 | 0.217 | 682 | 101 | 0.148
6/18/2024 | 6 | 68874 | 15128 | -13711 | 14644 | 6475 | -5868 | 0.217 | 820 | 108 | 0.132
6/18/2024 | 7 | 72834 | 16380 | -15127 | 14758 | 7011 | -6474 | 0.206 | 1130 | 245 | 0.217
6/18/2024 | 8 | 75363 | 14718 | -13662 | 12358 | 6299 | -5847 | 0.168 | 138 | 0 | 0
6/18/2024 | 9 | 76447 | 14407 | -13381 | 12032 | 6166 | -5727 | 0.161 | 29 | 0 | 0
6/18/2024 | 10 | 76462 | 13867 | -13030 | 11928 | 5935 | -5577 | 0.159 | 0 | 0 | 0
6/18/2024 | 11 | 77442 | 13714 | -13059 | 12067 | 5869 | -5589 | 0.158 | 0 | 0 | 0
6/18/2024 | 12 | 77842 | 13750 | -13054 | 12557 | 5885 | -5587 | 0.164 | 0 | 0 | 0
6/18/2024 | 13 | 79652 | 13419 | -12970 | 13022 | 5743 | -5551 | 0.165 | 0 | 0 | 0
6/18/2024 | 14 | 82052 | 13834 | -13235 | 13670 | 5921 | -5665 | 0.168 | 0 | 0 | 0
6/18/2024 | 15 | 85166 | 14674 | -13938 | 14304 | 6280 | -5966 | 0.17 | 0 | 0 | 0
6/18/2024 | 16 | 87820 | 15249 | -14414 | 15045 | 6526 | -6169 | 0.174 | 0 | 0 | 0
6/18/2024 | 17 | 90218 | 17225 | -16020 | 15942 | 7372 | -6857 | 0.18 | 0 | 0 | 0
6/18/2024 | 18 | 92677 | 17915 | -16343 | 16913 | 7668 | -6995 | 0.187 | 0 | 0 | 0
6/18/2024 | 19 | 94339 | 18574 | -16836 | 19488 | 7950 | -7206 | 0.211 | 2 | 0 | 0
6/18/2024 | 20 | 93310 | 18926 | -17073 | 21257 | 8100 | -7307 | 0.232 | 155 | 0 | 0
6/18/2024 | 21 | 91337 | 18520 | -16585 | 21345 | 7927 | -7098 | 0.238 | 159 | 0 | 0
6/18/2024 | 22 | 88039 | 17833 | -16104 | 20242 | 7633 | -6893 | 0.234 | 5 | 0 | 0
6/18/2024 | 23 | 82730 | 13985 | -12698 | 19376 | 5985 | -5435 | 0.237 | 0 | 0 | 0
6/18/2024 | 24 | 76775 | 13644 | -12382 | 18832 | 5840 | -5299 | 0.248 | 142 | 0 | 0
6/19/2024 | 1 | 72219 | 11602 | -10190 | 17962 | 4966 | -4361 | 0.252 | 362 | 0 | 0
6/19/2024 | 2 | 68874 | 11353 | -9951 | 17379 | 4859 | -4259 | 0.256 | 559 | 0 | 0
6/19/2024 | 3 | 66439 | 11251 | -9924 | 16631 | 4815 | -4247 | 0.254 | 527 | 0 | 0
6/19/2024 | 4 | 64993 | 11197 | -9734 | 16422 | 4793 | -4166 | 0.257 | 528 | 0 | 0
6/19/2024 | 5 | 65946 | 11165 | -9766 | 16471 | 4778 | -4180 | 0.253 | 439 | 0 | 0
6/19/2024 | 6 | 67815 | 11716 | -10074 | 15947 | 5014 | -4312 | 0.24 | 363 | 0 | 0
6/19/2024 | 7 | 71023 | 15713 | -14285 | 14068 | 6725 | -6114 | 0.203 | 321 | 0 | 0
6/19/2024 | 8 | 73949 | 14662 | -13874 | 12003 | 6275 | -5938 | 0.165 | 0 | 0 | 0
6/19/2024 | 9 | 75492 | 14525 | -13759 | 11741 | 6217 | -5889 | 0.158 | 0 | 0 | 0
6/19/2024 | 10 | 76155 | 14437 | -13868 | 12007 | 6179 | -5935 | 0.16 | 0 | 0 | 0
6/19/2024 | 11 | 77317 | 13981 | -13737 | 12286 | 5984 | -5879 | 0.16 | 0 | 0 | 0
6/19/2024 | 12 | 78665 | 13748 | -13669 | 12750 | 5884 | -5850 | 0.162 | 0 | 0 | 0
6/19/2024 | 13 | 81270 | 13809 | -13843 | 13197 | 5910 | -5925 | 0.162 | 0 | 0 | 0
6/19/2024 | 14 | 84349 | 14248 | -14416 | 13775 | 6098 | -6170 | 0.163 | 0 | 0 | 0
6/19/2024 | 15 | 87406 | 15164 | -15183 | 14275 | 6490 | -6498 | 0.163 | 0 | 0 | 0
6/19/2024 | 16 | 90437 | 16014 | -15870 | 14622 | 6854 | -6792 | 0.162 | 0 | 0 | 0
6/19/2024 | 17 | 93950 | 17886 | -17672 | 15322 | 7655 | -7564 | 0.164 | 0 | 0 | 0
6/19/2024 | 18 | 96860 | 18156 | -17636 | 16575 | 7771 | -7548 | 0.172 | 0 | 0 | 0
6/19/2024 | 19 | 98615 | 18998 | -18255 | 19206 | 8131 | -7813 | 0.197 | 0 | 0 | 0
6/19/2024 | 20 | 97783 | 19129 | -18262 | 21230 | 8187 | -7816 | 0.219 | 10 | 0 | 0
6/19/2024 | 21 | 95124 | 18679 | -17852 | 21158 | 7995 | -7641 | 0.224 | 46 | 0 | 0
6/19/2024 | 22 | 91156 | 18124 | -17314 | 20358 | 7757 | -7410 | 0.225 | 252 | 0 | 0
6/19/2024 | 23 | 84898 | 13311 | -12479 | 20020 | 5697 | -5341 | 0.238 | 172 | 0 | 0
6/19/2024 | 24 | 59012 | 8938 | -8408 | 14452 | 3826 | -3598 | 0.247 | 302 | 7 | 0.023
6/20/2024 | 1 | 73612 | 11637 | -10449 | 18155 | 4980 | -4472 | 0.25 | 664 | 17 | 0.026
6/20/2024 | 2 | 70168 | 11449 | -10471 | 17491 | 4900 | -4482 | 0.252 | 643 | 7 | 0.011
6/20/2024 | 3 | 67436 | 11326 | -10407 | 16907 | 4848 | -4454 | 0.253 | 514 | 0 | 0
6/20/2024 | 4 | 65904 | 11429 | -10234 | 16321 | 4892 | -4380 | 0.251 | 493 | 0 | 0
6/20/2024 | 5 | 66338 | 11447 | -10171 | 16546 | 4899 | -4353 | 0.253 | 486 | 0 | 0
6/20/2024 | 6 | 68191 | 12184 | -10595 | 16664 | 5215 | -4535 | 0.249 | 142 | 0 | 0
6/20/2024 | 7 | 71805 | 15848 | -14324 | 15364 | 6783 | -6131 | 0.218 | 150 | 0 | 0
6/20/2024 | 8 | 75787 | 15257 | -14012 | 13263 | 6530 | -5997 | 0.179 | 0 | 0 | 0
6/20/2024 | 9 | 77950 | 15346 | -14012 | 13006 | 6568 | -5997 | 0.171 | 0 | 0 | 0
6/20/2024 | 10 | 79312 | 15230 | -13976 | 13292 | 6519 | -5982 | 0.172 | 0 | 0 | 0
6/20/2024 | 11 | 81241 | 14814 | -13875 | 13578 | 6340 | -5939 | 0.17 | 0 | 0 | 0
6/20/2024 | 12 | 83869 | 14917 | -14023 | 14476 | 6384 | -6002 | 0.175 | 0 | 0 | 0
6/20/2024 | 13 | 87276 | 15331 | -14346 | 15374 | 6562 | -6140 | 0.179 | 0 | 0 | 0
6/20/2024 | 14 | 60779 | 10449 | -9814 | 10913 | 4472 | -4200 | 0.182 | 0 | 0 | 0
6/20/2024 | 15 | 94869 | 16416 | -15594 | 16971 | 7026 | -6674 | 0.181 | 0 | 0 | 0
6/20/2024 | 16 | 99256 | 16885 | -16347 | 17561 | 7227 | -6997 | 0.178 | 0 | 0 | 0
6/20/2024 | 17 | 102997 | 19015 | -18455 | 18181 | 8139 | -7899 | 0.178 | 0 | 0 | 0
6/20/2024 | 18 | 105383 | 19367 | -18498 | 19563 | 8289 | -7917 | 0.188 | 0 | 0 | 0
6/20/2024 | 19 | 105380 | 19477 | -18370 | 21256 | 8336 | -7862 | 0.204 | 0 | 0 | 0
6/20/2024 | 20 | 103562 | 19406 | -18085 | 23427 | 8306 | -7740 | 0.229 | 0 | 0 | 0
6/20/2024 | 21 | 100497 | 19025 | -17444 | 23961 | 8143 | -7466 | 0.241 | 0 | 0 | 0
6/20/2024 | 22 | 95587 | 18460 | -16558 | 23218 | 7901 | -7087 | 0.247 | 103 | 0 | 0
6/20/2024 | 23 | 89534 | 12582 | -11053 | 22995 | 5385 | -4731 | 0.26 | 105 | 0 | 0
6/20/2024 | 24 | 82871 | 11927 | -10492 | 21983 | 5105 | -4491 | 0.268 | 159 | 0 | 0
6/21/2024 | 1 | 77540 | 12541 | -11131 | 20110 | 5368 | -4764 | 0.262 | 403 | 0 | 0
6/21/2024 | 2 | 73050 | 12715 | -11028 | 18953 | 5442 | -4720 | 0.263 | 349 | 0 | 0
6/21/2024 | 3 | 70092 | 12759 | -10934 | 18168 | 5461 | -4680 | 0.263 | 266 | 0 | 0
6/21/2024 | 4 | 68925 | 12513 | -10931 | 18085 | 5356 | -4678 | 0.266 | 18 | 0 | 0
6/21/2024 | 5 | 69173 | 12593 | -10871 | 18166 | 5390 | -4653 | 0.267 | 0 | 0 | 0
6/21/2024 | 6 | 71132 | 13020 | -11089 | 18561 | 5573 | -4746 | 0.265 | 45 | 0 | 0
6/21/2024 | 7 | 75070 | 15538 | -13966 | 17530 | 6650 | -5977 | 0.238 | 425 | 12 | 0.028
6/21/2024 | 8 | 59108 | 11479 | -10392 | 11640 | 4913 | -4448 | 0.201 | 24 | 0 | 0
6/21/2024 | 9 | 80988 | 15508 | -14056 | 15120 | 6637 | -6016 | 0.191 | 0 | 0 | 0
6/21/2024 | 10 | 82901 | 15105 | -13829 | 15481 | 6465 | -5919 | 0.19 | 0 | 0 | 0
6/21/2024 | 11 | 85700 | 14833 | -14027 | 15990 | 6348 | -6004 | 0.189 | 0 | 0 | 0
6/21/2024 | 12 | 88927 | 14932 | -14260 | 16534 | 6391 | -6103 | 0.188 | 0 | 0 | 0
6/21/2024 | 13 | 92330 | 15420 | -14787 | 17704 | 6600 | -6329 | 0.193 | 0 | 0 | 0
6/21/2024 | 14 | 96041 | 15724 | -15149 | 18146 | 6730 | -6484 | 0.19 | 0 | 0 | 0
6/21/2024 | 15 | 100652 | 15870 | -15599 | 18761 | 6792 | -6676 | 0.187 | 0 | 0 | 0
6/21/2024 | 16 | 105014 | 16850 | -16741 | 20154 | 7212 | -7165 | 0.192 | 0 | 0 | 0
6/21/2024 | 17 | 107466 | 19703 | -19295 | 20943 | 8433 | -8258 | 0.196 | 0 | 0 | 0
6/21/2024 | 18 | 110941 | 19981 | -19316 | 22075 | 8552 | -8267 | 0.2 | 0 | 0 | 0
6/21/2024 | 19 | 110806 | 20314 | -19564 | 24290 | 8695 | -8373 | 0.221 | 152 | 0 | 0
6/21/2024 | 20 | 108340 | 19893 | -18929 | 27304 | 8514 | -8102 | 0.254 | 561 | 16 | 0.029
6/21/2024 | 21 | 103856 | 19562 | -18223 | 27806 | 8372 | -7799 | 0.27 | 1095 | 186 | 0.17
6/21/2024 | 22 | 98958 | 18982 | -17471 | 26519 | 8124 | -7478 | 0.27 | 1844 | 564 | 0.306
6/21/2024 | 23 | 92418 | 12685 | -11235 | 25821 | 5429 | -4808 | 0.282 | 1096 | 165 | 0.151
6/21/2024 | 24 | 85271 | 12420 | -10818 | 24740 | 5316 | -4630 | 0.293 | 1150 | 204 | 0.177
6/22/2024 | 1 | 79632 | 12103 | -10453 | 23011 | 5180 | -4474 | 0.292 | 895 | 159 | 0.178
6/22/2024 | 2 | 74860 | 12017 | -10348 | 21558 | 5143 | -4429 | 0.291 | 513 | 5 | 0.01
6/22/2024 | 3 | 71748 | 12430 | -10792 | 19890 | 5320 | -4619 | 0.281 | 539 | 50 | 0.093
6/22/2024 | 4 | 69547 | 11974 | -10258 | 19425 | 5125 | -4390 | 0.283 | 480 | 0 | 0
6/22/2024 | 5 | 68555 | 11824 | -10190 | 19126 | 5061 | -4361 | 0.282 | 480 | 0 | 0
6/22/2024 | 6 | 68256 | 12207 | -10644 | 19007 | 5225 | -4556 | 0.282 | 409 | 0 | 0
6/22/2024 | 7 | 69104 | 14847 | -13094 | 17193 | 6355 | -5604 | 0.253 | 323 | 0 | 0
6/22/2024 | 8 | 72056 | 13606 | -12283 | 14853 | 5823 | -5257 | 0.21 | 94 | 0 | 0
6/22/2024 | 9 | 75192 | 13542 | -12386 | 14485 | 5796 | -5301 | 0.196 | 48 | 0 | 0
6/22/2024 | 10 | 78169 | 13510 | -12554 | 14913 | 5782 | -5373 | 0.194 | 0 | 0 | 0
6/22/2024 | 11 | 81048 | 13501 | -12718 | 15410 | 5778 | -5444 | 0.192 | 0 | 0 | 0
6/22/2024 | 12 | 84718 | 13867 | -13238 | 16174 | 5935 | -5666 | 0.193 | 0 | 0 | 0
6/22/2024 | 13 | 89246 | 13980 | -13253 | 17066 | 5984 | -5672 | 0.193 | 0 | 0 | 0
6/22/2024 | 14 | 93790 | 13949 | -13139 | 18236 | 5970 | -5624 | 0.196 | 0 | 0 | 0
6/22/2024 | 15 | 98662 | 14915 | -14263 | 19522 | 6383 | -6104 | 0.199 | 0 | 0 | 0
6/22/2024 | 16 | 103455 | 15759 | -15390 | 20695 | 6745 | -6587 | 0.201 | 0 | 0 | 0
6/22/2024 | 17 | 107589 | 17033 | -16886 | 22146 | 7290 | -7227 | 0.206 | 22 | 0 | 0
6/22/2024 | 18 | 110884 | 17754 | -17452 | 23908 | 7599 | -7469 | 0.216 | 406 | 0 | 0
6/22/2024 | 19 | 111352 | 18318 | -17723 | 25669 | 7840 | -7585 | 0.232 | 476 | 6 | 0.013
6/22/2024 | 20 | 108762 | 18928 | -17887 | 27639 | 8101 | -7656 | 0.256 | 886 | 81 | 0.091
6/22/2024 | 21 | 104882 | 18458 | -17262 | 27793 | 7900 | -7388 | 0.267 | 1214 | 193 | 0.159
6/22/2024 | 22 | 99961 | 17599 | -16207 | 26307 | 7533 | -6936 | 0.265 | 1216 | 185 | 0.152
6/22/2024 | 23 | 93773 | 12415 | -11117 | 25446 | 5313 | -4758 | 0.273 | 1206 | 258 | 0.214
6/22/2024 | 24 | 87187 | 11786 | -10868 | 24255 | 5044 | -4652 | 0.28 | 1470 | 422 | 0.287
6/23/2024 | 1 | 81308 | 12052 | -10670 | 22247 | 5158 | -4567 | 0.276 | 1583 | 525 | 0.332
6/23/2024 | 2 | 76956 | 12317 | -10811 | 20480 | 5272 | -4627 | 0.269 | 1653 | 537 | 0.325
6/23/2024 | 3 | 73102 | 12685 | -11022 | 18728 | 5429 | -4717 | 0.26 | 1558 | 478 | 0.307
6/23/2024 | 4 | 70816 | 12385 | -10759 | 17915 | 5301 | -4605 | 0.257 | 1091 | 272 | 0.249
6/23/2024 | 5 | 69943 | 12221 | -10834 | 17555 | 5231 | -4637 | 0.254 | 714 | 119 | 0.167
6/23/2024 | 6 | 69253 | 12251 | -11017 | 17167 | 5243 | -4715 | 0.251 | 628 | 90 | 0.143
6/23/2024 | 7 | 69884 | 12722 | -11864 | 15600 | 5445 | -5078 | 0.226 | 657 | 104 | 0.158
6/23/2024 | 8 | 72507 | 11790 | -11167 | 13698 | 5046 | -4779 | 0.191 | 192 | 0 | 0
6/23/2024 | 9 | 75742 | 11759 | -10873 | 13430 | 5033 | -4653 | 0.18 | 171 | 0 | 0
6/23/2024 | 10 | 79344 | 11781 | -10805 | 13771 | 5042 | -4625 | 0.177 | 227 | 0 | 0
6/23/2024 | 11 | 83457 | 12364 | -11437 | 14457 | 5292 | -4895 | 0.176 | 191 | 0 | 0
6/23/2024 | 12 | 88511 | 12298 | -11505 | 16001 | 5264 | -4924 | 0.183 | 163 | 0 | 0
6/23/2024 | 13 | 92966 | 13001 | -12107 | 17380 | 5565 | -5182 | 0.189 | 416 | 0 | 0
6/23/2024 | 14 | 97181 | 13314 | -12345 | 18563 | 5698 | -5284 | 0.193 | 0 | 0 | 0
6/23/2024 | 15 | 101618 | 14105 | -13590 | 19676 | 6037 | -5817 | 0.195 | 382 | 0 | 0
6/23/2024 | 16 | 106008 | 14924 | -14325 | 21242 | 6388 | -6131 | 0.202 | 452 | 0 | 0
6/23/2024 | 17 | 109585 | 15646 | -14518 | 22785 | 6696 | -6214 | 0.21 | 168 | 0 | 0
6/23/2024 | 18 | 112624 | 15949 | -14570 | 24936 | 6826 | -6236 | 0.224 | 1354 | 316 | 0.233
6/23/2024 | 19 | 113224 | 15777 | -14541 | 26888 | 6752 | -6224 | 0.24 | 761 | 153 | 0.201
6/23/2024 | 20 | 111579 | 15457 | -14391 | 28922 | 6616 | -6159 | 0.261 | 985 | 226 | 0.229
6/23/2024 | 21 | 106814 | 15025 | -13686 | 29473 | 6431 | -5858 | 0.278 | 1499 | 412 | 0.275
6/23/2024 | 22 | 101875 | 16480 | -14736 | 27918 | 7053 | -6307 | 0.277 | 1654 | 449 | 0.271
6/23/2024 | 23 | 94950 | 14903 | -12955 | 26072 | 6378 | -5545 | 0.278 | 1090 | 254 | 0.233
6/23/2024 | 24 | 87105 | 14507 | -12330 | 24006 | 6209 | -5277 | 0.279 | 547 | 28 | 0.051
6/24/2024 | 1 | 81057 | 15020 | -12706 | 22300 | 6429 | -5438 | 0.279 | 481 | 44 | 0.091
6/24/2024 | 2 | 76518 | 14804 | -12558 | 20521 | 6336 | -5375 | 0.273 | 429 | 44 | 0.103
6/24/2024 | 3 | 73528 | 14293 | -11949 | 19596 | 6118 | -5114 | 0.272 | 504 | 77 | 0.153
6/24/2024 | 4 | 71945 | 13866 | -11720 | 19513 | 5935 | -5016 | 0.276 | 370 | 20 | 0.054
6/24/2024 | 5 | 72276 | 13565 | -11443 | 19582 | 5806 | -4898 | 0.275 | 305 | 12 | 0.039
6/24/2024 | 6 | 74683 | 14065 | -11863 | 20078 | 6020 | -5077 | 0.273 | 335 | 43 | 0.128
6/24/2024 | 7 | 79065 | 17710 | -15833 | 20035 | 7580 | -6777 | 0.257 | 1218 | 380 | 0.312
6/24/2024 | 8 | 84160 | 16806 | -15458 | 19263 | 7193 | -6616 | 0.232 | 234 | 1 | 0.004
6/24/2024 | 9 | 87269 | 16858 | -15866 | 18600 | 7215 | -6791 | 0.216 | 156 | 0 | 0
6/24/2024 | 10 | 91274 | 16537 | -15906 | 19394 | 7078 | -6808 | 0.214 | 65 | 0 | 0
6/24/2024 | 11 | 95695 | 16923 | -16212 | 20541 | 7243 | -6939 | 0.216 | 0 | 0 | 0
6/24/2024 | 12 | 99991 | 17309 | -16589 | 22192 | 7408 | -7100 | 0.223 | 0 | 0 | 0
6/24/2024 | 13 | 104726 | 17879 | -17338 | 23622 | 7652 | -7420 | 0.227 | 581 | 1 | 0.002
6/24/2024 | 14 | 109092 | 18220 | -17789 | 25312 | 7798 | -7614 | 0.233 | 824 | 1 | 0.001
6/24/2024 | 15 | 112174 | 19071 | -18600 | 25750 | 8162 | -7961 | 0.23 | 798 | 106 | 0.133
6/24/2024 | 16 | 115232 | 19947 | -19264 | 26834 | 8537 | -8245 | 0.234 | 308 | 0 | 0
6/24/2024 | 17 | 116566 | 22633 | -21667 | 27471 | 9687 | -9273 | 0.237 | 638 | 0 | 0
6/24/2024 | 18 | 118780 | 23285 | -22248 | 28354 | 9966 | -9522 | 0.24 | 660 | 2 | 0.003
6/24/2024 | 19 | 118286 | 23727 | -22729 | 29518 | 10155 | -9728 | 0.251 | 595 | 6 | 0.01
6/24/2024 | 20 | 115130 | 24002 | -23406 | 30539 | 10273 | -10018 | 0.266 | 937 | 42 | 0.045
6/24/2024 | 21 | 110733 | 22975 | -22417 | 30686 | 9833 | -9594 | 0.278 | 1340 | 188 | 0.14
6/24/2024 | 22 | 105310 | 21604 | -20665 | 29301 | 9247 | -8845 | 0.28 | 1247 | 262 | 0.21
6/24/2024 | 23 | 97278 | 13850 | -12810 | 27383 | 5928 | -5483 | 0.283 | 853 | 95 | 0.111
6/24/2024 | 24 | 89280 | 13345 | -11973 | 25830 | 5712 | -5124 | 0.291 | 1008 | 74 | 0.073
6/25/2024 | 1 | 83146 | 12410 | -11057 | 24507 | 5312 | -4732 | 0.297 | 357 | 51 | 0.143
6/25/2024 | 2 | 78631 | 12004 | -10461 | 23129 | 5138 | -4477 | 0.297 | 436 | 37 | 0.085
6/25/2024 | 3 | 75600 | 11713 | -10138 | 22477 | 5013 | -4339 | 0.3 | 378 | 26 | 0.069
6/25/2024 | 4 | 73656 | 11948 | -10126 | 22139 | 5114 | -4334 | 0.304 | 387 | 14 | 0.036
6/25/2024 | 5 | 73992 | 12244 | -10295 | 22112 | 5240 | -4406 | 0.302 | 354 | 16 | 0.045
6/25/2024 | 6 | 76140 | 12546 | -10837 | 22544 | 5370 | -4638 | 0.299 | 448 | 40 | 0.089
6/25/2024 | 7 | 80271 | 18210 | -16470 | 21896 | 7794 | -7049 | 0.276 | 1375 | 395 | 0.287
6/25/2024 | 8 | 85742 | 16949 | -16206 | 21158 | 7254 | -6936 | 0.248 | 1081 | 296 | 0.274
6/25/2024 | 9 | 88664 | 17103 | -16581 | 20395 | 7320 | -7097 | 0.231 | 339 | 29 | 0.086
6/25/2024 | 10 | 91377 | 17224 | -16691 | 21180 | 7372 | -7144 | 0.233 | 214 | 0 | 0
6/25/2024 | 11 | 94898 | 17376 | -16860 | 21704 | 7437 | -7216 | 0.23 | 233 | 0 | 0
6/25/2024 | 12 | 99097 | 17496 | -17096 | 21680 | 7488 | -7317 | 0.22 | 159 | 0 | 0
6/25/2024 | 13 | 103478 | 17405 | -17018 | 22576 | 7450 | -7284 | 0.219 | 67 | 0 | 0
6/25/2024 | 14 | 107469 | 17548 | -17117 | 23657 | 7511 | -7326 | 0.221 | 161 | 0 | 0
6/25/2024 | 15 | 111591 | 18536 | -18265 | 25137 | 7933 | -7818 | 0.226 | 616 | 35 | 0.057
6/25/2024 | 16 | 114244 | 19196 | -18868 | 26220 | 8216 | -8076 | 0.23 | 145 | 0 | 0
6/25/2024 | 17 | 116513 | 22090 | -21275 | 27341 | 9455 | -9106 | 0.236 | 444 | 0 | 0
6/25/2024 | 18 | 119277 | 22673 | -22519 | 28190 | 9704 | -9638 | 0.237 | 679 | 39 | 0.057
6/25/2024 | 19 | 118939 | 23572 | -23546 | 29814 | 10089 | -10078 | 0.251 | 1468 | 328 | 0.223
6/25/2024 | 20 | 115676 | 23532 | -23122 | 31464 | 10072 | -9896 | 0.273 | 1253 | 204 | 0.163
6/25/2024 | 21 | 111105 | 23465 | -22963 | 31353 | 10043 | -9828 | 0.283 | 1516 | 401 | 0.265
6/25/2024 | 22 | 105746 | 22762 | -21861 | 30846 | 9742 | -9357 | 0.293 | 1751 | 413 | 0.236
6/25/2024 | 23 | 97709 | 13401 | -12439 | 28857 | 5736 | -5324 | 0.297 | 1206 | 189 | 0.157
6/25/2024 | 24 | 89459 | 12329 | -10933 | 27230 | 5277 | -4679 | 0.306 | 862 | 206 | 0.239
6/26/2024 | 1 | 83291 | 12712 | -11014 | 24448 | 5441 | -4714 | 0.296 | 305 | 1 | 0.003
6/26/2024 | 2 | 78521 | 12690 | -10872 | 23061 | 5431 | -4653 | 0.297 | 286 | 13 | 0.045
6/26/2024 | 3 | 75299 | 12954 | -10962 | 22463 | 5544 | -4692 | 0.302 | 450 | 60 | 0.133
6/26/2024 | 4 | 73382 | 13170 | -10990 | 21979 | 5637 | -4704 | 0.303 | 378 | 76 | 0.201
6/26/2024 | 5 | 73367 | 13515 | -11304 | 21896 | 5784 | -4838 | 0.302 | 493 | 78 | 0.158
6/26/2024 | 6 | 75704 | 13789 | -12056 | 22102 | 5902 | -5160 | 0.295 | 516 | 95 | 0.184
6/26/2024 | 7 | 79143 | 16679 | -14926 | 21036 | 7139 | -6388 | 0.269 | 487 | 36 | 0.074
6/26/2024 | 8 | 82801 | 16453 | -14913 | 19042 | 7042 | -6383 | 0.234 | 34 | 0 | 0
6/26/2024 | 9 | 85726 | 16214 | -14859 | 18387 | 6939 | -6360 | 0.218 | 67 | 0 | 0
6/26/2024 | 10 | 87760 | 15706 | -14566 | 17698 | 6722 | -6234 | 0.205 | 0 | 0 | 0
6/26/2024 | 11 | 90377 | 15702 | -14595 | 17695 | 6721 | -6247 | 0.199 | 0 | 0 | 0
6/26/2024 | 12 | 93586 | 15982 | -14976 | 18164 | 6840 | -6410 | 0.197 | 0 | 0 | 0
6/26/2024 | 13 | 97263 | 16447 | -15809 | 18922 | 7039 | -6766 | 0.196 | 0 | 0 | 0
6/26/2024 | 14 | 100933 | 17670 | -16757 | 19924 | 7563 | -7172 | 0.199 | 0 | 0 | 0
6/26/2024 | 15 | 105351 | 18229 | -17639 | 21579 | 7802 | -7549 | 0.206 | 0 | 0 | 0
6/26/2024 | 16 | 109276 | 18524 | -18337 | 22314 | 7928 | -7848 | 0.205 | 0 | 0 | 0
6/26/2024 | 17 | 111486 | 21138 | -20513 | 23216 | 9047 | -8780 | 0.209 | 0 | 0 | 0
6/26/2024 | 18 | 113006 | 21699 | -20988 | 24458 | 9287 | -8983 | 0.218 | 0 | 0 | 0
6/26/2024 | 19 | 112735 | 22595 | -21630 | 25670 | 9671 | -9257 | 0.229 | 454 | 0 | 0
6/26/2024 | 20 | 110032 | 22643 | -21593 | 27040 | 9691 | -9242 | 0.247 | 699 | 3 | 0.004
6/26/2024 | 21 | 105982 | 21744 | -20461 | 26838 | 9307 | -8757 | 0.255 | 738 | 0 | 0
6/26/2024 | 22 | 101725 | 21015 | -19540 | 25657 | 8995 | -8363 | 0.255 | 715 | 4 | 0.006
6/26/2024 | 23 | 95366 | 15090 | -13862 | 25241 | 6459 | -5933 | 0.267 | 320 | 0 | 0
6/26/2024 | 24 | 87496 | 15016 | -13344 | 23511 | 6427 | -5711 | 0.272 | 436 | 2 | 0.005
6/27/2024 | 1 | 81723 | 16262 | -14306 | 21958 | 6960 | -6123 | 0.272 | 273 | 0 | 0
6/27/2024 | 2 | 77796 | 16491 | -14607 | 20431 | 7058 | -6252 | 0.267 | 245 | 0 | 0
6/27/2024 | 3 | 74823 | 16321 | -14523 | 19385 | 6985 | -6216 | 0.263 | 308 | 7 | 0.023
6/27/2024 | 4 | 73563 | 16125 | -14353 | 18706 | 6902 | -6143 | 0.258 | 352 | 6 | 0.017
6/27/2024 | 5 | 73629 | 16108 | -14315 | 18801 | 6894 | -6127 | 0.259 | 422 | 0 | 0
6/27/2024 | 6 | 75756 | 16611 | -15117 | 19149 | 7109 | -6470 | 0.256 | 373 | 2 | 0.005
6/27/2024 | 7 | 78728 | 18170 | -16520 | 17730 | 7777 | -7070 | 0.229 | 555 | 64 | 0.115
6/27/2024 | 8 | 82996 | 17204 | -15880 | 15644 | 7363 | -6796 | 0.192 | 172 | 0 | 0
6/27/2024 | 9 | 85321 | 16240 | -14974 | 15170 | 6951 | -6409 | 0.181 | 48 | 0 | 0
6/27/2024 | 10 | 86659 | 16673 | -15720 | 15186 | 7136 | -6728 | 0.178 | 0 | 0 | 0
6/27/2024 | 11 | 88368 | 17435 | -16649 | 15278 | 7462 | -7126 | 0.175 | 0 | 0 | 0
6/27/2024 | 12 | 91360 | 17640 | -16701 | 15865 | 7550 | -7148 | 0.176 | 0 | 0 | 0
6/27/2024 | 13 | 94645 | 17447 | -16543 | 16064 | 7467 | -7080 | 0.172 | 0 | 0 | 0
6/27/2024 | 14 | 98500 | 17742 | -16751 | 16583 | 7594 | -7169 | 0.171 | 0 | 0 | 0
6/27/2024 | 15 | 102176 | 18787 | -17894 | 17313 | 8041 | -7658 | 0.172 | 0 | 0 | 0
6/27/2024 | 16 | 105553 | 19372 | -18674 | 18341 | 8291 | -7992 | 0.175 | 0 | 0 | 0
6/27/2024 | 17 | 107100 | 21509 | -20921 | 19186 | 9206 | -8954 | 0.181 | 0 | 0 | 0
6/27/2024 | 18 | 109463 | 21714 | -21222 | 20436 | 9294 | -9083 | 0.188 | 0 | 0 | 0
6/27/2024 | 19 | 110417 | 22397 | -21789 | 23336 | 9586 | -9326 | 0.213 | 0 | 0 | 0
6/27/2024 | 20 | 107991 | 22946 | -22043 | 25860 | 9821 | -9434 | 0.241 | 328 | 4 | 0.012
6/27/2024 | 21 | 103983 | 22722 | -21118 | 26547 | 9725 | -9038 | 0.258 | 320 | 0 | 0
6/27/2024 | 22 | 99554 | 21902 | -19928 | 26064 | 9374 | -8529 | 0.265 | 311 | 1 | 0.003
6/27/2024 | 23 | 93203 | 18051 | -16450 | 24694 | 7726 | -7041 | 0.268 | 258 | 0 | 0
6/27/2024 | 24 | 85709 | 17644 | -15746 | 22707 | 7551 | -6739 | 0.268 | 405 | 6 | 0.015
6/28/2024 | 1 | 80177 | 17422 | -15185 | 20893 | 7457 | -6499 | 0.265 | 508 | 11 | 0.022
6/28/2024 | 2 | 75722 | 17709 | -15240 | 19288 | 7580 | -6523 | 0.26 | 564 | 0 | 0
6/28/2024 | 3 | 72882 | 17401 | -14936 | 18620 | 7448 | -6393 | 0.261 | 442 | 0 | 0
6/28/2024 | 4 | 71252 | 17182 | -14825 | 22010 | 7354 | -6345 | 0.313 | 440 | 0 | 0
6/28/2024 | 5 | 71692 | 16043 | -13921 | 22946 | 6866 | -5958 | 0.323 | 423 | 0 | 0
6/28/2024 | 6 | 73387 | 16187 | -14217 | 19186 | 6928 | -6085 | 0.266 | 384 | 3 | 0.008
6/28/2024 | 7 | 76906 | 17527 | -16029 | 17884 | 7501 | -6860 | 0.236 | 324 | 0 | 0
6/28/2024 | 8 | 80899 | 16025 | -14781 | 16524 | 6859 | -6326 | 0.208 | 98 | 0 | 0
6/28/2024 | 9 | 82740 | 15494 | -14030 | 16078 | 6632 | -6005 | 0.198 | 0 | 0 | 0
6/28/2024 | 10 | 84819 | 15002 | -13954 | 18596 | 6421 | -5972 | 0.222 | 0 | 0 | 0
6/28/2024 | 11 | 87103 | 14808 | -14139 | 17393 | 6338 | -6052 | 0.201 | 0 | 0 | 0
6/28/2024 | 12 | 89924 | 15209 | -14805 | 16823 | 6509 | -6336 | 0.188 | 0 | 0 | 0
6/28/2024 | 13 | 93325 | 14999 | -14570 | 17166 | 6419 | -6236 | 0.185 | 0 | 0 | 0
6/28/2024 | 14 | 96620 | 15470 | -14985 | 17538 | 6621 | -6414 | 0.183 | 0 | 0 | 0
6/28/2024 | 15 | 100662 | 15947 | -15456 | 18506 | 6825 | -6615 | 0.185 | 0 | 0 | 0
6/28/2024 | 16 | 104303 | 16730 | -16315 | 19721 | 7160 | -6983 | 0.19 | 0 | 0 | 0
6/28/2024 | 17 | 107236 | 18685 | -18113 | 20868 | 7997 | -7752 | 0.196 | 0 | 0 | 0
6/28/2024 | 18 | 109508 | 19263 | -18510 | 22157 | 8244 | -7922 | 0.204 | 172 | 0 | 0
6/28/2024 | 19 | 109139 | 19559 | -18427 | 24687 | 8371 | -7887 | 0.228 | 611 | 0 | 0
6/28/2024 | 20 | 106356 | 20161 | -18731 | 27024 | 8629 | -8017 | 0.256 | 523 | 0 | 0
6/28/2024 | 21 | 102388 | 19068 | -17734 | 27221 | 8161 | -7590 | 0.268 | 291 | 0 | 0
6/28/2024 | 22 | 98091 | 18145 | -16773 | 26313 | 7766 | -7179 | 0.27 | 412 | 4 | 0.01
6/28/2024 | 23 | 91633 | 13538 | -12162 | 25398 | 5794 | -5205 | 0.279 | 421 | 5 | 0.012
6/28/2024 | 24 | 84921 | 13470 | -11911 | 24002 | 5765 | -5098 | 0.285 | 460 | 35 | 0.076
6/29/2024 | 1 | 79293 | 15263 | -13358 | 22465 | 6533 | -5717 | 0.287 | 310 | 0 | 0
6/29/2024 | 2 | 75189 | 15247 | -13354 | 21964 | 6526 | -5716 | 0.295 | 296 | 0 | 0
6/29/2024 | 3 | 71914 | 15487 | -13585 | 21237 | 6628 | -5814 | 0.299 | 486 | 0 | 0
6/29/2024 | 4 | 69840 | 15579 | -13686 | 20348 | 6668 | -5858 | 0.295 | 431 | 0 | 0
6/29/2024 | 5 | 68824 | 15670 | -13748 | 20044 | 6707 | -5884 | 0.295 | 461 | 35 | 0.076
6/29/2024 | 6 | 68993 | 15909 | -14143 | 19852 | 6809 | -6053 | 0.291 | 520 | 57 | 0.11
6/29/2024 | 7 | 69577 | 18414 | -16583 | 18093 | 7881 | -7098 | 0.264 | 619 | 91 | 0.147
6/29/2024 | 8 | 72963 | 17241 | -15943 | 16019 | 7379 | -6823 | 0.223 | 142 | 0 | 0
6/29/2024 | 9 | 75405 | 15212 | -13557 | 15541 | 6511 | -5803 | 0.211 | 0 | 0 | 0
6/29/2024 | 10 | 77889 | 15636 | -14221 | 15563 | 6692 | -6087 | 0.204 | 0 | 0 | 0
6/29/2024 | 11 | 80842 | 15593 | -14038 | 16351 | 6674 | -6008 | 0.207 | 0 | 0 | 0
6/29/2024 | 12 | 84337 | 15571 | -14398 | 17138 | 6664 | -6163 | 0.206 | 0 | 0 | 0
6/29/2024 | 13 | 88065 | 15844 | -14615 | 17800 | 6781 | -6255 | 0.205 | 0 | 0 | 0
6/29/2024 | 14 | 92995 | 16798 | -15214 | 18840 | 7189 | -6512 | 0.206 | 0 | 0 | 0
6/29/2024 | 15 | 97412 | 17804 | -16209 | 19860 | 7620 | -6938 | 0.207 | 0 | 0 | 0
6/29/2024 | 16 | 100577 | 18813 | -17181 | 20359 | 8052 | -7353 | 0.206 | 0 | 0 | 0
6/29/2024 | 17 | 104261 | 20848 | -19331 | 21463 | 8923 | -8274 | 0.209 | 0 | 0 | 0
6/29/2024 | 18 | 107549 | 21273 | -19762 | 23241 | 9105 | -8458 | 0.219 | 18 | 0 | 0
6/29/2024 | 19 | 108168 | 22377 | -20874 | 24728 | 9577 | -8934 | 0.231 | 941 | 0 | 0
6/29/2024 | 20 | 106124 | 22915 | -21364 | 26790 | 9808 | -9144 | 0.255 | 903 | 2 | 0.002
6/29/2024 | 21 | 102063 | 21710 | -20018 | 26434 | 9292 | -8568 | 0.262 | 818 | 2 | 0.002
6/29/2024 | 22 | 97482 | 21351 | -19525 | 24669 | 9138 | -8357 | 0.256 | 804 | 40 | 0.05
6/29/2024 | 23 | 90966 | 17255 | -15426 | 23733 | 7385 | -6602 | 0.264 | 700 | 16 | 0.023
6/29/2024 | 24 | 84643 | 16809 | -14990 | 22001 | 7194 | -6416 | 0.263 | 895 | 10 | 0.011
6/30/2024 | 1 | 79668 | 17100 | -15303 | 20691 | 7319 | -6550 | 0.263 | 835 | 0 | 0
6/30/2024 | 2 | 75937 | 17136 | -15384 | 19795 | 7334 | -6584 | 0.264 | 793 | 0 | 0
6/30/2024 | 3 | 72599 | 16951 | -15170 | 18686 | 7255 | -6493 | 0.261 | 780 | 0 | 0
6/30/2024 | 4 | 70833 | 16803 | -15028 | 18278 | 7192 | -6432 | 0.262 | 931 | 4 | 0.004
6/30/2024 | 5 | 69625 | 17147 | -15270 | 17927 | 7339 | -6535 | 0.262 | 984 | 28 | 0.028
6/30/2024 | 6 | 68810 | 17513 | -15416 | 17562 | 7496 | -6598 | 0.26 | 925 | 0 | 0
6/30/2024 | 7 | 69205 | 18252 | -16448 | 16170 | 7812 | -7040 | 0.239 | 476 | 0 | 0
6/30/2024 | 8 | 71831 | 15873 | -14507 | 14567 | 6794 | -6209 | 0.207 | 99 | 0 | 0
6/30/2024 | 9 | 73752 | 14804 | -13619 | 13883 | 6336 | -5829 | 0.192 | 0 | 0 | 0
6/30/2024 | 10 | 76607 | 14763 | -13596 | 13868 | 6319 | -5819 | 0.185 | 0 | 0 | 0
6/30/2024 | 11 | 79443 | 14627 | -13541 | 14385 | 6261 | -5796 | 0.184 | 0 | 0 | 0
6/30/2024 | 12 | 83388 | 14496 | -13672 | 14966 | 6204 | -5852 | 0.182 | 0 | 0 | 0
6/30/2024 | 13 | 87557 | 14343 | -13583 | 15608 | 6139 | -5813 | 0.18 | 0 | 0 | 0
6/30/2024 | 14 | 92441 | 14959 | -14149 | 16371 | 6403 | -6056 | 0.179 | 0 | 0 | 0
6/30/2024 | 15 | 97254 | 15653 | -14850 | 17324 | 6700 | -6356 | 0.18 | 0 | 0 | 0
6/30/2024 | 16 | 101424 | 18016 | -17103 | 18502 | 7711 | -7320 | 0.185 | 0 | 0 | 0
6/30/2024 | 17 | 105915 | 18759 | -17977 | 20157 | 8029 | -7694 | 0.192 | 0 | 0 | 0
6/30/2024 | 18 | 108994 | 19632 | -18547 | 22196 | 8402 | -7938 | 0.206 | 0 | 0 | 0
6/30/2024 | 19 | 109736 | 19645 | -18509 | 24094 | 8408 | -7922 | 0.222 | 497 | 0 | 0
6/30/2024 | 20 | 107718 | 20384 | -19239 | 26131 | 8724 | -8234 | 0.245 | 690 | 0 | 0
6/30/2024 | 21 | 103789 | 19510 | -18299 | 25943 | 8350 | -7832 | 0.252 | 709 | 7 | 0.01
6/30/2024 | 22 | 98600 | 18923 | -17361 | 24716 | 8099 | -7430 | 0.253 | 913 | 78 | 0.085
6/30/2024 | 23 | 91915 | 17154 | -15416 | 23249 | 7342 | -6598 | 0.256 | 700 | 38 | 0.054
6/30/2024 | 24 | 84553 | 16727 | -14889 | 22002 | 7159 | -6372 | 0.264 | 1003 | 116 | 0.116