## KEY
Average Emissions Rate Calculation
Background:
The CAISO is publishing this metric of an average emissions rate (AER) based on the discussion in the GHG working groups. CAISO discussed the metric at the November 27, 2023 GHG Coordination Working Group. A brief explanation of the methodology is included below:
Methodology:
1) Which resources are reflected in this example AER metric (all schedules are from the 5-minute market)
- All supply resources are included
- All demand response resources are excluded
- All energy storage resources are included (emissions rate used is 0 MTCO2e/MWh)
- Resources that were attributed to serve California are included
2) The AER measures all schedules ie. The total dispatach of the resources and not relative to WEIM base schedule
3) Bilateral transactions are included (emissions rate used is 0.428 MTCO2e/MWh) unless they are resource specific.
4) CAISO filled in missing heat rate and emissions rate data by using wtd averages from existing data
Key
TRADE_DT | Trade date of the reported data in MM/DD/YYYY format
TRADE_HR | Trade hour of the reported data. Data is reported as the "hour-ending", e.g. TRADE_HR = 2 is for the hour-ending 1:59:59AM Pacific time
GEN_MWH | MWh of electricity generation in the WEIM area* (including CAISO)
IMP_MWH | MWh of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_MWH | MWh of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
GEN_GHG | Greenhouse gas emissions in MTCO2e of electricity generation in the WEIM area
IMP_GHG | Greenhouse gas emissions in MTCO2e of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_GHG | Greenhouse gas emissions in MTCO2e of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
AVG_EM_RATE | Average emissions rate calculated as columns G through I divided by columns C through E
ATTR_MWH | MWh of WEIM transfers into California which, by definition, is equal to the sum of the GHG attributions
ATTR_GHG | Greenhouse gas emissions in MTCO2e of WEIM transfers into California (resource-specific)
ATTR_AVG_EM_RATE | Average emissions rate of WEIM transfers into California
CAISO PUBLIC

## AER_SUMMARY
TRADE_DT | TRADE_HR | GEN_MWH | IMP_MWH | EXP_MWH | GEN_GHG | IMP_GHG | EXP_GHG | AVG_EM_RATE | ATTR_MWH | ATTR_GHG | ATTR_AVG_EM_RATE
9/1/2024 | 1 | 76415 | 12352 | -10059 | 25786 | 5287 | -4305 | 0.34 | 1046 | 193 | 0.185
9/1/2024 | 2 | 72229 | 12280 | -10098 | 24415 | 5256 | -4322 | 0.341 | 621 | 149 | 0.24
9/1/2024 | 3 | 68823 | 12386 | -10095 | 23325 | 5301 | -4320 | 0.342 | 564 | 136 | 0.241
9/1/2024 | 4 | 66908 | 12882 | -10637 | 22917 | 5514 | -4553 | 0.345 | 440 | 111 | 0.252
9/1/2024 | 5 | 65924 | 12604 | -10378 | 22559 | 5395 | -4442 | 0.345 | 353 | 61 | 0.173
9/1/2024 | 6 | 65598 | 13950 | -11699 | 22190 | 5970 | -5007 | 0.341 | 286 | 31 | 0.108
9/1/2024 | 7 | 65802 | 14521 | -12112 | 21738 | 6215 | -5184 | 0.334 | 447 | 58 | 0.13
9/1/2024 | 8 | 66828 | 13147 | -10979 | 18909 | 5627 | -4699 | 0.288 | 286 | 22 | 0.077
9/1/2024 | 9 | 70557 | 11828 | -10023 | 16841 | 5063 | -4290 | 0.243 | 44 | 0 | 0
9/1/2024 | 10 | 73621 | 11801 | -10065 | 16347 | 5051 | -4308 | 0.227 | 0 | 0 | 0
9/1/2024 | 11 | 76670 | 11459 | -9882 | 16881 | 4904 | -4229 | 0.224 | 0 | 0 | 0
9/1/2024 | 12 | 80996 | 11296 | -9941 | 17521 | 4835 | -4255 | 0.22 | 0 | 0 | 0
9/1/2024 | 13 | 85478 | 12029 | -10715 | 18523 | 5148 | -4586 | 0.22 | 0 | 0 | 0
9/1/2024 | 14 | 91009 | 12267 | -10903 | 20108 | 5250 | -4667 | 0.224 | 0 | 0 | 0
9/1/2024 | 15 | 95907 | 13244 | -11759 | 22103 | 5669 | -5033 | 0.233 | 0 | 0 | 0
9/1/2024 | 16 | 101014 | 13109 | -11725 | 23866 | 5611 | -5018 | 0.239 | 0 | 0 | 0
9/1/2024 | 17 | 105644 | 13548 | -12654 | 25471 | 5798 | -5416 | 0.243 | 0 | 0 | 0
9/1/2024 | 18 | 106765 | 14456 | -13392 | 27083 | 6187 | -5732 | 0.255 | 141 | 0 | 0
9/1/2024 | 19 | 105546 | 15804 | -14558 | 28158 | 6764 | -6231 | 0.269 | 524 | 0 | 0
9/1/2024 | 20 | 101299 | 15454 | -14250 | 28152 | 6614 | -6099 | 0.28 | 443 | 2 | 0.005
9/1/2024 | 21 | 96586 | 14883 | -13327 | 27133 | 6370 | -5704 | 0.283 | 730 | 108 | 0.148
9/1/2024 | 22 | 91246 | 13922 | -12509 | 26558 | 5958 | -5354 | 0.293 | 807 | 78 | 0.097
9/1/2024 | 23 | 85472 | 12984 | -11563 | 26300 | 5557 | -4949 | 0.31 | 442 | 56 | 0.127
9/1/2024 | 24 | 79852 | 12724 | -11236 | 25649 | 5446 | -4809 | 0.323 | 397 | 45 | 0.113
9/2/2024 | 1 | 75331 | 13342 | -11541 | 24522 | 5710 | -4939 | 0.328 | 257 | 36 | 0.14
9/2/2024 | 2 | 71072 | 13270 | -11281 | 23194 | 5680 | -4828 | 0.329 | 376 | 69 | 0.184
9/2/2024 | 3 | 68242 | 12815 | -11039 | 22448 | 5485 | -4725 | 0.331 | 301 | 20 | 0.066
9/2/2024 | 4 | 66450 | 12754 | -10741 | 21744 | 5459 | -4597 | 0.33 | 438 | 50 | 0.114
9/2/2024 | 5 | 66122 | 12931 | -10880 | 21273 | 5535 | -4656 | 0.325 | 596 | 109 | 0.183
9/2/2024 | 6 | 66971 | 13487 | -11532 | 21125 | 5773 | -4936 | 0.319 | 434 | 42 | 0.097
9/2/2024 | 7 | 68321 | 13808 | -12209 | 20876 | 5910 | -5225 | 0.308 | 566 | 103 | 0.182
9/2/2024 | 8 | 70166 | 13047 | -11864 | 18775 | 5584 | -5078 | 0.27 | 407 | 72 | 0.177
9/2/2024 | 9 | 73231 | 12911 | -11788 | 16760 | 5526 | -5045 | 0.232 | 70 | 5 | 0.071
9/2/2024 | 10 | 76896 | 12812 | -11772 | 16807 | 5484 | -5039 | 0.221 | 0 | 0 | 0
9/2/2024 | 11 | 80686 | 13001 | -12127 | 17416 | 5564 | -5190 | 0.218 | 0 | 0 | 0
9/2/2024 | 12 | 85019 | 12567 | -11838 | 18712 | 5379 | -5067 | 0.222 | 0 | 0 | 0
9/2/2024 | 13 | 89583 | 13113 | -12645 | 20245 | 5612 | -5412 | 0.227 | 0 | 0 | 0
9/2/2024 | 14 | 94337 | 13755 | -13140 | 21673 | 5887 | -5624 | 0.231 | 0 | 0 | 0
9/2/2024 | 15 | 98675 | 14508 | -13838 | 22793 | 6209 | -5923 | 0.232 | 0 | 0 | 0
9/2/2024 | 16 | 104259 | 14776 | -14558 | 24801 | 6324 | -6231 | 0.238 | 56 | 0 | 0
9/2/2024 | 17 | 106590 | 16648 | -16127 | 26339 | 7125 | -6902 | 0.248 | 72 | 0 | 0
9/2/2024 | 18 | 109291 | 17559 | -16899 | 28544 | 7515 | -7233 | 0.262 | 372 | 0 | 0
9/2/2024 | 19 | 107474 | 18384 | -17536 | 29958 | 7868 | -7505 | 0.28 | 260 | 16 | 0.062
9/2/2024 | 20 | 103867 | 18322 | -17346 | 29669 | 7842 | -7424 | 0.287 | 503 | 0 | 0
9/2/2024 | 21 | 99560 | 17514 | -16284 | 28856 | 7496 | -6970 | 0.292 | 394 | 33 | 0.084
9/2/2024 | 22 | 85863 | 15750 | -14431 | 25299 | 6741 | -6176 | 0.297 | 558 | 26 | 0.047
9/2/2024 | 23 | 86071 | 15762 | -13980 | 26292 | 6746 | -5983 | 0.308 | 436 | 12 | 0.028
9/2/2024 | 24 | 79699 | 14935 | -13060 | 25249 | 6392 | -5590 | 0.319 | 500 | 33 | 0.066
9/3/2024 | 1 | 76053 | 13673 | -12105 | 24020 | 5852 | -5181 | 0.318 | 565 | 78 | 0.138
9/3/2024 | 2 | 72235 | 13810 | -12247 | 22597 | 5910 | -5242 | 0.315 | 803 | 180 | 0.224
9/3/2024 | 3 | 69890 | 13627 | -12061 | 21522 | 5832 | -5162 | 0.311 | 503 | 124 | 0.247
9/3/2024 | 4 | 68701 | 13734 | -12110 | 21309 | 5878 | -5183 | 0.313 | 554 | 140 | 0.253
9/3/2024 | 5 | 69344 | 14244 | -12394 | 21987 | 6097 | -5305 | 0.32 | 247 | 23 | 0.093
9/3/2024 | 6 | 72862 | 14615 | -12862 | 23294 | 6255 | -5505 | 0.322 | 238 | 0 | 0
9/3/2024 | 7 | 77165 | 17501 | -15187 | 24554 | 7491 | -6500 | 0.321 | 474 | 29 | 0.061
9/3/2024 | 8 | 80173 | 17575 | -15263 | 23061 | 7522 | -6533 | 0.292 | 320 | 0 | 0
9/3/2024 | 9 | 82895 | 16619 | -14690 | 21475 | 7113 | -6287 | 0.263 | 119 | 0 | 0
9/3/2024 | 10 | 85446 | 16145 | -14351 | 21422 | 6910 | -6142 | 0.254 | 0 | 0 | 0
9/3/2024 | 11 | 87852 | 16231 | -14233 | 21902 | 6947 | -6092 | 0.253 | 0 | 0 | 0
9/3/2024 | 12 | 91638 | 15801 | -13935 | 23015 | 6763 | -5964 | 0.255 | 0 | 0 | 0
9/3/2024 | 13 | 96518 | 16010 | -14361 | 23777 | 6852 | -6147 | 0.249 | 0 | 0 | 0
9/3/2024 | 14 | 101606 | 16186 | -14576 | 25422 | 6928 | -6239 | 0.253 | 0 | 0 | 0
9/3/2024 | 15 | 106508 | 17559 | -16109 | 27514 | 7515 | -6895 | 0.261 | 0 | 0 | 0
9/3/2024 | 16 | 111751 | 17826 | -16437 | 29344 | 7629 | -7035 | 0.265 | 0 | 0 | 0
9/3/2024 | 17 | 114748 | 19367 | -18116 | 30908 | 8289 | -7754 | 0.271 | 36 | 0 | 0
9/3/2024 | 18 | 116953 | 19805 | -18430 | 33223 | 8477 | -7888 | 0.286 | 30 | 0 | 0
9/3/2024 | 19 | 115552 | 21374 | -20010 | 34301 | 9148 | -8564 | 0.298 | 0 | 0 | 0
9/3/2024 | 20 | 111216 | 20750 | -19235 | 34896 | 8881 | -8232 | 0.315 | 0 | 0 | 0
9/3/2024 | 21 | 106205 | 19710 | -17958 | 33976 | 8436 | -7686 | 0.322 | 236 | 0 | 0
9/3/2024 | 22 | 99660 | 18969 | -16812 | 33240 | 8119 | -7195 | 0.336 | 402 | 15 | 0.037
9/3/2024 | 23 | 91920 | 13890 | -12232 | 31526 | 5945 | -5235 | 0.344 | 611 | 108 | 0.177
9/3/2024 | 24 | 83677 | 12890 | -10706 | 29141 | 5517 | -4582 | 0.35 | 473 | 83 | 0.175
9/4/2024 | 1 | 79428 | 11564 | -9807 | 28153 | 4949 | -4197 | 0.356 | 952 | 243 | 0.255
9/4/2024 | 2 | 75066 | 11005 | -9086 | 26602 | 4710 | -3889 | 0.356 | 695 | 120 | 0.173
9/4/2024 | 3 | 72009 | 11007 | -9017 | 25947 | 4711 | -3859 | 0.362 | 679 | 126 | 0.186
9/4/2024 | 4 | 70299 | 10763 | -8758 | 25587 | 4607 | -3748 | 0.366 | 649 | 132 | 0.203
9/4/2024 | 5 | 70919 | 10644 | -8685 | 26134 | 4556 | -3717 | 0.37 | 397 | 60 | 0.151
9/4/2024 | 6 | 74195 | 11143 | -9340 | 27229 | 4769 | -3997 | 0.368 | 296 | 10 | 0.034
9/4/2024 | 7 | 77850 | 17038 | -14644 | 28019 | 7292 | -6268 | 0.362 | 306 | 8 | 0.026
9/4/2024 | 8 | 80907 | 16867 | -14592 | 26461 | 7219 | -6245 | 0.33 | 257 | 22 | 0.086
9/4/2024 | 9 | 84098 | 16574 | -14602 | 24724 | 7094 | -6250 | 0.297 | 113 | 0 | 0
9/4/2024 | 10 | 87390 | 16400 | -14679 | 24685 | 7019 | -6283 | 0.285 | 58 | 0 | 0
9/4/2024 | 11 | 90484 | 16152 | -14560 | 25243 | 6913 | -6232 | 0.282 | 0 | 0 | 0
9/4/2024 | 12 | 94799 | 16460 | -15162 | 26321 | 7045 | -6489 | 0.28 | 0 | 0 | 0
9/4/2024 | 13 | 100668 | 17069 | -15897 | 27638 | 7306 | -6804 | 0.276 | 0 | 0 | 0
9/4/2024 | 14 | 106831 | 17900 | -16634 | 29091 | 7661 | -7119 | 0.274 | 12 | 0 | 0
9/4/2024 | 15 | 113266 | 19481 | -18442 | 30799 | 8338 | -7893 | 0.273 | 0 | 0 | 0
9/4/2024 | 16 | 118821 | 19641 | -18726 | 32756 | 8406 | -8015 | 0.277 | 41 | 0 | 0
9/4/2024 | 17 | 122998 | 21158 | -20328 | 34215 | 9056 | -8700 | 0.279 | 0 | 0 | 0
9/4/2024 | 18 | 124956 | 22591 | -21287 | 36145 | 9669 | -9111 | 0.291 | 0 | 0 | 0
9/4/2024 | 19 | 123039 | 24138 | -22670 | 38103 | 10331 | -9703 | 0.311 | 0 | 0 | 0
9/4/2024 | 20 | 118059 | 24482 | -22927 | 38413 | 10478 | -9813 | 0.327 | 170 | 0 | 0
9/4/2024 | 21 | 112749 | 22104 | -20682 | 36984 | 9460 | -8852 | 0.329 | 567 | 15 | 0.026
9/4/2024 | 22 | 105188 | 20475 | -18772 | 35909 | 8763 | -8034 | 0.343 | 681 | 67 | 0.098
9/4/2024 | 23 | 96909 | 12889 | -11769 | 33633 | 5516 | -5037 | 0.348 | 689 | 145 | 0.21
9/4/2024 | 24 | 88313 | 11472 | -9957 | 31613 | 4910 | -4262 | 0.359 | 928 | 194 | 0.209
9/5/2024 | 1 | 82549 | 11219 | -9296 | 30500 | 4802 | -3979 | 0.371 | 904 | 244 | 0.27
9/5/2024 | 2 | 78300 | 10830 | -8913 | 29386 | 4635 | -3815 | 0.377 | 916 | 234 | 0.255
9/5/2024 | 3 | 74794 | 10888 | -8907 | 28687 | 4660 | -3812 | 0.385 | 778 | 167 | 0.215
9/5/2024 | 4 | 73053 | 11004 | -9008 | 28233 | 4710 | -3855 | 0.388 | 429 | 24 | 0.056
9/5/2024 | 5 | 72873 | 11117 | -9065 | 28246 | 4758 | -3880 | 0.389 | 377 | 0 | 0
9/5/2024 | 6 | 76017 | 11453 | -9289 | 28959 | 4902 | -3975 | 0.382 | 258 | 6 | 0.023
9/5/2024 | 7 | 80206 | 19900 | -17768 | 29289 | 8517 | -7605 | 0.367 | 954 | 208 | 0.218
9/5/2024 | 8 | 83527 | 19731 | -17874 | 27759 | 8445 | -7650 | 0.334 | 760 | 158 | 0.208
9/5/2024 | 9 | 86825 | 19473 | -17809 | 26281 | 8334 | -7622 | 0.305 | 206 | 1 | 0.005
9/5/2024 | 10 | 90792 | 19412 | -17906 | 26135 | 8308 | -7664 | 0.29 | 104 | 0 | 0
9/5/2024 | 11 | 95386 | 19392 | -18039 | 26968 | 8300 | -7721 | 0.285 | 0 | 0 | 0
9/5/2024 | 12 | 101095 | 19447 | -18373 | 28594 | 8323 | -7864 | 0.284 | 0 | 0 | 0
9/5/2024 | 13 | 108256 | 19899 | -19412 | 30138 | 8517 | -8309 | 0.279 | 179 | 14 | 0.078
9/5/2024 | 14 | 115142 | 20376 | -19723 | 32416 | 8721 | -8441 | 0.282 | 84 | 9 | 0.107
9/5/2024 | 15 | 121914 | 21163 | -20425 | 34239 | 9058 | -8742 | 0.282 | 243 | 0 | 0
9/5/2024 | 16 | 127472 | 21932 | -21062 | 36585 | 9387 | -9015 | 0.288 | 174 | 0 | 0
9/5/2024 | 17 | 130820 | 25108 | -23936 | 37399 | 10746 | -10245 | 0.287 | 763 | 33 | 0.043
9/5/2024 | 18 | 132344 | 26758 | -25866 | 38765 | 11452 | -11071 | 0.294 | 333 | 0 | 0
9/5/2024 | 19 | 129436 | 28071 | -26760 | 40224 | 12014 | -11453 | 0.312 | 708 | 78 | 0.11
9/5/2024 | 20 | 123445 | 27762 | -26402 | 39654 | 11882 | -11300 | 0.322 | 1079 | 210 | 0.195
9/5/2024 | 21 | 117676 | 25976 | -24555 | 38207 | 11118 | -10510 | 0.326 | 1496 | 365 | 0.244
9/5/2024 | 22 | 110243 | 23714 | -22139 | 36968 | 10149 | -9475 | 0.337 | 1712 | 414 | 0.242
9/5/2024 | 23 | 101250 | 12853 | -11390 | 35363 | 5501 | -4875 | 0.35 | 862 | 133 | 0.154
9/5/2024 | 24 | 92610 | 12144 | -10413 | 33088 | 5198 | -4457 | 0.359 | 841 | 137 | 0.163
9/6/2024 | 1 | 86848 | 11465 | -9888 | 31279 | 4907 | -4232 | 0.361 | 612 | 71 | 0.116
9/6/2024 | 2 | 81698 | 11797 | -9819 | 29649 | 5049 | -4203 | 0.364 | 658 | 108 | 0.164
9/6/2024 | 3 | 78073 | 11594 | -9568 | 28380 | 4962 | -4095 | 0.365 | 563 | 72 | 0.128
9/6/2024 | 4 | 76220 | 11667 | -9503 | 27760 | 4993 | -4067 | 0.366 | 329 | 5 | 0.015
9/6/2024 | 5 | 76393 | 11680 | -9632 | 28040 | 4999 | -4123 | 0.369 | 311 | 1 | 0.003
9/6/2024 | 6 | 79024 | 12248 | -10211 | 28732 | 5242 | -4370 | 0.365 | 142 | 0 | 0
9/6/2024 | 7 | 83222 | 18839 | -16725 | 29188 | 8063 | -7158 | 0.353 | 502 | 67 | 0.133
9/6/2024 | 8 | 86331 | 18338 | -16160 | 28579 | 7849 | -6916 | 0.333 | 1006 | 239 | 0.238
9/6/2024 | 9 | 89221 | 18429 | -16269 | 27613 | 7887 | -6963 | 0.312 | 512 | 55 | 0.107
9/6/2024 | 10 | 93163 | 18393 | -16575 | 27683 | 7872 | -7094 | 0.3 | 146 | 0 | 0
9/6/2024 | 11 | 97179 | 18600 | -16998 | 27749 | 7961 | -7275 | 0.288 | 12 | 0 | 0
9/6/2024 | 12 | 103069 | 18830 | -17210 | 28780 | 8059 | -7366 | 0.282 | 0 | 0 | 0
9/6/2024 | 13 | 110280 | 19005 | -18035 | 30588 | 8134 | -7719 | 0.279 | 29 | 0 | 0
9/6/2024 | 14 | 116773 | 19320 | -18130 | 31088 | 8269 | -7760 | 0.268 | 0 | 0 | 0
9/6/2024 | 15 | 122481 | 19990 | -18666 | 32890 | 8556 | -7989 | 0.27 | 0 | 0 | 0
9/6/2024 | 16 | 126969 | 20927 | -19496 | 34865 | 8957 | -8344 | 0.276 | 3 | 0 | 0
9/6/2024 | 17 | 128458 | 23012 | -21244 | 35793 | 9849 | -9092 | 0.281 | 192 | 3 | 0.016
9/6/2024 | 18 | 128801 | 23981 | -22172 | 37458 | 10264 | -9490 | 0.293 | 295 | 0 | 0
9/6/2024 | 19 | 125122 | 24422 | -22453 | 38862 | 10453 | -9610 | 0.312 | 708 | 117 | 0.165
9/6/2024 | 20 | 20425 | 4097 | -3811 | 6512 | 1753 | -1631 | 0.32 | 119 | 7 | 0.059
9/6/2024 | 21 | 113305 | 23067 | -21012 | 36559 | 9873 | -8993 | 0.325 | 887 | 158 | 0.178
9/6/2024 | 22 | 107234 | 21977 | -19874 | 34920 | 9406 | -8506 | 0.328 | 1241 | 279 | 0.225
9/6/2024 | 23 | 98889 | 14431 | -12197 | 33908 | 6177 | -5220 | 0.345 | 1217 | 228 | 0.187
9/6/2024 | 24 | 91105 | 13208 | -10511 | 32225 | 5653 | -4499 | 0.356 | 1664 | 476 | 0.286
9/7/2024 | 1 | 85565 | 12580 | -9932 | 30304 | 5384 | -4251 | 0.356 | 1713 | 517 | 0.302
9/7/2024 | 2 | 81226 | 12660 | -9928 | 29446 | 5419 | -4249 | 0.365 | 1618 | 452 | 0.279
9/7/2024 | 3 | 76991 | 12467 | -9657 | 28399 | 5336 | -4133 | 0.371 | 1435 | 386 | 0.269
9/7/2024 | 4 | 74659 | 11973 | -9429 | 27371 | 5124 | -4035 | 0.369 | 583 | 92 | 0.158
9/7/2024 | 5 | 73312 | 11840 | -9316 | 26641 | 5067 | -3987 | 0.366 | 596 | 101 | 0.169
9/7/2024 | 6 | 73390 | 12002 | -9666 | 26380 | 5137 | -4137 | 0.362 | 498 | 72 | 0.145
9/7/2024 | 7 | 73907 | 18513 | -15947 | 25646 | 7923 | -6825 | 0.35 | 466 | 78 | 0.167
9/7/2024 | 8 | 75465 | 18251 | -15902 | 23901 | 7811 | -6806 | 0.32 | 364 | 19 | 0.052
9/7/2024 | 9 | 79784 | 18244 | -15913 | 23055 | 7808 | -6811 | 0.293 | 231 | 2 | 0.009
9/7/2024 | 10 | 83799 | 17374 | -15250 | 22781 | 7436 | -6527 | 0.276 | 0 | 0 | 0
9/7/2024 | 11 | 88757 | 17184 | -15402 | 23628 | 7355 | -6592 | 0.269 | 0 | 0 | 0
9/7/2024 | 12 | 94515 | 17279 | -16192 | 25182 | 7395 | -6930 | 0.268 | 0 | 0 | 0
9/7/2024 | 13 | 101080 | 17611 | -16810 | 26602 | 7538 | -7195 | 0.264 | 45 | 0 | 0
9/7/2024 | 14 | 106572 | 18653 | -17556 | 28540 | 7984 | -7514 | 0.269 | 66 | 0 | 0
9/7/2024 | 15 | 112401 | 19698 | -18720 | 30485 | 8431 | -8012 | 0.273 | 934 | 161 | 0.172
9/7/2024 | 16 | 116912 | 20256 | -19763 | 32722 | 8670 | -8459 | 0.281 | 340 | 0 | 0
9/7/2024 | 17 | 119635 | 21850 | -21283 | 33785 | 9352 | -9109 | 0.283 | 670 | 38 | 0.057
9/7/2024 | 18 | 118545 | 23069 | -21893 | 34860 | 9873 | -9370 | 0.295 | 518 | 3 | 0.006
9/7/2024 | 19 | 115938 | 23555 | -22238 | 36022 | 10082 | -9518 | 0.312 | 1114 | 231 | 0.207
9/7/2024 | 20 | 111178 | 23295 | -22060 | 35192 | 9970 | -9442 | 0.318 | 1403 | 285 | 0.203
9/7/2024 | 21 | 106317 | 23190 | -21702 | 34118 | 9925 | -9288 | 0.322 | 787 | 39 | 0.05
9/7/2024 | 22 | 101004 | 22353 | -20479 | 32995 | 9567 | -8765 | 0.329 | 1114 | 171 | 0.154
9/7/2024 | 23 | 93947 | 14024 | -12104 | 31844 | 6002 | -5180 | 0.341 | 1452 | 366 | 0.252
9/7/2024 | 24 | 87498 | 13147 | -11110 | 30696 | 5627 | -4755 | 0.353 | 1882 | 552 | 0.293
9/8/2024 | 1 | 82917 | 12218 | -10764 | 30015 | 5229 | -4607 | 0.363 | 2068 | 538 | 0.26
9/8/2024 | 2 | 78205 | 12360 | -10593 | 28874 | 5290 | -4534 | 0.371 | 2071 | 669 | 0.323
9/8/2024 | 3 | 74560 | 12406 | -10649 | 27179 | 5310 | -4558 | 0.366 | 1347 | 374 | 0.278
9/8/2024 | 4 | 72881 | 12250 | -10725 | 26065 | 5243 | -4590 | 0.359 | 1040 | 294 | 0.283
9/8/2024 | 5 | 71322 | 11836 | -10280 | 25140 | 5066 | -4400 | 0.354 | 718 | 163 | 0.227
9/8/2024 | 6 | 71181 | 11743 | -10568 | 24896 | 5026 | -4523 | 0.351 | 399 | 57 | 0.143
9/8/2024 | 7 | 71428 | 13020 | -11453 | 24686 | 5573 | -4902 | 0.347 | 582 | 60 | 0.103
9/8/2024 | 8 | 73194 | 12401 | -11033 | 23503 | 5308 | -4722 | 0.323 | 397 | 6 | 0.015
9/8/2024 | 9 | 77235 | 12154 | -10914 | 22043 | 5202 | -4671 | 0.288 | 397 | 8 | 0.02
9/8/2024 | 10 | 81428 | 11705 | -10469 | 22106 | 5010 | -4481 | 0.274 | 369 | 2 | 0.005
9/8/2024 | 11 | 86545 | 11950 | -10607 | 23077 | 5114 | -4540 | 0.269 | 281 | 9 | 0.032
9/8/2024 | 12 | 91544 | 12256 | -10594 | 24606 | 5246 | -4534 | 0.272 | 96 | 0 | 0
9/8/2024 | 13 | 97968 | 12119 | -10963 | 26612 | 5187 | -4692 | 0.273 | 241 | 0 | 0
9/8/2024 | 14 | 104631 | 12522 | -11444 | 28464 | 5359 | -4898 | 0.274 | 149 | 0 | 0
9/8/2024 | 15 | 110726 | 13454 | -12520 | 30441 | 5758 | -5358 | 0.276 | 125 | 0 | 0
9/8/2024 | 16 | 114998 | 14232 | -13643 | 32260 | 6091 | -5839 | 0.281 | 4 | 0 | 0
9/8/2024 | 17 | 117612 | 15809 | -15244 | 33312 | 6766 | -6524 | 0.284 | 52 | 0 | 0
9/8/2024 | 18 | 119378 | 16468 | -15783 | 34523 | 7048 | -6755 | 0.29 | 0 | 0 | 0
9/8/2024 | 19 | 117681 | 17818 | -16876 | 35565 | 7626 | -7223 | 0.303 | 887 | 122 | 0.138
9/8/2024 | 20 | 113138 | 18335 | -17497 | 34392 | 7848 | -7489 | 0.305 | 960 | 105 | 0.109
9/8/2024 | 21 | 108119 | 17640 | -16523 | 33727 | 7550 | -7072 | 0.313 | 929 | 158 | 0.17
9/8/2024 | 22 | 102396 | 17040 | -15942 | 32863 | 7293 | -6823 | 0.322 | 1551 | 446 | 0.288
9/8/2024 | 23 | 93092 | 15699 | -14057 | 30586 | 6719 | -6017 | 0.33 | 2101 | 716 | 0.341
9/8/2024 | 24 | 85497 | 15113 | -13250 | 28717 | 6468 | -5671 | 0.338 | 1498 | 421 | 0.281
9/9/2024 | 1 | 81008 | 15092 | -13269 | 26693 | 6459 | -5679 | 0.332 | 1162 | 287 | 0.247
9/9/2024 | 2 | 77383 | 15139 | -13157 | 25338 | 6479 | -5631 | 0.33 | 1084 | 240 | 0.221
9/9/2024 | 3 | 73999 | 15175 | -13308 | 23957 | 6495 | -5696 | 0.326 | 1003 | 243 | 0.242
9/9/2024 | 4 | 72645 | 14802 | -12892 | 23510 | 6335 | -5518 | 0.326 | 993 | 268 | 0.27
9/9/2024 | 5 | 73303 | 14671 | -12875 | 23784 | 6279 | -5511 | 0.327 | 947 | 268 | 0.283
9/9/2024 | 6 | 76568 | 14726 | -12889 | 24886 | 6303 | -5517 | 0.327 | 833 | 160 | 0.192
9/9/2024 | 7 | 80938 | 18897 | -17075 | 25926 | 8088 | -7308 | 0.323 | 822 | 72 | 0.088
9/9/2024 | 8 | 83692 | 18521 | -16773 | 24260 | 7927 | -7179 | 0.293 | 595 | 21 | 0.035
9/9/2024 | 9 | 87223 | 18124 | -16468 | 22836 | 7757 | -7048 | 0.265 | 123 | 2 | 0.016
9/9/2024 | 10 | 91512 | 17594 | -16013 | 23250 | 7530 | -6853 | 0.257 | 102 | 0 | 0
9/9/2024 | 11 | 95040 | 17640 | -16079 | 24386 | 7550 | -6882 | 0.259 | 422 | 1 | 0.002
9/9/2024 | 12 | 99409 | 17321 | -16086 | 25973 | 7413 | -6885 | 0.263 | 230 | 0 | 0
9/9/2024 | 13 | 104855 | 17710 | -16448 | 27941 | 7580 | -7040 | 0.268 | 150 | 0 | 0
9/9/2024 | 14 | 109880 | 18527 | -16958 | 29192 | 7930 | -7258 | 0.268 | 68 | 0 | 0
9/9/2024 | 15 | 114902 | 19882 | -18483 | 29803 | 8509 | -7911 | 0.261 | 251 | 0 | 0
9/9/2024 | 16 | 118942 | 20504 | -19282 | 30716 | 8776 | -8252 | 0.26 | 464 | 0 | 0
9/9/2024 | 17 | 121372 | 22592 | -21105 | 31924 | 9670 | -9033 | 0.265 | 544 | 0 | 0
9/9/2024 | 18 | 122764 | 23891 | -22061 | 34098 | 10225 | -9442 | 0.28 | 156 | 0 | 0
9/9/2024 | 19 | 120088 | 24176 | -22543 | 36012 | 10348 | -9648 | 0.302 | 122 | 0 | 0
9/9/2024 | 20 | 115204 | 24020 | -22246 | 36053 | 10281 | -9521 | 0.315 | 539 | 29 | 0.054
9/9/2024 | 21 | 108992 | 22534 | -20645 | 34339 | 9644 | -8836 | 0.317 | 551 | 38 | 0.069
9/9/2024 | 22 | 101870 | 21220 | -19182 | 32637 | 9082 | -8210 | 0.322 | 1083 | 194 | 0.179
9/9/2024 | 23 | 92704 | 15439 | -13380 | 31120 | 6608 | -5727 | 0.338 | 856 | 152 | 0.178
9/9/2024 | 24 | 85073 | 15207 | -13002 | 29000 | 6509 | -5565 | 0.343 | 935 | 172 | 0.184
9/10/2024 | 1 | 81347 | 13857 | -12576 | 26861 | 5931 | -5382 | 0.332 | 1098 | 253 | 0.23
9/10/2024 | 2 | 77214 | 13712 | -12431 | 25049 | 5869 | -5320 | 0.326 | 1173 | 323 | 0.275
9/10/2024 | 3 | 74002 | 13725 | -12424 | 24089 | 5874 | -5318 | 0.327 | 955 | 229 | 0.24
9/10/2024 | 4 | 72407 | 13385 | -12275 | 23753 | 5729 | -5254 | 0.33 | 725 | 120 | 0.166
9/10/2024 | 5 | 72386 | 13366 | -12250 | 23294 | 5721 | -5243 | 0.323 | 898 | 187 | 0.208
9/10/2024 | 6 | 75212 | 13302 | -12193 | 23496 | 5693 | -5219 | 0.314 | 591 | 93 | 0.157
9/10/2024 | 7 | 79424 | 15700 | -14696 | 24415 | 6719 | -6290 | 0.309 | 606 | 123 | 0.203
9/10/2024 | 8 | 82171 | 15522 | -14545 | 23276 | 6643 | -6225 | 0.285 | 236 | 0 | 0
9/10/2024 | 9 | 84195 | 15131 | -14122 | 21538 | 6476 | -6044 | 0.258 | 28 | 0 | 0
9/10/2024 | 10 | 86377 | 14584 | -13570 | 20949 | 6242 | -5808 | 0.245 | 0 | 0 | 0
9/10/2024 | 11 | 88807 | 14657 | -13469 | 21412 | 6273 | -5765 | 0.244 | 0 | 0 | 0
9/10/2024 | 12 | 92094 | 14691 | -13638 | 21783 | 6288 | -5837 | 0.239 | 0 | 0 | 0
9/10/2024 | 13 | 96341 | 15454 | -14726 | 22695 | 6614 | -6303 | 0.237 | 0 | 0 | 0
9/10/2024 | 14 | 100682 | 16153 | -15228 | 24122 | 6914 | -6518 | 0.241 | 0 | 0 | 0
9/10/2024 | 15 | 105798 | 17541 | -17200 | 25304 | 7507 | -7362 | 0.24 | 0 | 0 | 0
9/10/2024 | 16 | 110448 | 18434 | -18513 | 27246 | 7890 | -7923 | 0.247 | 0 | 0 | 0
9/10/2024 | 17 | 112916 | 20554 | -20473 | 28627 | 8797 | -8763 | 0.254 | 0 | 0 | 0
9/10/2024 | 18 | 113794 | 21381 | -20664 | 31072 | 9151 | -8844 | 0.274 | 8 | 0 | 0
9/10/2024 | 19 | 110181 | 22452 | -21060 | 32246 | 9610 | -9013 | 0.294 | 28 | 0 | 0
9/10/2024 | 20 | 104739 | 22052 | -20366 | 31677 | 9438 | -8717 | 0.304 | 52 | 0 | 0
9/10/2024 | 21 | 100408 | 20915 | -18984 | 30712 | 8952 | -8125 | 0.308 | 301 | 0 | 0
9/10/2024 | 22 | 94199 | 20378 | -17881 | 29028 | 8722 | -7653 | 0.311 | 662 | 94 | 0.142
9/10/2024 | 23 | 86189 | 16309 | -13879 | 27275 | 6980 | -5940 | 0.32 | 536 | 93 | 0.174
9/10/2024 | 24 | 79411 | 15651 | -13261 | 24963 | 6699 | -5676 | 0.318 | 638 | 103 | 0.161
9/11/2024 | 1 | 75367 | 14418 | -12671 | 22929 | 6171 | -5423 | 0.307 | 377 | 17 | 0.045
9/11/2024 | 2 | 71961 | 14216 | -12348 | 22137 | 6085 | -5285 | 0.311 | 418 | 2 | 0.005
9/11/2024 | 3 | 69102 | 13965 | -11998 | 21728 | 5977 | -5135 | 0.318 | 477 | 41 | 0.086
9/11/2024 | 4 | 67612 | 13661 | -11767 | 21473 | 5847 | -5036 | 0.321 | 369 | 14 | 0.038
9/11/2024 | 5 | 68249 | 13308 | -11472 | 21750 | 5696 | -4910 | 0.322 | 362 | 0 | 0
9/11/2024 | 6 | 71152 | 13170 | -11403 | 23181 | 5637 | -4881 | 0.328 | 164 | 0 | 0
9/11/2024 | 7 | 75728 | 15782 | -14116 | 24178 | 6755 | -6042 | 0.322 | 341 | 0 | 0
9/11/2024 | 8 | 78606 | 15479 | -14013 | 22940 | 6625 | -5998 | 0.294 | 29 | 0 | 0
9/11/2024 | 9 | 80203 | 15161 | -13673 | 19647 | 6489 | -5852 | 0.248 | 0 | 0 | 0
9/11/2024 | 10 | 80956 | 14771 | -13199 | 18830 | 6322 | -5649 | 0.236 | 0 | 0 | 0
9/11/2024 | 11 | 81941 | 14612 | -13274 | 18782 | 6254 | -5681 | 0.232 | 0 | 0 | 0
9/11/2024 | 12 | 83988 | 14651 | -13315 | 19002 | 6271 | -5699 | 0.229 | 0 | 0 | 0
9/11/2024 | 13 | 86855 | 14642 | -13595 | 19137 | 6267 | -5819 | 0.223 | 0 | 0 | 0
9/11/2024 | 14 | 89808 | 15282 | -14107 | 19316 | 6541 | -6038 | 0.218 | 0 | 0 | 0
9/11/2024 | 15 | 93526 | 16474 | -15424 | 19610 | 7051 | -6602 | 0.212 | 0 | 0 | 0
9/11/2024 | 16 | 96403 | 17343 | -16402 | 19766 | 7423 | -7020 | 0.207 | 0 | 0 | 0
9/11/2024 | 17 | 98153 | 18819 | -17474 | 20788 | 8054 | -7479 | 0.215 | 0 | 0 | 0
9/11/2024 | 18 | 100235 | 20067 | -18417 | 23107 | 8589 | -7883 | 0.234 | 7 | 0 | 0
9/11/2024 | 19 | 99148 | 20698 | -18796 | 25064 | 8859 | -8045 | 0.256 | 420 | 18 | 0.043
9/11/2024 | 20 | 96445 | 20822 | -18704 | 25669 | 8912 | -8005 | 0.27 | 207 | 0 | 0
9/11/2024 | 21 | 93291 | 20109 | -17780 | 25170 | 8607 | -7610 | 0.274 | 237 | 0 | 0
9/11/2024 | 22 | 88210 | 19341 | -16811 | 24300 | 8278 | -7195 | 0.28 | 360 | 8 | 0.022
9/11/2024 | 23 | 82505 | 15709 | -14233 | 22999 | 6724 | -6092 | 0.281 | 270 | 5 | 0.019
9/11/2024 | 24 | 76577 | 15537 | -13987 | 21959 | 6650 | -5986 | 0.29 | 843 | 119 | 0.141
9/12/2024 | 1 | 72830 | 15346 | -13474 | 20785 | 6568 | -5767 | 0.289 | 810 | 79 | 0.098
9/12/2024 | 2 | 70337 | 15294 | -13379 | 20045 | 6546 | -5726 | 0.289 | 1043 | 126 | 0.121
9/12/2024 | 3 | 67424 | 15386 | -13503 | 19374 | 6585 | -5779 | 0.291 | 1054 | 197 | 0.187
9/12/2024 | 4 | 65660 | 15594 | -13509 | 18590 | 6674 | -5782 | 0.288 | 856 | 109 | 0.127
9/12/2024 | 5 | 66806 | 14938 | -13287 | 18529 | 6393 | -5687 | 0.281 | 659 | 91 | 0.138
9/12/2024 | 6 | 70314 | 15012 | -13703 | 19368 | 6425 | -5865 | 0.278 | 534 | 38 | 0.071
9/12/2024 | 7 | 75095 | 16641 | -15536 | 20272 | 7122 | -6649 | 0.272 | 922 | 167 | 0.181
9/12/2024 | 8 | 77164 | 17157 | -15860 | 18861 | 7343 | -6788 | 0.247 | 127 | 0 | 0
9/12/2024 | 9 | 78409 | 16239 | -15341 | 15885 | 6950 | -6566 | 0.205 | 0 | 0 | 0
9/12/2024 | 10 | 80112 | 15339 | -14768 | 15178 | 6565 | -6321 | 0.191 | 0 | 0 | 0
9/12/2024 | 11 | 79625 | 15653 | -14668 | 14820 | 6700 | -6278 | 0.189 | 0 | 0 | 0
9/12/2024 | 12 | 80886 | 15673 | -14716 | 15263 | 6708 | -6298 | 0.192 | 0 | 0 | 0
9/12/2024 | 13 | 83070 | 16457 | -15554 | 15506 | 7044 | -6657 | 0.189 | 0 | 0 | 0
9/12/2024 | 14 | 85211 | 16783 | -15842 | 15547 | 7183 | -6780 | 0.185 | 0 | 0 | 0
9/12/2024 | 15 | 88610 | 17335 | -16384 | 15958 | 7419 | -7013 | 0.183 | 0 | 0 | 0
9/12/2024 | 16 | 92266 | 18181 | -16916 | 16674 | 7782 | -7240 | 0.184 | 0 | 0 | 0
9/12/2024 | 17 | 94389 | 19934 | -18370 | 17742 | 8532 | -7862 | 0.192 | 0 | 0 | 0
9/12/2024 | 18 | 96593 | 20126 | -18328 | 20598 | 8614 | -7845 | 0.217 | 0 | 0 | 0
9/12/2024 | 19 | 96355 | 20741 | -18773 | 22812 | 8877 | -8035 | 0.241 | 264 | 3 | 0.011
9/12/2024 | 20 | 94171 | 21161 | -18926 | 23404 | 9057 | -8100 | 0.253 | 141 | 0 | 0
9/12/2024 | 21 | 91165 | 20447 | -18072 | 23184 | 8751 | -7735 | 0.259 | 403 | 0 | 0
9/12/2024 | 22 | 86262 | 19718 | -17186 | 23121 | 8439 | -7356 | 0.273 | 495 | 40 | 0.081
9/12/2024 | 23 | 80997 | 16477 | -14498 | 22639 | 7052 | -6205 | 0.283 | 643 | 46 | 0.072
9/12/2024 | 24 | 75242 | 16113 | -14143 | 22221 | 6896 | -6053 | 0.299 | 795 | 122 | 0.153
9/13/2024 | 1 | 70930 | 15747 | -14158 | 21445 | 6740 | -6060 | 0.305 | 775 | 112 | 0.145
9/13/2024 | 2 | 67816 | 15387 | -13793 | 20956 | 6586 | -5904 | 0.312 | 707 | 82 | 0.116
9/13/2024 | 3 | 64994 | 15337 | -13511 | 20189 | 6564 | -5783 | 0.314 | 919 | 189 | 0.206
9/13/2024 | 4 | 63734 | 15134 | -13302 | 20101 | 6477 | -5693 | 0.319 | 990 | 222 | 0.224
9/13/2024 | 5 | 64269 | 14814 | -12857 | 20128 | 6340 | -5503 | 0.317 | 1175 | 258 | 0.22
9/13/2024 | 6 | 67397 | 14682 | -12605 | 20893 | 6284 | -5395 | 0.314 | 940 | 190 | 0.202
9/13/2024 | 7 | 72466 | 17020 | -15245 | 21690 | 7284 | -6525 | 0.302 | 1494 | 352 | 0.236
9/13/2024 | 8 | 75052 | 16209 | -14700 | 20537 | 6937 | -6292 | 0.277 | 843 | 113 | 0.134
9/13/2024 | 9 | 76585 | 15934 | -14571 | 17969 | 6820 | -6236 | 0.238 | 196 | 0 | 0
9/13/2024 | 10 | 78332 | 14928 | -13825 | 17115 | 6389 | -5917 | 0.221 | 320 | 0 | 0
9/13/2024 | 11 | 79486 | 14810 | -13617 | 17259 | 6339 | -5828 | 0.22 | 214 | 0 | 0
9/13/2024 | 12 | 80847 | 14885 | -13960 | 17300 | 6371 | -5975 | 0.216 | 145 | 0 | 0
9/13/2024 | 13 | 83064 | 15168 | -14217 | 17554 | 6492 | -6085 | 0.214 | 32 | 0 | 0
9/13/2024 | 14 | 85616 | 15755 | -14673 | 18040 | 6743 | -6280 | 0.213 | 0 | 0 | 0
9/13/2024 | 15 | 89827 | 17265 | -16292 | 19035 | 7389 | -6973 | 0.214 | 0 | 0 | 0
9/13/2024 | 16 | 93662 | 17441 | -16238 | 20744 | 7465 | -6950 | 0.224 | 164 | 0 | 0
9/13/2024 | 17 | 95599 | 19347 | -17632 | 22750 | 8280 | -7547 | 0.241 | 179 | 0 | 0
9/13/2024 | 18 | 97749 | 19868 | -18110 | 25072 | 8504 | -7751 | 0.26 | 535 | 5 | 0.009
9/13/2024 | 19 | 95564 | 20579 | -18533 | 27679 | 8808 | -7932 | 0.293 | 405 | 39 | 0.096
9/13/2024 | 20 | 92197 | 21035 | -18672 | 27368 | 9003 | -7992 | 0.3 | 557 | 12 | 0.022
9/13/2024 | 21 | 88698 | 19503 | -16951 | 26411 | 8347 | -7255 | 0.301 | 593 | 11 | 0.019
9/13/2024 | 22 | 84318 | 19052 | -16441 | 25360 | 8154 | -7037 | 0.305 | 471 | 4 | 0.008
9/13/2024 | 23 | 79928 | 16119 | -13849 | 25317 | 6899 | -5927 | 0.32 | 202 | 0 | 0
9/13/2024 | 24 | 75360 | 15803 | -13700 | 25008 | 6763 | -5864 | 0.334 | 413 | 40 | 0.097
9/14/2024 | 1 | 71539 | 15760 | -13458 | 24587 | 6745 | -5760 | 0.346 | 370 | 3 | 0.008
9/14/2024 | 2 | 68701 | 15548 | -13398 | 23611 | 6655 | -5734 | 0.346 | 501 | 63 | 0.126
9/14/2024 | 3 | 66024 | 15231 | -13165 | 23081 | 6519 | -5635 | 0.352 | 302 | 21 | 0.07
9/14/2024 | 4 | 64493 | 14576 | -12615 | 22361 | 6238 | -5399 | 0.349 | 524 | 107 | 0.204
9/14/2024 | 5 | 64204 | 14540 | -12561 | 22287 | 6223 | -5376 | 0.35 | 942 | 264 | 0.28
9/14/2024 | 6 | 65310 | 14626 | -12787 | 22660 | 6260 | -5473 | 0.349 | 1089 | 311 | 0.286
9/14/2024 | 7 | 67224 | 16288 | -14617 | 22824 | 6971 | -6256 | 0.342 | 1813 | 485 | 0.268
9/14/2024 | 8 | 69260 | 15420 | -14154 | 20640 | 6600 | -6058 | 0.3 | 783 | 124 | 0.158
9/14/2024 | 9 | 72561 | 14682 | -13975 | 17303 | 6284 | -5981 | 0.24 | 127 | 0 | 0
9/14/2024 | 10 | 75253 | 14454 | -13680 | 16349 | 6186 | -5855 | 0.219 | 0 | 0 | 0
9/14/2024 | 11 | 75775 | 14885 | -13790 | 16108 | 6371 | -5902 | 0.216 | 0 | 0 | 0
9/14/2024 | 12 | 76394 | 15023 | -13959 | 15708 | 6430 | -5974 | 0.209 | 0 | 0 | 0
9/14/2024 | 13 | 78406 | 15167 | -14183 | 16305 | 6492 | -6071 | 0.211 | 0 | 0 | 0
9/14/2024 | 14 | 80711 | 15991 | -14579 | 16880 | 6844 | -6240 | 0.213 | 0 | 0 | 0
9/14/2024 | 15 | 84472 | 17411 | -15841 | 17463 | 7452 | -6780 | 0.211 | 0 | 0 | 0
9/14/2024 | 16 | 88779 | 18172 | -16718 | 18594 | 7777 | -7155 | 0.213 | 0 | 0 | 0
9/14/2024 | 17 | 92203 | 19494 | -18185 | 20354 | 8343 | -7783 | 0.224 | 0 | 0 | 0
9/14/2024 | 18 | 94781 | 20484 | -19029 | 23356 | 8767 | -8144 | 0.249 | 1 | 0 | 0
9/14/2024 | 19 | 93487 | 21725 | -19958 | 25915 | 9298 | -8542 | 0.28 | 209 | 0 | 0
9/14/2024 | 20 | 90439 | 20953 | -19040 | 26378 | 8968 | -8149 | 0.294 | 537 | 0 | 0
9/14/2024 | 21 | 86583 | 20491 | -18383 | 25858 | 8770 | -7868 | 0.302 | 318 | 0 | 0
9/14/2024 | 22 | 82284 | 19519 | -17234 | 24859 | 8354 | -7376 | 0.306 | 367 | 1 | 0.003
9/14/2024 | 23 | 77675 | 16257 | -14304 | 24582 | 6958 | -6122 | 0.319 | 126 | 0 | 0
9/14/2024 | 24 | 73427 | 15408 | -13442 | 23617 | 6595 | -5753 | 0.324 | 439 | 17 | 0.039
9/15/2024 | 1 | 70282 | 13775 | -11755 | 22456 | 5896 | -5031 | 0.323 | 359 | 1 | 0.003
9/15/2024 | 2 | 67558 | 13556 | -11466 | 21157 | 5802 | -4908 | 0.317 | 576 | 68 | 0.118
9/15/2024 | 3 | 64879 | 13505 | -11483 | 20360 | 5780 | -4915 | 0.317 | 637 | 49 | 0.077
9/15/2024 | 4 | 63584 | 12859 | -11150 | 19918 | 5504 | -4772 | 0.316 | 897 | 123 | 0.137
9/15/2024 | 5 | 63563 | 12432 | -11144 | 19929 | 5321 | -4769 | 0.316 | 562 | 44 | 0.078
9/15/2024 | 6 | 64017 | 12598 | -11338 | 19848 | 5392 | -4852 | 0.312 | 722 | 149 | 0.206
9/15/2024 | 7 | 65405 | 11883 | -11117 | 20094 | 5086 | -4758 | 0.309 | 772 | 121 | 0.157
9/15/2024 | 8 | 66925 | 11037 | -10637 | 18133 | 4724 | -4553 | 0.272 | 222 | 3 | 0.014
9/15/2024 | 9 | 70159 | 10212 | -9832 | 15028 | 4371 | -4208 | 0.215 | 0 | 0 | 0
9/15/2024 | 10 | 73578 | 10304 | -10069 | 14687 | 4410 | -4310 | 0.2 | 0 | 0 | 0
9/15/2024 | 11 | 75295 | 10344 | -10072 | 14641 | 4427 | -4311 | 0.195 | 0 | 0 | 0
9/15/2024 | 12 | 76503 | 10436 | -10271 | 15069 | 4467 | -4396 | 0.197 | 0 | 0 | 0
9/15/2024 | 13 | 77825 | 10437 | -10307 | 15734 | 4467 | -4411 | 0.203 | 0 | 0 | 0
9/15/2024 | 14 | 79313 | 10862 | -10488 | 16392 | 4649 | -4489 | 0.208 | 0 | 0 | 0
9/15/2024 | 15 | 82145 | 11944 | -11638 | 16875 | 5112 | -4981 | 0.206 | 0 | 0 | 0
9/15/2024 | 16 | 85339 | 11787 | -11396 | 17203 | 5045 | -4878 | 0.203 | 0 | 0 | 0
9/15/2024 | 17 | 87537 | 12628 | -12239 | 18245 | 5405 | -5238 | 0.209 | 0 | 0 | 0
9/15/2024 | 18 | 89013 | 13797 | -12713 | 20849 | 5905 | -5441 | 0.237 | 0 | 0 | 0
9/15/2024 | 19 | 88790 | 13955 | -12866 | 23284 | 5973 | -5506 | 0.264 | 1 | 0 | 0
9/15/2024 | 20 | 87373 | 14195 | -12792 | 23832 | 6076 | -5475 | 0.275 | 25 | 0 | 0
9/15/2024 | 21 | 84544 | 13606 | -12142 | 23732 | 5823 | -5197 | 0.283 | 336 | 0 | 0
9/15/2024 | 22 | 80318 | 13415 | -11637 | 23318 | 5742 | -4981 | 0.293 | 727 | 0 | 0
9/15/2024 | 23 | 74815 | 12414 | -10808 | 22246 | 5313 | -4626 | 0.3 | 327 | 9 | 0.028
9/15/2024 | 24 | 70866 | 12357 | -10720 | 21680 | 5289 | -4588 | 0.309 | 789 | 45 | 0.057
9/16/2024 | 1 | 68058 | 11489 | -10275 | 21403 | 4917 | -4398 | 0.316 | 582 | 2 | 0.003
9/16/2024 | 2 | 65870 | 11541 | -10408 | 21137 | 4940 | -4455 | 0.323 | 330 | 4 | 0.012
9/16/2024 | 3 | 63891 | 11614 | -10254 | 20781 | 4971 | -4389 | 0.327 | 354 | 3 | 0.008
9/16/2024 | 4 | 63358 | 11533 | -10179 | 20730 | 4936 | -4356 | 0.329 | 367 | 0 | 0
9/16/2024 | 5 | 64656 | 11723 | -10395 | 21491 | 5017 | -4449 | 0.334 | 404 | 0 | 0
9/16/2024 | 6 | 68348 | 12029 | -10743 | 22373 | 5148 | -4598 | 0.329 | 185 | 0 | 0
9/16/2024 | 7 | 73401 | 15255 | -14193 | 22978 | 6529 | -6075 | 0.315 | 286 | 0 | 0
9/16/2024 | 8 | 77561 | 14967 | -14131 | 22201 | 6406 | -6048 | 0.288 | 119 | 9 | 0.076
9/16/2024 | 9 | 79603 | 15164 | -14408 | 19326 | 6490 | -6166 | 0.245 | 0 | 0 | 0
9/16/2024 | 10 | 80670 | 14958 | -14321 | 17960 | 6402 | -6129 | 0.224 | 0 | 0 | 0
9/16/2024 | 11 | 80346 | 14752 | -13969 | 17328 | 6314 | -5979 | 0.218 | 0 | 0 | 0
9/16/2024 | 12 | 80797 | 15097 | -14160 | 17450 | 6462 | -6061 | 0.218 | 0 | 0 | 0
9/16/2024 | 13 | 81018 | 15513 | -14328 | 17578 | 6640 | -6132 | 0.22 | 0 | 0 | 0
9/16/2024 | 14 | 81638 | 15605 | -14302 | 17820 | 6679 | -6121 | 0.222 | 0 | 0 | 0
9/16/2024 | 15 | 82283 | 16737 | -15388 | 17928 | 7164 | -6586 | 0.221 | 0 | 0 | 0
9/16/2024 | 16 | 83389 | 16936 | -15675 | 18134 | 7248 | -6709 | 0.221 | 0 | 0 | 0
9/16/2024 | 17 | 85452 | 18166 | -16918 | 19234 | 7775 | -7241 | 0.228 | 0 | 0 | 0
9/16/2024 | 18 | 88242 | 18451 | -17121 | 21168 | 7897 | -7328 | 0.243 | 0 | 0 | 0
9/16/2024 | 19 | 88337 | 19085 | -17875 | 22779 | 8168 | -7651 | 0.26 | 129 | 0 | 0
9/16/2024 | 20 | 88107 | 18852 | -17591 | 23410 | 8069 | -7529 | 0.268 | 449 | 0 | 0
9/16/2024 | 21 | 85234 | 18119 | -16604 | 23419 | 7755 | -7106 | 0.277 | 460 | 0 | 0
9/16/2024 | 22 | 80591 | 17379 | -15724 | 23314 | 7438 | -6730 | 0.292 | 789 | 100 | 0.127
9/16/2024 | 23 | 75198 | 13025 | -11825 | 22778 | 5575 | -5061 | 0.305 | 399 | 24 | 0.06
9/16/2024 | 24 | 70452 | 13294 | -11935 | 21875 | 5690 | -5108 | 0.313 | 595 | 61 | 0.103
9/17/2024 | 1 | 67601 | 13514 | -12474 | 21378 | 5784 | -5339 | 0.318 | 469 | 13 | 0.028
9/17/2024 | 2 | 65240 | 13543 | -12554 | 20951 | 5796 | -5373 | 0.323 | 539 | 58 | 0.108
9/17/2024 | 3 | 63476 | 13349 | -12483 | 20387 | 5713 | -5343 | 0.323 | 617 | 53 | 0.086
9/17/2024 | 4 | 62485 | 13457 | -12629 | 19797 | 5760 | -5405 | 0.318 | 603 | 67 | 0.111
9/17/2024 | 5 | 63373 | 13506 | -12638 | 19628 | 5780 | -5409 | 0.311 | 512 | 52 | 0.102
9/17/2024 | 6 | 66978 | 14041 | -13168 | 20289 | 6009 | -5636 | 0.305 | 463 | 51 | 0.11
9/17/2024 | 7 | 71902 | 15241 | -14461 | 20918 | 6523 | -6190 | 0.292 | 883 | 153 | 0.173
9/17/2024 | 8 | 74007 | 15291 | -14411 | 19207 | 6545 | -6168 | 0.262 | 279 | 40 | 0.143
9/17/2024 | 9 | 74883 | 15005 | -14249 | 16022 | 6422 | -6099 | 0.216 | 0 | 0 | 0
9/17/2024 | 10 | 76730 | 15185 | -14645 | 15302 | 6499 | -6268 | 0.201 | 0 | 0 | 0
9/17/2024 | 11 | 77262 | 15314 | -14885 | 14978 | 6555 | -6371 | 0.195 | 0 | 0 | 0
9/17/2024 | 12 | 77350 | 15707 | -15679 | 14525 | 6723 | -6711 | 0.188 | 0 | 0 | 0
9/17/2024 | 13 | 77465 | 15779 | -15745 | 14526 | 6753 | -6739 | 0.188 | 0 | 0 | 0
9/17/2024 | 14 | 77921 | 15927 | -15737 | 14630 | 6817 | -6735 | 0.188 | 0 | 0 | 0
9/17/2024 | 15 | 79440 | 16943 | -16665 | 14918 | 7252 | -7133 | 0.189 | 0 | 0 | 0
9/17/2024 | 16 | 81820 | 17394 | -17231 | 15390 | 7445 | -7375 | 0.189 | 0 | 0 | 0
9/17/2024 | 17 | 83749 | 18903 | -18524 | 16569 | 8090 | -7928 | 0.199 | 0 | 0 | 0
9/17/2024 | 18 | 86867 | 19490 | -19124 | 18421 | 8342 | -8185 | 0.213 | 0 | 0 | 0
9/17/2024 | 19 | 87760 | 19701 | -19121 | 20848 | 8432 | -8184 | 0.239 | 179 | 0 | 0
9/17/2024 | 20 | 86525 | 19621 | -18767 | 21443 | 8398 | -8032 | 0.25 | 245 | 0 | 0
9/17/2024 | 21 | 83595 | 19033 | -17800 | 21215 | 8146 | -7618 | 0.256 | 355 | 0 | 0
9/17/2024 | 22 | 79468 | 18552 | -17144 | 20542 | 7940 | -7338 | 0.261 | 516 | 12 | 0.023
9/17/2024 | 23 | 74414 | 16056 | -14572 | 19687 | 6872 | -6237 | 0.268 | 466 | 6 | 0.013
9/17/2024 | 24 | 58113 | 13028 | -11688 | 15543 | 5576 | -5002 | 0.271 | 469 | 39 | 0.083
9/18/2024 | 1 | 66644 | 14640 | -13271 | 19354 | 6266 | -5680 | 0.293 | 619 | 124 | 0.2
9/18/2024 | 2 | 64496 | 14234 | -12805 | 19557 | 6092 | -5480 | 0.306 | 978 | 269 | 0.275
9/18/2024 | 3 | 62418 | 14635 | -13076 | 18979 | 6264 | -5596 | 0.307 | 476 | 33 | 0.069
9/18/2024 | 4 | 62032 | 13884 | -12815 | 19146 | 5942 | -5485 | 0.311 | 396 | 27 | 0.068
9/18/2024 | 5 | 62810 | 14120 | -12780 | 19283 | 6043 | -5470 | 0.31 | 464 | 80 | 0.172
9/18/2024 | 6 | 65847 | 14051 | -12385 | 20206 | 6014 | -5301 | 0.31 | 393 | 0 | 0
9/18/2024 | 7 | 70973 | 16488 | -14974 | 20482 | 7057 | -6409 | 0.292 | 372 | 15 | 0.04
9/18/2024 | 8 | 73463 | 15723 | -14029 | 19615 | 6729 | -6005 | 0.271 | 482 | 38 | 0.079
9/18/2024 | 9 | 74175 | 15543 | -14057 | 16728 | 6653 | -6016 | 0.23 | 0 | 0 | 0
9/18/2024 | 10 | 74303 | 15285 | -14088 | 15728 | 6542 | -6030 | 0.215 | 0 | 0 | 0
9/18/2024 | 11 | 74119 | 15357 | -13811 | 14978 | 6573 | -5911 | 0.207 | 0 | 0 | 0
9/18/2024 | 12 | 74765 | 15849 | -14480 | 14884 | 6783 | -6198 | 0.203 | 0 | 0 | 0
9/18/2024 | 13 | 75198 | 16402 | -14944 | 14991 | 7020 | -6396 | 0.204 | 0 | 0 | 0
9/18/2024 | 14 | 77145 | 16603 | -14972 | 15176 | 7106 | -6408 | 0.202 | 0 | 0 | 0
9/18/2024 | 15 | 80307 | 18143 | -17019 | 15601 | 7765 | -7284 | 0.197 | 0 | 0 | 0
9/18/2024 | 16 | 83244 | 18768 | -17387 | 16673 | 8033 | -7442 | 0.204 | 0 | 0 | 0
9/18/2024 | 17 | 86150 | 19381 | -18354 | 18632 | 8295 | -7856 | 0.219 | 6 | 0 | 0
9/18/2024 | 18 | 88962 | 18418 | -17432 | 22504 | 7883 | -7461 | 0.255 | 324 | 0 | 0
9/18/2024 | 19 | 88600 | 18351 | -17120 | 24244 | 7854 | -7327 | 0.276 | 363 | 13 | 0.036
9/18/2024 | 20 | 87533 | 18161 | -16781 | 24468 | 7773 | -7182 | 0.282 | 414 | 0 | 0
9/18/2024 | 21 | 84560 | 17888 | -16310 | 23942 | 7656 | -6981 | 0.286 | 515 | 57 | 0.111
9/18/2024 | 22 | 80528 | 17705 | -15987 | 23604 | 7578 | -6843 | 0.296 | 1115 | 319 | 0.286
9/18/2024 | 23 | 75390 | 14532 | -12672 | 23295 | 6220 | -5424 | 0.312 | 946 | 259 | 0.274
9/18/2024 | 24 | 70696 | 14241 | -12480 | 22714 | 6095 | -5341 | 0.324 | 995 | 264 | 0.265
9/19/2024 | 1 | 67728 | 13271 | -12110 | 21943 | 5680 | -5183 | 0.326 | 1319 | 281 | 0.213
9/19/2024 | 2 | 65002 | 13327 | -12001 | 21437 | 5704 | -5137 | 0.332 | 774 | 189 | 0.244
9/19/2024 | 3 | 63317 | 13200 | -11761 | 21433 | 5649 | -5034 | 0.34 | 689 | 176 | 0.255
9/19/2024 | 4 | 62602 | 13194 | -11797 | 21294 | 5647 | -5049 | 0.342 | 424 | 57 | 0.134
9/19/2024 | 5 | 64156 | 12886 | -11565 | 21780 | 5515 | -4950 | 0.341 | 1137 | 243 | 0.214
9/19/2024 | 6 | 67538 | 12657 | -11293 | 22619 | 5417 | -4834 | 0.337 | 1349 | 283 | 0.21
9/19/2024 | 7 | 72966 | 15066 | -13905 | 23402 | 6448 | -5951 | 0.322 | 1444 | 258 | 0.179
9/19/2024 | 8 | 75912 | 14227 | -13936 | 21205 | 6089 | -5965 | 0.28 | 1025 | 204 | 0.199
9/19/2024 | 9 | 76870 | 13755 | -13805 | 18008 | 5887 | -5909 | 0.234 | 330 | 41 | 0.124
9/19/2024 | 10 | 76259 | 13663 | -13290 | 16451 | 5848 | -5688 | 0.217 | 47 | 0 | 0
9/19/2024 | 11 | 76268 | 13957 | -13475 | 15760 | 5974 | -5767 | 0.208 | 0 | 0 | 0
9/19/2024 | 12 | 76679 | 14245 | -13740 | 15826 | 6097 | -5881 | 0.208 | 0 | 0 | 0
9/19/2024 | 13 | 77673 | 14665 | -14272 | 15516 | 6277 | -6108 | 0.201 | 0 | 0 | 0
9/19/2024 | 14 | 79051 | 14899 | -14259 | 15790 | 6377 | -6103 | 0.202 | 0 | 0 | 0
9/19/2024 | 15 | 82028 | 15989 | -15931 | 16058 | 6843 | -6819 | 0.196 | 0 | 0 | 0
9/19/2024 | 16 | 85361 | 16525 | -16584 | 16780 | 7073 | -7098 | 0.196 | 0 | 0 | 0
9/19/2024 | 17 | 88805 | 17484 | -17492 | 18540 | 7483 | -7487 | 0.209 | 0 | 0 | 0
9/19/2024 | 18 | 91559 | 17770 | -17134 | 22144 | 7605 | -7333 | 0.243 | 13 | 0 | 0
9/19/2024 | 19 | 90680 | 18889 | -18075 | 24277 | 8084 | -7736 | 0.269 | 1114 | 200 | 0.18
9/19/2024 | 20 | 89742 | 18839 | -17778 | 24959 | 8063 | -7609 | 0.28 | 914 | 125 | 0.137
9/19/2024 | 21 | 87092 | 18511 | -17187 | 24925 | 7923 | -7356 | 0.288 | 783 | 105 | 0.134
9/19/2024 | 22 | 82561 | 18198 | -16737 | 24749 | 7789 | -7164 | 0.302 | 1110 | 263 | 0.237
9/19/2024 | 23 | 76810 | 14850 | -13052 | 23891 | 6356 | -5586 | 0.314 | 1702 | 452 | 0.266
9/19/2024 | 24 | 71781 | 14947 | -13072 | 22503 | 6397 | -5595 | 0.316 | 1124 | 265 | 0.236
9/20/2024 | 1 | 68452 | 14694 | -13099 | 21412 | 6289 | -5606 | 0.315 | 492 | 53 | 0.108
9/20/2024 | 2 | 65908 | 14941 | -13071 | 20787 | 6395 | -5594 | 0.319 | 502 | 67 | 0.133
9/20/2024 | 3 | 64055 | 15011 | -13373 | 20622 | 6425 | -5724 | 0.325 | 478 | 53 | 0.111
9/20/2024 | 4 | 62956 | 14539 | -12920 | 20304 | 6223 | -5530 | 0.325 | 577 | 67 | 0.116
9/20/2024 | 5 | 64149 | 13828 | -12518 | 20348 | 5918 | -5358 | 0.319 | 394 | 50 | 0.127
9/20/2024 | 6 | 67347 | 12962 | -11791 | 21041 | 5548 | -5046 | 0.314 | 408 | 2 | 0.005
9/20/2024 | 7 | 72349 | 15549 | -14723 | 21579 | 6655 | -6302 | 0.3 | 779 | 76 | 0.098
9/20/2024 | 8 | 75888 | 14848 | -14701 | 19906 | 6355 | -6292 | 0.263 | 702 | 87 | 0.124
9/20/2024 | 9 | 77155 | 14042 | -14073 | 17467 | 6010 | -6023 | 0.226 | 57 | 0 | 0
9/20/2024 | 10 | 77790 | 13685 | -13991 | 16272 | 5857 | -5988 | 0.208 | 0 | 0 | 0
9/20/2024 | 11 | 78064 | 13652 | -13710 | 16372 | 5843 | -5868 | 0.21 | 0 | 0 | 0
9/20/2024 | 12 | 78893 | 13875 | -13891 | 16762 | 5938 | -5946 | 0.212 | 0 | 0 | 0
9/20/2024 | 13 | 79368 | 14161 | -13844 | 16880 | 6061 | -5925 | 0.214 | 0 | 0 | 0
9/20/2024 | 14 | 80802 | 14895 | -13931 | 17321 | 6375 | -5962 | 0.217 | 0 | 0 | 0
9/20/2024 | 15 | 82914 | 15585 | -14947 | 18361 | 6671 | -6397 | 0.223 | 0 | 0 | 0
9/20/2024 | 16 | 84389 | 16288 | -15359 | 19145 | 6971 | -6574 | 0.229 | 13 | 0 | 0
9/20/2024 | 17 | 86177 | 17665 | -16302 | 19755 | 7560 | -6977 | 0.232 | 5 | 0 | 0
9/20/2024 | 18 | 87775 | 18156 | -16774 | 21915 | 7771 | -7179 | 0.252 | 0 | 0 | 0
9/20/2024 | 19 | 87669 | 17903 | -16543 | 24066 | 7663 | -7080 | 0.277 | 264 | 0 | 0
9/20/2024 | 20 | 85780 | 18382 | -17055 | 24029 | 7868 | -7299 | 0.282 | 565 | 1 | 0.002
9/20/2024 | 21 | 82805 | 17959 | -16184 | 23334 | 7686 | -6927 | 0.285 | 592 | 0 | 0
9/20/2024 | 22 | 79217 | 17253 | -15323 | 22796 | 7384 | -6558 | 0.291 | 566 | 0 | 0
9/20/2024 | 23 | 75088 | 12780 | -11111 | 22815 | 5470 | -4756 | 0.307 | 306 | 0 | 0
9/20/2024 | 24 | 70779 | 12336 | -10601 | 22603 | 5280 | -4537 | 0.322 | 540 | 23 | 0.043
9/21/2024 | 1 | 67990 | 11255 | -9679 | 21793 | 4817 | -4143 | 0.323 | 587 | 0 | 0
9/21/2024 | 2 | 65567 | 10916 | -9451 | 21458 | 4672 | -4045 | 0.329 | 570 | 2 | 0.004
9/21/2024 | 3 | 63372 | 11088 | -9519 | 21080 | 4746 | -4074 | 0.335 | 609 | 0 | 0
9/21/2024 | 4 | 62099 | 10964 | -9476 | 20665 | 4693 | -4056 | 0.335 | 652 | 0 | 0
9/21/2024 | 5 | 62339 | 10709 | -9343 | 20877 | 4583 | -3999 | 0.337 | 422 | 0 | 0
9/21/2024 | 6 | 63846 | 10610 | -9641 | 21139 | 4541 | -4127 | 0.333 | 310 | 0 | 0
9/21/2024 | 7 | 65708 | 14285 | -13319 | 21369 | 6114 | -5701 | 0.327 | 379 | 10 | 0.026
9/21/2024 | 8 | 67420 | 13865 | -13138 | 19681 | 5934 | -5623 | 0.293 | 231 | 0 | 0
9/21/2024 | 9 | 68975 | 14241 | -14055 | 16409 | 6095 | -6015 | 0.238 | 0 | 0 | 0
9/21/2024 | 10 | 70615 | 14960 | -14583 | 15227 | 6403 | -6241 | 0.217 | 0 | 0 | 0
9/21/2024 | 11 | 70875 | 15205 | -14299 | 15030 | 6508 | -6120 | 0.215 | 0 | 0 | 0
9/21/2024 | 12 | 70384 | 15431 | -14300 | 15129 | 6604 | -6120 | 0.218 | 0 | 0 | 0
9/21/2024 | 13 | 70895 | 15905 | -14856 | 15097 | 6807 | -6358 | 0.216 | 0 | 0 | 0
9/21/2024 | 14 | 72243 | 16056 | -14698 | 15274 | 6872 | -6291 | 0.215 | 0 | 0 | 0
9/21/2024 | 15 | 74692 | 16899 | -15534 | 15361 | 7233 | -6649 | 0.21 | 0 | 0 | 0
9/21/2024 | 16 | 77605 | 16755 | -15668 | 16201 | 7171 | -6706 | 0.212 | 0 | 0 | 0
9/21/2024 | 17 | 80666 | 17033 | -15920 | 17540 | 7290 | -6814 | 0.22 | 0 | 0 | 0
9/21/2024 | 18 | 84035 | 16942 | -15612 | 20748 | 7251 | -6682 | 0.25 | 0 | 0 | 0
9/21/2024 | 19 | 85222 | 18163 | -16449 | 23590 | 7774 | -7040 | 0.28 | 3 | 0 | 0
9/21/2024 | 20 | 82870 | 18456 | -16446 | 23995 | 7899 | -7039 | 0.293 | 197 | 0 | 0
9/21/2024 | 21 | 79931 | 18024 | -15699 | 24145 | 7714 | -6719 | 0.306 | 427 | 0 | 0
9/21/2024 | 22 | 76000 | 17521 | -15085 | 24084 | 7499 | -6456 | 0.32 | 478 | 0 | 0
9/21/2024 | 23 | 72332 | 12529 | -10603 | 23834 | 5363 | -4538 | 0.332 | 340 | 0 | 0
9/21/2024 | 24 | 68462 | 12257 | -10405 | 23792 | 5246 | -4454 | 0.35 | 346 | 0 | 0
9/22/2024 | 1 | 65942 | 10829 | -9174 | 23181 | 4635 | -3927 | 0.353 | 418 | 0 | 0
9/22/2024 | 2 | 63523 | 10623 | -9014 | 22507 | 4547 | -3858 | 0.356 | 360 | 0 | 0
9/22/2024 | 3 | 61657 | 10491 | -8907 | 22034 | 4490 | -3812 | 0.359 | 299 | 0 | 0
9/22/2024 | 4 | 60668 | 10315 | -8716 | 21647 | 4415 | -3730 | 0.359 | 357 | 2 | 0.006
9/22/2024 | 5 | 60318 | 10403 | -8806 | 21090 | 4452 | -3769 | 0.352 | 331 | 0 | 0
9/22/2024 | 6 | 60978 | 10672 | -9130 | 20971 | 4568 | -3908 | 0.346 | 346 | 0 | 0
9/22/2024 | 7 | 62174 | 10907 | -9354 | 21263 | 4668 | -4003 | 0.344 | 387 | 0 | 0
9/22/2024 | 8 | 63360 | 11167 | -9922 | 19232 | 4780 | -4247 | 0.306 | 289 | 16 | 0.055
9/22/2024 | 9 | 64982 | 11944 | -10916 | 15954 | 5112 | -4672 | 0.248 | 0 | 0 | 0
9/22/2024 | 10 | 66144 | 11881 | -10736 | 14665 | 5085 | -4595 | 0.225 | 0 | 0 | 0
9/22/2024 | 11 | 66695 | 11686 | -10513 | 14814 | 5002 | -4500 | 0.226 | 0 | 0 | 0
9/22/2024 | 12 | 68066 | 11624 | -10483 | 14826 | 4975 | -4487 | 0.221 | 0 | 0 | 0
9/22/2024 | 13 | 70590 | 11901 | -10666 | 15161 | 5094 | -4565 | 0.218 | 0 | 0 | 0
9/22/2024 | 14 | 73637 | 12712 | -11172 | 15619 | 5441 | -4782 | 0.217 | 0 | 0 | 0
9/22/2024 | 15 | 77567 | 13509 | -11983 | 16442 | 5782 | -5129 | 0.216 | 0 | 0 | 0
9/22/2024 | 16 | 82552 | 13674 | -12328 | 17990 | 5853 | -5276 | 0.221 | 0 | 0 | 0
9/22/2024 | 17 | 87513 | 13395 | -12675 | 19858 | 5733 | -5425 | 0.229 | 0 | 0 | 0
9/22/2024 | 18 | 91701 | 13700 | -12635 | 23645 | 5864 | -5408 | 0.26 | 0 | 0 | 0
9/22/2024 | 19 | 91183 | 14190 | -13140 | 26574 | 6073 | -5624 | 0.293 | 381 | 3 | 0.008
9/22/2024 | 20 | 89472 | 14445 | -13469 | 26612 | 6182 | -5765 | 0.299 | 467 | 0 | 0
9/22/2024 | 21 | 85405 | 13649 | -12401 | 25545 | 5842 | -5308 | 0.301 | 631 | 3 | 0.005
9/22/2024 | 22 | 80967 | 13248 | -11996 | 24453 | 5670 | -5134 | 0.304 | 701 | 64 | 0.091
9/22/2024 | 23 | 74986 | 12662 | -10831 | 23718 | 5419 | -4636 | 0.319 | 421 | 16 | 0.038
9/22/2024 | 24 | 69406 | 12570 | -10314 | 22123 | 5380 | -4414 | 0.322 | 534 | 81 | 0.152
9/23/2024 | 1 | 66244 | 12459 | -10551 | 21749 | 5333 | -4516 | 0.331 | 481 | 72 | 0.15
9/23/2024 | 2 | 63616 | 12163 | -10494 | 20696 | 5206 | -4491 | 0.328 | 665 | 142 | 0.214
9/23/2024 | 3 | 61949 | 11891 | -10200 | 20493 | 5089 | -4366 | 0.333 | 992 | 267 | 0.269
9/23/2024 | 4 | 61089 | 11623 | -9827 | 20321 | 4975 | -4206 | 0.335 | 850 | 222 | 0.261
9/23/2024 | 5 | 62306 | 11634 | -9814 | 21170 | 4980 | -4200 | 0.342 | 412 | 15 | 0.036
9/23/2024 | 6 | 66058 | 11902 | -10140 | 22040 | 5094 | -4340 | 0.336 | 359 | 42 | 0.117
9/23/2024 | 7 | 71667 | 16172 | -14663 | 23768 | 6921 | -6276 | 0.334 | 218 | 4 | 0.018
9/23/2024 | 8 | 75262 | 15076 | -14337 | 22109 | 6453 | -6136 | 0.295 | 467 | 20 | 0.043
9/23/2024 | 9 | 76691 | 14714 | -14328 | 19162 | 6297 | -6132 | 0.251 | 186 | 0 | 0
9/23/2024 | 10 | 78430 | 14645 | -14442 | 18757 | 6268 | -6181 | 0.24 | 0 | 0 | 0
9/23/2024 | 11 | 79670 | 14276 | -13927 | 18683 | 6110 | -5961 | 0.235 | 0 | 0 | 0
9/23/2024 | 12 | 81534 | 13939 | -13669 | 18684 | 5966 | -5850 | 0.23 | 0 | 0 | 0
9/23/2024 | 13 | 84713 | 14095 | -13814 | 19456 | 6033 | -5913 | 0.23 | 0 | 0 | 0
9/23/2024 | 14 | 88905 | 14668 | -14197 | 20719 | 6278 | -6076 | 0.234 | 0 | 0 | 0
9/23/2024 | 15 | 94099 | 15982 | -15761 | 22053 | 6840 | -6746 | 0.235 | 7 | 0 | 0
9/23/2024 | 16 | 99238 | 16686 | -16446 | 23939 | 7142 | -7039 | 0.242 | 214 | 0 | 0
9/23/2024 | 17 | 102992 | 18503 | -18129 | 26106 | 7919 | -7759 | 0.254 | 63 | 0 | 0
9/23/2024 | 18 | 105659 | 19509 | -18911 | 29663 | 8350 | -8094 | 0.282 | 630 | 4 | 0.006
9/23/2024 | 19 | 103359 | 20161 | -19588 | 31589 | 8629 | -8384 | 0.306 | 428 | 7 | 0.016
9/23/2024 | 20 | 99049 | 19961 | -19186 | 30870 | 8543 | -8212 | 0.313 | 535 | 13 | 0.024
9/23/2024 | 21 | 93875 | 19394 | -18220 | 29813 | 8301 | -7798 | 0.319 | 619 | 90 | 0.145
9/23/2024 | 22 | 88728 | 18650 | -17369 | 29078 | 7982 | -7434 | 0.329 | 941 | 228 | 0.242
9/23/2024 | 23 | 81795 | 11386 | -10333 | 28447 | 4873 | -4423 | 0.349 | 988 | 246 | 0.249
9/23/2024 | 24 | 75199 | 11074 | -9577 | 27527 | 4740 | -4099 | 0.367 | 857 | 182 | 0.212
9/24/2024 | 1 | 70834 | 11453 | -10056 | 26040 | 4902 | -4304 | 0.369 | 702 | 120 | 0.171
9/24/2024 | 2 | 67729 | 11520 | -9996 | 25024 | 4931 | -4278 | 0.371 | 825 | 163 | 0.198
9/24/2024 | 3 | 65158 | 11820 | -10203 | 23991 | 5059 | -4367 | 0.37 | 841 | 174 | 0.207
9/24/2024 | 4 | 64026 | 11810 | -10251 | 23459 | 5055 | -4387 | 0.368 | 622 | 118 | 0.19
9/24/2024 | 5 | 65316 | 11546 | -10294 | 23637 | 4941 | -4406 | 0.363 | 609 | 123 | 0.202
9/24/2024 | 6 | 68899 | 11484 | -10234 | 24718 | 4915 | -4380 | 0.36 | 506 | 62 | 0.123
9/24/2024 | 7 | 73958 | 14697 | -13535 | 25103 | 6291 | -5793 | 0.341 | 322 | 2 | 0.006
9/24/2024 | 8 | 76319 | 15054 | -13903 | 23079 | 6443 | -5951 | 0.304 | 360 | 0 | 0
9/24/2024 | 9 | 77770 | 14603 | -13869 | 20064 | 6250 | -5936 | 0.26 | 206 | 17 | 0.083
9/24/2024 | 10 | 79041 | 14282 | -13355 | 18862 | 6113 | -5716 | 0.241 | 0 | 0 | 0
9/24/2024 | 11 | 80322 | 14684 | -13802 | 19059 | 6285 | -5907 | 0.239 | 0 | 0 | 0
9/24/2024 | 12 | 83514 | 14820 | -14023 | 19358 | 6343 | -6002 | 0.234 | 0 | 0 | 0
9/24/2024 | 13 | 87706 | 14926 | -14165 | 20729 | 6388 | -6063 | 0.238 | 0 | 0 | 0
9/24/2024 | 14 | 92064 | 15465 | -14456 | 22336 | 6619 | -6187 | 0.245 | 0 | 0 | 0
9/24/2024 | 15 | 97274 | 16895 | -15961 | 23980 | 7231 | -6831 | 0.248 | 0 | 0 | 0
9/24/2024 | 16 | 102608 | 17406 | -16531 | 25902 | 7450 | -7075 | 0.254 | 246 | 0 | 0
9/24/2024 | 17 | 105614 | 19008 | -18128 | 27947 | 8135 | -7759 | 0.266 | 317 | 0 | 0
9/24/2024 | 18 | 107038 | 20138 | -18905 | 30868 | 8619 | -8091 | 0.29 | 303 | 0 | 0
9/24/2024 | 19 | 104220 | 20282 | -19083 | 32435 | 8681 | -8168 | 0.313 | 471 | 11 | 0.023
9/24/2024 | 20 | 99678 | 19738 | -18512 | 31262 | 8448 | -7923 | 0.315 | 606 | 38 | 0.063
9/24/2024 | 21 | 94773 | 18799 | -17328 | 29612 | 8046 | -7417 | 0.314 | 830 | 66 | 0.08
9/24/2024 | 22 | 88818 | 17593 | -16127 | 28394 | 7530 | -6902 | 0.321 | 700 | 73 | 0.104
9/24/2024 | 23 | 81742 | 12391 | -10881 | 27202 | 5304 | -4657 | 0.335 | 540 | 48 | 0.089
9/24/2024 | 24 | 75425 | 11583 | -10069 | 25430 | 4957 | -4309 | 0.339 | 562 | 80 | 0.142
9/25/2024 | 1 | 71443 | 11410 | -10275 | 24540 | 4883 | -4398 | 0.345 | 456 | 42 | 0.092
9/25/2024 | 2 | 68339 | 11460 | -10152 | 24139 | 4905 | -4345 | 0.355 | 864 | 184 | 0.213
9/25/2024 | 3 | 65999 | 11386 | -10116 | 23703 | 4873 | -4330 | 0.36 | 1067 | 269 | 0.252
9/25/2024 | 4 | 64561 | 11509 | -10197 | 23360 | 4926 | -4364 | 0.363 | 821 | 171 | 0.208
9/25/2024 | 5 | 65645 | 11873 | -10528 | 23626 | 5082 | -4506 | 0.361 | 493 | 54 | 0.11
9/25/2024 | 6 | 68944 | 12571 | -11163 | 24557 | 5381 | -4778 | 0.358 | 338 | 1 | 0.003
9/25/2024 | 7 | 73525 | 14592 | -13094 | 24695 | 6245 | -5604 | 0.338 | 426 | 8 | 0.019
9/25/2024 | 8 | 76338 | 14042 | -12642 | 22607 | 6010 | -5411 | 0.299 | 519 | 74 | 0.143
9/25/2024 | 9 | 77301 | 14031 | -12730 | 18685 | 6005 | -5449 | 0.245 | 165 | 0 | 0
9/25/2024 | 10 | 79944 | 14258 | -13088 | 18109 | 6103 | -5602 | 0.229 | 0 | 0 | 0
9/25/2024 | 11 | 82193 | 13788 | -12665 | 18282 | 5901 | -5421 | 0.225 | 0 | 0 | 0
9/25/2024 | 12 | 83891 | 14006 | -13269 | 18824 | 5995 | -5679 | 0.226 | 0 | 0 | 0
9/25/2024 | 13 | 86395 | 14394 | -13747 | 19045 | 6160 | -5884 | 0.222 | 0 | 0 | 0
9/25/2024 | 14 | 59500 | 9954 | -9301 | 13235 | 4260 | -3981 | 0.225 | 0 | 0 | 0
9/25/2024 | 15 | 93568 | 16436 | -15870 | 20656 | 7035 | -6793 | 0.222 | 0 | 0 | 0
9/25/2024 | 16 | 96831 | 17095 | -16454 | 21583 | 7317 | -7042 | 0.224 | 0 | 0 | 0
9/25/2024 | 17 | 99021 | 19214 | -18105 | 23009 | 8223 | -7749 | 0.235 | 0 | 0 | 0
9/25/2024 | 18 | 100571 | 20143 | -19074 | 26201 | 8621 | -8163 | 0.262 | 0 | 0 | 0
9/25/2024 | 19 | 98925 | 19951 | -18741 | 27867 | 8539 | -8021 | 0.283 | 243 | 1 | 0.004
9/25/2024 | 20 | 95597 | 19642 | -18326 | 27579 | 8407 | -7844 | 0.29 | 422 | 3 | 0.007
9/25/2024 | 21 | 91359 | 19006 | -17625 | 26819 | 8135 | -7543 | 0.296 | 521 | 16 | 0.031
9/25/2024 | 22 | 86171 | 18199 | -16740 | 26085 | 7789 | -7165 | 0.305 | 597 | 21 | 0.035
9/25/2024 | 23 | 80475 | 14829 | -13645 | 25070 | 6347 | -5840 | 0.313 | 451 | 3 | 0.007
9/25/2024 | 24 | 74876 | 14195 | -13095 | 23801 | 6076 | -5605 | 0.319 | 491 | 8 | 0.016
9/26/2024 | 1 | 71106 | 13332 | -12328 | 23072 | 5706 | -5276 | 0.326 | 438 | 14 | 0.032
9/26/2024 | 2 | 67829 | 13295 | -12106 | 22245 | 5690 | -5181 | 0.33 | 519 | 8 | 0.015
9/26/2024 | 3 | 65539 | 12884 | -11664 | 21518 | 5514 | -4992 | 0.33 | 406 | 23 | 0.057
9/26/2024 | 4 | 64267 | 12518 | -11274 | 21165 | 5358 | -4825 | 0.331 | 399 | 0 | 0
9/26/2024 | 5 | 65298 | 12237 | -11022 | 21544 | 5237 | -4717 | 0.332 | 276 | 0 | 0
9/26/2024 | 6 | 68836 | 12203 | -10951 | 22159 | 5223 | -4687 | 0.324 | 417 | 4 | 0.01
9/26/2024 | 7 | 73600 | 15161 | -13650 | 22981 | 6489 | -5842 | 0.315 | 495 | 0 | 0
9/26/2024 | 8 | 76444 | 14768 | -13552 | 21878 | 6321 | -5800 | 0.288 | 505 | 2 | 0.004
9/26/2024 | 9 | 77370 | 14775 | -13927 | 18617 | 6324 | -5961 | 0.243 | 228 | 0 | 0
9/26/2024 | 10 | 78701 | 14859 | -14199 | 17662 | 6360 | -6077 | 0.226 | 0 | 0 | 0
9/26/2024 | 11 | 79623 | 14798 | -14355 | 18069 | 6334 | -6144 | 0.228 | 0 | 0 | 0
9/26/2024 | 12 | 80673 | 14904 | -14118 | 18292 | 6379 | -6042 | 0.229 | 0 | 0 | 0
9/26/2024 | 13 | 82962 | 15184 | -14076 | 18785 | 6499 | -6024 | 0.229 | 0 | 0 | 0
9/26/2024 | 14 | 86624 | 15603 | -14607 | 19968 | 6678 | -6252 | 0.233 | 0 | 0 | 0
9/26/2024 | 15 | 91016 | 16756 | -16028 | 21897 | 7171 | -6860 | 0.242 | 0 | 0 | 0
9/26/2024 | 16 | 94956 | 17183 | -16311 | 23607 | 7354 | -6981 | 0.25 | 0 | 0 | 0
9/26/2024 | 17 | 98249 | 18455 | -17317 | 25343 | 7899 | -7412 | 0.26 | 0 | 0 | 0
9/26/2024 | 18 | 100985 | 19846 | -18436 | 28556 | 8494 | -7890 | 0.285 | 57 | 0 | 0
9/26/2024 | 19 | 98062 | 19400 | -17790 | 29408 | 8303 | -7614 | 0.302 | 325 | 6 | 0.018
9/26/2024 | 20 | 95362 | 19013 | -17404 | 29350 | 8137 | -7449 | 0.31 | 479 | 36 | 0.075
9/26/2024 | 21 | 90798 | 18707 | -16814 | 28333 | 8007 | -7196 | 0.314 | 551 | 34 | 0.062
9/26/2024 | 22 | 85978 | 18320 | -16022 | 27737 | 7841 | -6858 | 0.325 | 1286 | 288 | 0.224
9/26/2024 | 23 | 79783 | 13377 | -11390 | 27128 | 5725 | -4875 | 0.342 | 937 | 298 | 0.318
9/26/2024 | 24 | 74256 | 12631 | -10849 | 26769 | 5406 | -4643 | 0.362 | 751 | 190 | 0.253
9/27/2024 | 1 | 71054 | 12809 | -11635 | 25847 | 5482 | -4980 | 0.365 | 360 | 32 | 0.089
9/27/2024 | 2 | 68154 | 12669 | -11577 | 24655 | 5422 | -4955 | 0.363 | 373 | 44 | 0.118
9/27/2024 | 3 | 65637 | 12518 | -11369 | 23512 | 5358 | -4866 | 0.359 | 396 | 58 | 0.146
9/27/2024 | 4 | 64444 | 12671 | -11536 | 23212 | 5423 | -4937 | 0.361 | 455 | 81 | 0.178
9/27/2024 | 5 | 65119 | 12631 | -11506 | 23101 | 5406 | -4925 | 0.356 | 692 | 91 | 0.132
9/27/2024 | 6 | 68074 | 12842 | -11615 | 23753 | 5496 | -4971 | 0.35 | 664 | 109 | 0.164
9/27/2024 | 7 | 72500 | 16193 | -14550 | 24586 | 6931 | -6227 | 0.341 | 868 | 152 | 0.175
9/27/2024 | 8 | 75168 | 15650 | -14156 | 23175 | 6698 | -6059 | 0.311 | 906 | 196 | 0.216
9/27/2024 | 9 | 76465 | 15508 | -14251 | 19948 | 6637 | -6099 | 0.264 | 403 | 15 | 0.037
9/27/2024 | 10 | 77882 | 15696 | -14479 | 18925 | 6718 | -6197 | 0.246 | 143 | 0 | 0
9/27/2024 | 11 | 79454 | 15941 | -14556 | 19202 | 6823 | -6230 | 0.245 | 78 | 0 | 0
9/27/2024 | 12 | 81470 | 15989 | -14765 | 19774 | 6843 | -6320 | 0.245 | 0 | 0 | 0
9/27/2024 | 13 | 84542 | 16507 | -15499 | 21230 | 7065 | -6634 | 0.253 | 0 | 0 | 0
9/27/2024 | 14 | 88366 | 17126 | -16024 | 22275 | 7330 | -6858 | 0.254 | 0 | 0 | 0
9/27/2024 | 15 | 93150 | 18358 | -17576 | 23439 | 7857 | -7523 | 0.253 | 0 | 0 | 0
9/27/2024 | 16 | 98282 | 18629 | -18160 | 25241 | 7973 | -7773 | 0.258 | 0 | 0 | 0
9/27/2024 | 17 | 101153 | 20008 | -19166 | 27121 | 8564 | -8203 | 0.269 | 0 | 0 | 0
9/27/2024 | 18 | 103193 | 21554 | -20748 | 29768 | 9225 | -8880 | 0.29 | 188 | 0 | 0
9/27/2024 | 19 | 100129 | 21482 | -20475 | 30618 | 9194 | -8763 | 0.307 | 607 | 52 | 0.086
9/27/2024 | 20 | 95645 | 20514 | -19402 | 29753 | 8780 | -8304 | 0.312 | 696 | 74 | 0.106
9/27/2024 | 21 | 91032 | 19859 | -18335 | 28668 | 8500 | -7847 | 0.317 | 695 | 53 | 0.076
9/27/2024 | 22 | 85874 | 18455 | -16445 | 28006 | 7899 | -7039 | 0.328 | 691 | 96 | 0.139
9/27/2024 | 23 | 80462 | 12882 | -11381 | 27453 | 5513 | -4871 | 0.343 | 477 | 19 | 0.04
9/27/2024 | 24 | 75044 | 12093 | -10486 | 26762 | 5176 | -4488 | 0.358 | 593 | 68 | 0.115
9/28/2024 | 1 | 70953 | 11514 | -9722 | 26551 | 4928 | -4161 | 0.376 | 603 | 96 | 0.159
9/28/2024 | 2 | 67333 | 11791 | -9903 | 25831 | 5047 | -4239 | 0.385 | 444 | 35 | 0.079
9/28/2024 | 3 | 64690 | 11607 | -9618 | 25374 | 4968 | -4116 | 0.393 | 378 | 57 | 0.151
9/28/2024 | 4 | 63195 | 11285 | -9458 | 24779 | 4830 | -4048 | 0.393 | 398 | 43 | 0.108
9/28/2024 | 5 | 62874 | 11266 | -9453 | 24529 | 4822 | -4046 | 0.391 | 352 | 3 | 0.009
9/28/2024 | 6 | 63755 | 11181 | -9366 | 24349 | 4786 | -4009 | 0.383 | 479 | 39 | 0.081
9/28/2024 | 7 | 65852 | 15046 | -13158 | 24204 | 6440 | -5632 | 0.369 | 465 | 34 | 0.073
9/28/2024 | 8 | 67274 | 15128 | -13247 | 21293 | 6475 | -5670 | 0.32 | 323 | 9 | 0.028
9/28/2024 | 9 | 69876 | 15772 | -14229 | 17846 | 6751 | -6090 | 0.259 | 144 | 0 | 0
9/28/2024 | 10 | 72408 | 15858 | -14246 | 17394 | 6787 | -6097 | 0.244 | 0 | 0 | 0
9/28/2024 | 11 | 73678 | 15573 | -14054 | 17227 | 6665 | -6015 | 0.238 | 0 | 0 | 0
9/28/2024 | 12 | 75883 | 15276 | -13731 | 17722 | 6538 | -5877 | 0.237 | 0 | 0 | 0
9/28/2024 | 13 | 78953 | 15938 | -14600 | 18047 | 6821 | -6249 | 0.232 | 0 | 0 | 0
9/28/2024 | 14 | 82903 | 16810 | -15484 | 19037 | 7195 | -6627 | 0.233 | 0 | 0 | 0
9/28/2024 | 15 | 87852 | 18050 | -16755 | 20245 | 7725 | -7171 | 0.233 | 0 | 0 | 0
9/28/2024 | 16 | 92482 | 18133 | -16795 | 21866 | 7761 | -7188 | 0.239 | 0 | 0 | 0
9/28/2024 | 17 | 96157 | 19700 | -18056 | 23882 | 8432 | -7728 | 0.251 | 0 | 0 | 0
9/28/2024 | 18 | 99197 | 21225 | -19979 | 27180 | 9084 | -8551 | 0.276 | 0 | 0 | 0
9/28/2024 | 19 | 96269 | 21607 | -20355 | 28193 | 9248 | -8712 | 0.295 | 323 | 17 | 0.053
9/28/2024 | 20 | 92507 | 21014 | -19719 | 27510 | 8994 | -8440 | 0.299 | 414 | 5 | 0.012
9/28/2024 | 21 | 87427 | 20276 | -18580 | 27051 | 8678 | -7952 | 0.312 | 431 | 0 | 0
9/28/2024 | 22 | 82806 | 19652 | -17565 | 25169 | 8411 | -7518 | 0.307 | 317 | 4 | 0.013
9/28/2024 | 23 | 77973 | 14929 | -13028 | 24178 | 6389 | -5576 | 0.313 | 88 | 0 | 0
9/28/2024 | 24 | 73464 | 15097 | -13254 | 23350 | 6461 | -5673 | 0.321 | 233 | 0 | 0
9/29/2024 | 1 | 70383 | 14741 | -13311 | 22049 | 6309 | -5697 | 0.316 | 215 | 18 | 0.084
9/29/2024 | 2 | 67320 | 14500 | -13034 | 22225 | 6206 | -5579 | 0.332 | 391 | 36 | 0.092
9/29/2024 | 3 | 64678 | 14568 | -13051 | 20822 | 6235 | -5586 | 0.324 | 345 | 37 | 0.107
9/29/2024 | 4 | 63030 | 14341 | -12794 | 19874 | 6138 | -5476 | 0.318 | 145 | 15 | 0.103
9/29/2024 | 5 | 62377 | 14422 | -12856 | 19393 | 6172 | -5502 | 0.314 | 13 | 3 | 0.231
9/29/2024 | 6 | 63224 | 14220 | -12647 | 19355 | 6086 | -5413 | 0.309 | 439 | 75 | 0.171
9/29/2024 | 7 | 64522 | 13929 | -12461 | 19002 | 5962 | -5333 | 0.297 | 676 | 99 | 0.146
9/29/2024 | 8 | 66138 | 13148 | -11851 | 18130 | 5627 | -5072 | 0.277 | 79 | 2 | 0.025
9/29/2024 | 9 | 68720 | 12213 | -10974 | 15173 | 5227 | -4697 | 0.224 | 0 | 0 | 0
9/29/2024 | 10 | 70333 | 12192 | -11007 | 15001 | 5218 | -4711 | 0.217 | 0 | 0 | 0
9/29/2024 | 11 | 71314 | 11605 | -10336 | 14669 | 4967 | -4424 | 0.21 | 0 | 0 | 0
9/29/2024 | 12 | 73591 | 11541 | -10561 | 14896 | 4939 | -4520 | 0.205 | 0 | 0 | 0
9/29/2024 | 13 | 76274 | 12070 | -11167 | 15055 | 5166 | -4780 | 0.2 | 0 | 0 | 0
9/29/2024 | 14 | 79699 | 12727 | -11687 | 15661 | 5447 | -5002 | 0.199 | 0 | 0 | 0
9/29/2024 | 15 | 83934 | 13720 | -12946 | 16453 | 5872 | -5541 | 0.198 | 0 | 0 | 0
9/29/2024 | 16 | 87927 | 14153 | -13049 | 18017 | 6057 | -5585 | 0.208 | 0 | 0 | 0
9/29/2024 | 17 | 91952 | 14959 | -13852 | 20088 | 6402 | -5929 | 0.221 | 0 | 0 | 0
9/29/2024 | 18 | 95593 | 16274 | -15139 | 24204 | 6965 | -6480 | 0.255 | 108 | 0 | 0
9/29/2024 | 19 | 94604 | 16571 | -15253 | 25607 | 7092 | -6528 | 0.273 | 433 | 3 | 0.007
9/29/2024 | 20 | 91931 | 15987 | -14466 | 25268 | 6843 | -6191 | 0.277 | 533 | 2 | 0.004
9/29/2024 | 21 | 87822 | 15418 | -14012 | 24817 | 6599 | -5997 | 0.285 | 656 | 77 | 0.117
9/29/2024 | 22 | 83088 | 14573 | -12953 | 24820 | 6237 | -5544 | 0.301 | 419 | 7 | 0.017
9/29/2024 | 23 | 77320 | 13358 | -11686 | 24012 | 5717 | -5002 | 0.313 | 474 | 5 | 0.011
9/29/2024 | 24 | 71784 | 12913 | -11367 | 22924 | 5527 | -4865 | 0.322 | 548 | 40 | 0.073
9/30/2024 | 1 | 68442 | 12182 | -10737 | 22397 | 5214 | -4595 | 0.329 | 859 | 167 | 0.194
9/30/2024 | 2 | 65788 | 11777 | -10267 | 21354 | 5041 | -4394 | 0.327 | 746 | 133 | 0.178
9/30/2024 | 3 | 63469 | 11846 | -10297 | 20585 | 5070 | -4407 | 0.327 | 907 | 234 | 0.258
9/30/2024 | 4 | 62892 | 11802 | -10203 | 20250 | 5051 | -4367 | 0.325 | 710 | 189 | 0.266
9/30/2024 | 5 | 64334 | 11611 | -10255 | 20438 | 4969 | -4389 | 0.32 | 557 | 125 | 0.224
9/30/2024 | 6 | 68313 | 11933 | -10614 | 21865 | 5107 | -4543 | 0.322 | 309 | 0 | 0
9/30/2024 | 7 | 73541 | 16192 | -14949 | 22705 | 6930 | -6398 | 0.311 | 497 | 1 | 0.002
9/30/2024 | 8 | 76506 | 15785 | -14607 | 21826 | 6756 | -6252 | 0.287 | 480 | 7 | 0.015
9/30/2024 | 9 | 77402 | 16142 | -15015 | 18875 | 6909 | -6426 | 0.247 | 414 | 3 | 0.007
9/30/2024 | 10 | 78700 | 16799 | -15696 | 18006 | 7190 | -6718 | 0.232 | 99 | 0 | 0
9/30/2024 | 11 | 78789 | 16680 | -15285 | 17789 | 7139 | -6542 | 0.229 | 0 | 0 | 0
9/30/2024 | 12 | 80507 | 16652 | -15271 | 18352 | 7127 | -6536 | 0.231 | 0 | 0 | 0
9/30/2024 | 13 | 83418 | 16951 | -15708 | 19324 | 7255 | -6723 | 0.235 | 0 | 0 | 0
9/30/2024 | 14 | 86535 | 17881 | -16263 | 19932 | 7653 | -6961 | 0.234 | 0 | 0 | 0
9/30/2024 | 15 | 91208 | 19147 | -17420 | 21343 | 8195 | -7456 | 0.238 | 0 | 0 | 0
9/30/2024 | 16 | 95917 | 19607 | -17926 | 23177 | 8392 | -7672 | 0.245 | 206 | 0 | 0
9/30/2024 | 17 | 99968 | 21267 | -19616 | 25453 | 9102 | -8396 | 0.257 | 600 | 4 | 0.007
9/30/2024 | 18 | 102882 | 21656 | -19872 | 28735 | 9269 | -8505 | 0.282 | 824 | 56 | 0.068
9/30/2024 | 19 | 100931 | 22215 | -20144 | 30251 | 9508 | -8622 | 0.302 | 653 | 42 | 0.064
9/30/2024 | 20 | 97907 | 21956 | -19797 | 29598 | 9397 | -8473 | 0.305 | 663 | 40 | 0.06
9/30/2024 | 21 | 92913 | 21323 | -18714 | 28667 | 9126 | -8010 | 0.312 | 1063 | 152 | 0.143
9/30/2024 | 22 | 88146 | 20051 | -17750 | 27920 | 8582 | -7597 | 0.32 | 1441 | 339 | 0.235
9/30/2024 | 23 | 81419 | 13431 | -11543 | 27669 | 5749 | -4940 | 0.342 | 959 | 252 | 0.263
9/30/2024 | 24 | 75799 | 12753 | -11070 | 26709 | 5458 | -4738 | 0.354 | 1089 | 268 | 0.246